## Incremental Technology Costs
Home Energy Management Products
Home Energy Management Products
Although there are products available that solely monitor energy usage, providing feedback, this study covers only products that facilitate the enhanced control of energy using systems. The products researched provide the homeowner the ability to control energy- consuming processes in the home, either remotely via a smartphone or web service or based on a set of programmable protocols and/or response to use behavior patterns.
Incremental Cost Calculation
Technology | Average Baseline Cost | Average Smart Product Cost | Calculated Incremental Cost ($) | Calculated Incremental Cost (%)
Smart Thermostat | 54.3675 | 195.9643 | 141.5968 | 260.4%
Smart Hub | N/A | 85.786 | 85.786 | 100%
Smart Lighting (A19 blubs)* | 6.4775 | 30.7556 | 24.2781 | 374.8%
Smart Lighting (BR30 bulbs)* | 7.12 | 44.318 | 37.198 | 522.4%
Smart Applicances | 1480.7167 | 1777.5733 | 296.8567 | 20.05%
Tier 2 Advanced Power Strips | 14.93 | 39.2833 | 24.3533 | 163.1%
*Data points that included the cost of a bulb(s) plus a hub were not included in the incremental cost calculation.
Smart Thermostat
Cost Trends for Smart Home Thermostats
Since the introduction of smart thermostats, the retail pricing has remained remarkably stable. Discussions with market actors reveal that firms such as Nest performed extensive market research before introducing products. As such, the thermostats are being retailed as “what the market will bear.” With Nest as the market leader, it is clear that similar producers are matching their prices as a competitive stance. Lower priced communication capable thermostats lack some, or all, or the adaptive operation featured with Nest and its direct competitors. With the strong brand recognition involved, it is anticipated that pricing will remain relatively stable for the foreseeable future.
Manufacturer | Model | Source Type | Date | Homeowner Install | Total Equip Cost | Source
Nest | Nest Learning Thermostat (3rd Gen) | Web | 2016-02-29 | Y | 239.99 | http://www.amazon.com/Nest-Learning-Thermostat-3rd-Generation/dp/B0131RG6VK/ref=sr_1_2?ie=UTF8&qid=1456846149&sr=8-2&keywords=nest
Ecobee | ecobee3 | Web | 2016-02-29 | Y | 249 | https://www.google.com/shopping/product/15986672982762328952?q=ecobee3&biw=1600&bih=815&sqi=2&bav=on.2,or.r_cp.&bvm=bv.116954456,d.dmo&ion=1&espv=2&tch=1&ech=1&psi=mV3pVvjYLMHReOrCurAK.1458134426520.11&prds=hsec:online&sa=X&ved=0ahUKEwjips69psXLAhXEvYMKHSaHC7cQviQIqQE
Honeywell | Lyric | Web | 2016-02-29 | Y | 133.49 | http://www.amazon.com/Honeywell-TH8732WF5018-Lyric-WiFi-Enabled-Thermostat/dp/B00KX3M1LA
Allure | EverSense | Web | 2016-03-16 | Y | 210 | http://www.amazon.com/Allure-Energy-Inc-EverSense-Thermostat/dp/B00GIQW2F6
Schneider Electric | Wiser Air | Web | 2016-02-29 | Y | 229.98 | http://www.amazon.com/Schneider-Electric-Wiser-Thermostat-Comfort/dp/B00X6BCRK6
Venstar | Voyager | Web | 2016-02-29 | Y | 145 | http://www.amazon.com/gp/offer-listing/B009AVRB1Q/ref=olp_from_sims
RCS | 001-01773 | Web | 2016-03-01 | Y | 164.29 | http://www.amazon.com/RCS-Z-Wave-Communicating-Thermostat-001-01773/dp/B007C8UJLI/ref=sr_1_1?ie=UTF8&qid=1456936344&sr=8-1&keywords=rcs+tz45+thermostat
Smart Hub
Manufacturer | Model Number | Source Type | Date | Homeowner Install | Total Equip Cost | Notes | Initial Progress Cost | Source
Samsung | Smart Things | Web | 2016-03-01 | Y | 99 |  | 99 | https://www.google.com/shopping/product/15900324256337335622?q=samsung+smart+things+hub&oq=samsung+smart+things+hub&ie=UTF-8&aqs=chrome..69i57j69i60j0l4.5015j0j4&sourceid=chrome-instant&ion=1&espv=2&bav=on.2,or.r_cp.&bvm=bv.116954456,d.dmo&biw=1600&bih=815&dpr=1&tch=1&ech=1&psi=kFrpVoiYH4XXeJbHkYgI.1458133649425.3&prds=hsec:online&sa=X&ved=0ahUKEwizr7WTo8XLAhVCVD4KHUynA_kQviQIogE
Wink | Wink | Web | 2016-03-16 | Y | 110 | Quirky, owner of Wink line filed for bankruptcy in the fall. Product hasn't been discontinued but product status is in limbo. | 89 | http://www.amazon.com/Wink-PWHUB-WH17-Connected-Home-Hub/dp/B00PV6GAI4/ref=sr_1_1?s=hi&ie=UTF8&qid=1456938045&sr=1-1&keywords=wink+hub
D-Link / Staples | Connect Hub | Web | 2016-03-01 | Y | 59.99 |  | 80 | http://www.amazon.com/D-Link-Staples-Connect-Hub-Powered/dp/B0156YFPH2/ref=sr_1_1?ie=UTF8&qid=1456938121&sr=8-1&keywords=d+link+staples+connect+hub
Lutron | Smart Bridge | Web | 2016-03-01 | Y | 79.95 |  | 120 | http://www.bestbuy.com/site/lutron-caseta-wireless-smart-bridge-white/4674500.p?id=1219795138560&skuId=4674500&ref=212&loc=1&ksid=308b118f-3aae-4f12-9f6d-73593b143adc&ksprof_id=401&ksaffcode=pg47349&ksdevice=c&gclid=CJrwp8-ixcsCFdgQgQod1sYNCQ
Belkin | WeMo Maker | Web | 2016-03-02 | Y | 79.99 |  | - | https://www.google.com/shopping/product/8416862352175551865?q=belkin+wemo+maker&oq=belkin+wemo+maker&ie=UTF-8&aqs=chrome..69i57j0l5.3591j0j4&sourceid=chrome-instant&ion=1&espv=2&bav=on.2,or.r_cp.&bvm=bv.116954456,d.dmo&biw=1600&bih=815&dpr=1&tch=1&ech=1&psi=SlrpVp6EDMLqe7vohjA.1458133579367.3&prds=hsec:online&sa=X&ved=0ahUKEwiSiarxosXLAhWCOT4KHbxKCvYQviQIfg
Smart Lighting
Cost Trends for Smart Lighting
The market experience with both electronic devices and “standard” LED lamps suggests that prices will be reduced over time. During the course of this study, we have observed some price volatility but not a consistent price reduction pattern. If the market for such products expands, production will shift toward a commodity product, which would absorb much of the R&D costs and allow pricing to be reduced.
*don't include 2 bulb in average. May need to adjust report
Manufacturer | Model Number | Source Type | Date | Homeowner Install | Total Equip Cost | Notes | Cost per bulb | Source
Philips | Hue 455311 | Web | 2016-03-02 | Y | 23.25 | 1xA19 dimmable LED (color & white) | 23.25 | http://www.amazon.com/Philips-455311-White-Extension-Bulb/dp/B014H2OZ1Q/ref=sr_1_2?ie=UTF8&qid=1457011224&sr=8-2&keywords=philips+hue+a19
Philips | Hue 455303 | Web | 2016-03-02 | Y | 79.99 | Starter kit (2xA19 LEDs & hub) | 39.995 | http://www.amazon.com/Philips-455311-White-Extension-Bulb/dp/B014H2OZ1Q/ref=sr_1_2?ie=UTF8&qid=1457011224&sr=8-2&keywords=philips+hue+a19
Philips | Hue LUX 433714 | Web | 2016-03-02 | Y | 25.9 | 1xA19 dimmable LED (whites) | 25.9 | http://www.amazon.com/Philips-433714-Personal-Wireless-Lighting/dp/B00O0EZ94O/ref=pd_sim_60_7?ie=UTF8&dpID=41se8Cj-JLL&dpSrc=sims&preST=_AC_UL160_SR160%2C160_&refRID=0VC9YYP2964YF02V9MSM
Philips | Hue LUX 453761 | Web | 2016-03-02 | Y | 79.99 | Starter kit (2xA19 LEDs & hub) | 39.995 | http://www.amazon.com/Philips-433714-Personal-Wireless-Lighting/dp/B00O0EZ94O/ref=pd_sim_60_7?ie=UTF8&dpID=41se8Cj-JLL&dpSrc=sims&preST=_AC_UL160_SR160%2C160_&refRID=0VC9YYP2964YF02V9MSM
Philips | Hue 432690 | Web | 2016-03-02 | Y | 58.97 | 1xBR30 dimmable LED (color & whites) | 58.97 | http://www.amazon.com/Philips-432690-Ambiance-Single-Frustration/dp/B00HNLQQ7K/ref=sr_1_1?s=hi&ie=UTF8&qid=1457013546&sr=1-1&keywords=philips+hue+br30
Philips | Hue 458489 | Web | 2016-03-02 | Y | 59.99 | 1 lighting bridge |  | http://www.amazon.com/Philips-458489-Hue-Bridge-Frustration/dp/B014H2P42K/ref=pd_sim_60_3?ie=UTF8&dpID=31ASygBrzqL&dpSrc=sims&preST=_AC_UL160_SR159%2C160_&refRID=0RSEW6MZ3ZNCDB93YG5B
Osram | Lightify | Web | 2016-03-02 | Y | 24.79 | 1xA19 dimmable LED (whites) | 24.79 | http://www.amazon.com/dimmable-LIGHTIFY-Equivalent-temperature-adjustable/dp/B00R3ID2BG/ref=pd_sim_60_1?ie=UTF8&dpID=41K8CyBcsrL&dpSrc=sims&preST=_AC_UL160_SR160%2C160_&refRID=0WF3N3PVJ7ZJGSQ17CD6
Osram | Lightify | Web | 2016-03-02 | Y | 39.97 | 1xA19 dimmable LED (RGB & whites) | 39.97 | http://www.amazon.com/dimmable-LIGHTIFY-CLASSIC-Equivalent-Daylight/dp/B019WVBIEY/ref=sr_1_1?s=hi&ie=UTF8&qid=1457013087&sr=1-1&keywords=lightify
Osram | Lightify | Web | 2016-03-02 | Y | 54.99 | Starter kit (1xA19 white LED & hub) | 54.99 | http://www.amazon.com/LIGHTIFY-Starter-wireless-Products-dimmable/dp/B00R3ID25W/ref=pd_sim_60_4?ie=UTF8&dpID=31LjQWqeRGL&dpSrc=sims&preST=_AC_UL160_SR160%2C160_&refRID=0XYAK1EB6EB997AVN0RR
Osram | Lightify | Web | 2016-03-02 | Y | 45.99 | 1xBR30 dimmable LED (color & whites) | 45.99 | http://www.amazon.com/dimmable-Reflector-Equivalent-temperature-adjustable/dp/B0196M5YAS/ref=sr_1_1?s=hi&ie=UTF8&qid=1457014149&sr=1-1&keywords=osram+lightify+br30
Osram | Lightify | Web | 2016-03-02 | Y | 29.99 | 1 lighting bridge |  | http://www.amazon.com/LIGHTIFY-wireless-connected-lighting-technology/dp/B00R1PB2T0/ref=pd_sim_60_3?ie=UTF8&dpID=41Qt-FB5N4L&dpSrc=sims&preST=_AC_UL160_SR160%2C160_&refRID=0MWNJ792YH8EAV2VAQR9
Belkin | WeMo LED | Web | 2016-03-02 | Y | 24.99 | 1xA19 dimmable LED | 24.99 | http://www.amazon.com/WeMo-Smart-Enabled-Starter-Required/dp/B00MMLTUII/ref=pd_bxgy_422_img_2?ie=UTF8&refRID=1DV9SARNYKMH1KZ5GJ80
Belkin | WeMo LED | Web | 2016-03-02 | Y | 49.99 | Starter kit (2xA19 LEDs & hub) | 24.995 | http://www.belkin.com/us/F5Z0489-Belkin/p/P-F5Z0489;jsessionid=4D26E6A246E2A9FC24C172FD5EE8B8FF/
Cree | Connected | Web | 2016-03-02 | Y | 14.97 | 1xA19 dimmable LED | 14.97 | http://www.homedepot.com/p/Cree-Connected-60W-Equivalent-Soft-White-A19-Dimmable-LED-Light-Bulb-BA19-08027OMF-12CE26-1C100/206593642;jsessionid=48287A848D70DC78DB60B00ABDF723EE
GE | Link | Web | 2016-03-02 | Y | 14.97 | 1xA19 dimmable LED | 14.97 | http://www.homedepot.com/p/GE-Link-60W-Equivalent-Soft-White-2700K-A19-Connected-Home-LED-Light-Bulb-PSB19-SW27/205404345?MERCH=REC-_-PIPHorizontal1_rr-_-206593642-_-205404345-_-N
GE | Link | Web | 2016-03-02 | Y | 16.65 | 1xBR30 dimmable LED (white) | 16.65 | http://www.amazon.com/GE-Wireless-Connected-65-Watt-Equivalent/dp/B00NO8DY0I/ref=sr_1_1?s=hi&ie=UTF8&qid=1457015337&sr=1-1&keywords=ge+link+br30
GE | Link | Web | 2016-03-03 | Y | 44.95 | Starter kit (2xA19 LEDs & hub) | 22.475 | http://www.amazon.com/GE-Starter-PLINK-SKIT-Wireless-Light/dp/B00TJ4WMZE/ref=bdl_pop_ttl_B00TJ4WMZE
LIFX | Smart LED | Web | 2016-03-03 | Y | 47.97 | 1xA19 dimmable LED (white) | 47.97 | http://www.amazon.com/LIFX-White-Adjustable-Dimmable-Required/dp/B00XUW0ZFU/ref=sr_1_3?s=hi&ie=UTF8&qid=1457015690&sr=1-3&keywords=lifx
LIFX | Smart LED | Web | 2016-03-03 | Y | 59.99 | 1xA19 dimmable LED (color & white) | 59.99 | http://www.amazon.com/LIFX-Adjustable-Multicolor-Dimmable-Required/dp/B0161IJ5F0/ref=pd_sim_60_1?ie=UTF8&dpID=51RzSKh288L&dpSrc=sims&preST=_AC_UL160_SR117%2C160_&refRID=0JQDK0B886XDSDSCK1C0
LIFX | Smart LED | Web | 2016-03-03 | Y | 39.99 | 1xBR30 dimmable LED (white) | 39.99 | http://www.amazon.com/LIFX-White-Adjustable-Dimmable-Required/dp/B0161IJ5S2/ref=pd_sim_60_3?ie=UTF8&dpID=51zYrc7VTOL&dpSrc=sims&preST=_AC_UL160_SR138%2C160_&refRID=1TWKSH7CCPTX1W89YVK9
LIFX | Smart LED | Web | 2016-03-03 | Y | 59.99 | 1xBR30 dimmable LED (color & whites) | 59.99 | http://www.amazon.com/LIFX-Adjustable-Multicolor-Dimmable-Required/dp/B0161IJ55U/ref=pd_sim_60_2?ie=UTF8&dpID=51GkOTcVc6L&dpSrc=sims&preST=_AC_UL160_SR138%2C160_&refRID=0KB6WFNG5PHXTQBTRCJV
Smart Appliances
Cost Trends for Smart Appliances
Current incremental costs are now quite high, but this is related to the communication capability being only offered on high-end product lines, rather than more standard models that experience larger production runs. If and when communication chips become commonplace in household appliances, it is expected that the incremental cost will be reduced to the $50-$100 price range from the typically $200 plus costs now in place.
Manufacturer | Model Number | Source Type | Date | Total Equip Cost | Labor hours | Labor Rate | Total Installed Cost | Notes | Source
Whirlpool | Smart washer | Web | 2016-03-03 | 1600 | 2 | 300 | 1900 | Link no longer active. Product appears to have been discontinued | http://www.whirlpool.com/-%5bWFL98HEBU%5d-1021442/WFL98HEBU/
Whirlpool | Smart dryer | Web | 2016-03-03 | 1500 | 2 | 300 | 1800 | Link no longer active. Product appears to have been discontinued | http://www.whirlpool.com/-%5bWFL98HEBU%5d-1021442/WFL98HEBU/
LG | SmartThinQ washer | Web | 2016-03-03 | 1599 | 2 | 300 | 1899 | Out of stock nearly everywhere. Discontinued | http://www.gerhardsappliance.com//products/lg/wt6001hv.html
LG | SmartThinQ dryer | Web | 2016-03-03 | 1439 | 2 | 300 | 1739 | Out of stock nearly everywhere. Discontinued | http://www.orvilles.com/en/catalog/product/127413-LG-DLEX6001V
Whirlpool | Cabrio | Web | 2016-03-03 | 1169 | 2 | 300 | 1469 | App connnectivity, no demand shift feature | http://www.homedepot.com/p/Whirlpool-Cabrio-5-3-cu-ft-High-Efficiency-Smart-Top-Load-Washer-with-Steam-and-Mobile-Laundry-App-in-Chrome-Shadow-ENERGY-STAR-WTW8700EC/206590229
Whirlpool | Cabrio | Web | 2016-03-03 | 1169 | 2 | 300 | 1469 | App connnectivity, no demand shift feature | http://www.homedepot.com/p/Whirlpool-Cabrio-8-8-cu-ft-Smart-Electric-Dryer-with-Steam-and-Mobile-Laundry-App-in-Chrome-Shadow-ENERGY-STAR-WED8700EC/206590246
LG | SmartThinQ oven | Web | 2016-03-03 | 1255 | 2 | 300 | 1555 | Out of stock nearly everywhere. Discontinued | http://www.plessers.com/Lg/lre3027st.htm
GE | Electric Range w/ WiFi Connect | Web | 2016-03-10 | 1349.1 | 2 | 300 | 1649.1 | Offers programmable features that must be implemented by user | http://www.homedepot.com/p/GE-Profile-30-in-5-3-cu-ft-Electric-Range-with-Self-Cleaning-Convection-Oven-in-Stainless-Steel-PB930SJSS/206214791?keyword=084691812586&AID=10368321&PID=1796839&SID=133054834&cm_mmc=CJ-_-1796839-_-10368321&cj=true
GE | Gas Range w/ WiFi Connect | Web | 2016-03-10 | 2069.1 | 2 | 300 | 2369.1 | Offers programmable features that must be implemented by user | http://www.homedepot.com/p/GE-Profile-30-in-5-6-cu-ft-Gas-Range-with-Self-Cleaning-Convection-Oven-in-Stainless-Steel-PGB940ZEJSS/206214837?keyword=084691811510&AID=10368321&PID=1796839&SID=136481379&cm_mmc=CJ-_-1796839-_-10368321&cj=true
GE | Refrigerator w/ WiFi Connect | Web | 2016-03-10 | 2969.1 | 2 | 300 | 3269.1 | Offers programmable features that must be implemented by user | http://www.homedepot.com/p/GE-Cafe-36-in-27-8-cu-ft-French-Door-Refrigerator-with-Keurig-K-Cup-in-Stainless-Steel-CFE28USHSS/206355471;jsessionid=1571BDC83B3A9DD5CA155576505C189F
GE | Washer w/ WiFi Connect | Web | 2016-03-10 | 1079.1 | 2 | 300 | 1379.1 | Offers programmable features that must be implemented by user | http://www.homedepot.com/p/GE-5-1-cu-ft-High-Efficiency-Top-Load-Washer-with-Steam-in-Metallic-Carbon-ENERGY-STAR-GTW860SPJMC/205934465?keyword=084691810179&AID=10368321&PID=1796839&SID=136485867&cm_mmc=CJ-_-1796839-_-10368321&cj=true
GE | Dryer w/ WiFi Connect | Web | 2016-03-10 | 1169.1 | 2 | 300 | 1469.1 | Offers programmable features that must be implemented by user | http://www.homedepot.com/p/GE-7-8-cu-ft-Gas-Dryer-with-Steam-in-Metallic-Carbon-GTD86GSPJMC/205934462?keyword=084691810452&AID=10368321&PID=1796839&SID=133061250&cm_mmc=CJ-_-1796839-_-10368321&cj=true
GE | Dishwasher w/ WiFi Connect | Web | 2016-03-10 | 1349.1 | 2 | 300 | 1649.1 | Offers programmable features that must be implemented by user | http://www.homedepot.com/p/GE-Profile-Top-Control-Dishwasher-in-Stainless-Steel-with-Stainless-Steel-Tub-PDT760SSJSS/206355407?keyword=084691814528&AID=10368321&PID=1796839&SID=136512223&cm_mmc=CJ-_-1796839-_-10368321&cj=true
GE | Hybrid Water Heater w/ WiFi Connect | Web | 2016-03-10 | 999 | 2 | 300 | 1299 | Offers programmable features that must be implemented by user. Rebate available from some utilities | http://www.lowes.com/pd_665053-83-GEH50DFEJSR_0__?Ntt=GEH50DFEJSR&UserSearch=GEH50DFEJSR&productId=50335967&rpp=32&AID=10935405&PID=1796839&SID=136516327&cm_mmc=AFF_CJ-_-1796839-_-1634220-_-10935405
Rheem | Hybrid Water Heater w/ EcoNet | Web | 2016-03-10 | 1449 | 2 | 300 | 1749 | Wifi module sold separately ($50) but included in equipment cost. Rebate available from some utilities | http://www.homedepot.com/p/Rheem-Performance-Platinum-50-Gal-High-Efficiency-12-Year-Warranty-Hybrid-Electric-Water-Heater-with-Mobile-Alerts-XE50T12EH45U0/206214141
Tier 2 Advanced Power Strips
Cost Trends for Tier 2 Advanced Power Strips
The cost of Tier 2 APS is closely associated with the scale of production. Neither Tier 1 nor Tier 2 products have received wide market acceptance within the standard retail environment. However, within the last year, the manufacturers have made significant progress introducing the products through ratepayer funded efficiency programs, including residential audit and direct install programs. This has allowed production to increase and prices to decrease to well below their original suggested retail list prices. Interviews with the manufacturers informed ERS that prices are not likely to drop below current levels as the focus is now on introducing further product enhancement rather than price reductions. Further, if efficiency programs do not experience success with the products, it can be anticipated that production numbers will be reduced with pricing likely to increase with production and marketing costs.
Manufacturer | Model Number | Source Type | Date | Homeowner Install | Incented Equip Cost | Notes | Non Incented Equipment Cost | Source
TrickleStar | 7 outlet strip | Web | 2016-03-03 | Y | 19.98 | via MassSave rebate site. | 39.95 | http://www.energyfederation.org/masssave/advanced-power-strips-2.html?aps_category=44
Embertec | 4 outlet strip | Web | 2016-03-03 | Y | 17.92 |  | 47.95 | http://www.amazon.com/Embertec-EPUSAV-ET-01-Emberplug-AV/dp/B00LRZ5IOU
Embertec | 8 outlet strip | Web | 2016-03-03 | Y | 79.95 |  | 80 | http://www.amazon.com/gp/offer-listing/B00PU0FW1C/ref=dp_olp_new_mbc?ie=UTF8&condition=new

## Baseline Data & Costs
Programmable Thermostat
Manufacturer | Model Number | Type | Date | Homeowner Install | Total Equip Cost | Source
Lux | TX9600TS | Web | 2016-03-01 | Y | 59.99 | http://www.amazon.com/Lux-TX9600TS-Universal-Programmable-Thermostat/dp/B0044UYVFW/ref=sr_1_1?ie=UTF8&qid=1456937036&sr=8-1&keywords=7+day+programmable+thermostat
Honeywell | RTH7500D | Web | 2016-03-01 | Y | 54.99 | http://www.amazon.com/Honeywell-RTH7500D-Conventional-Programmable-Thermostat/dp/B000EW80Q0/ref=sr_1_2?ie=UTF8&qid=1456937036&sr=8-2&keywords=7+day+programmable+thermostat
Honeywell | RCT8103A | Web | 2016-03-01 | Y | 39.99 | http://www.amazon.com/Honeywell-7-Day-Programmable-Thermostat/dp/B00A9IBZI4/ref=sr_1_6?ie=UTF8&qid=1456937036&sr=8-6&keywords=7+day+programmable+thermostat
Honeywell | RTH7600D | Web | 2016-03-01 | Y | 62.5 | http://www.amazon.com/Honeywell-RTH7600D-Touchscreen-Programmable-Thermostat/dp/B001FWZ7IW/ref=sr_1_7?ie=UTF8&qid=1456937036&sr=8-7&keywords=7+day+programmable+thermostat
Lighting
Manufacturer | Model Number | Type | Date | Homeowner Install | Total Equip Cost | Notes | Price per bulb | Source
Philips | SlimStyle | Web | 2016-03-03 | Y | 10.6 | 3xA19 non dimming LEDs (3.53 a piece) | 3.53 | http://www.amazon.com/Philips-SlimStyle-Equivalent-Dimmable-3-Pack/dp/B00R82DK3M/ref=sr_1_10?s=hi&ie=UTF8&qid=1457018943&sr=1-10&keywords=a19+dimmable+led
TCP | LA1027KND6 | Web | 2016-03-03 | Y | 20.39 | 6xA19 non-dimming LEDs (3.40a piece) | 3.4 | http://www.amazon.com/gp/product/B00KDZGBM8?keywords=a19%20led&qid=1457020090&ref_=sr_1_3&sr=8-3
Philips | 455931 | Web | 2016-03-03 | Y | 19.99 | 2xA19 dimmable LEDs (10.00 a piece) | 10 | http://www.amazon.com/Philips-455931-Equivalent-Dimmable-Frustration/dp/B00TZ904Q2/ref=sr_1_13?s=hi&ie=UTF8&qid=1457020219&sr=1-13&keywords=dimmable+a19
TCP | RLA1050KD2 | Web | 2016-03-03 | Y | 17.95 | 2xA19 dimmable LEDs (8.98 a piece) | 8.98 | http://www.amazon.com/TCP-LA1027KND6-LED-A19-Equivalent/dp/B00KDZGBM8/ref=pd_sim_60_6?ie=UTF8&dpID=41hduAkwkrL&dpSrc=sims&preST=_AC_UL160_SR160%2C160_&refRID=0E4ZWMRQ7ZJQRBARXPZA
TCP | LBR301026KND6 | Web | 2016-05-08 | Y | 25.88 | 6xBR30 non dimmable LEDs | 4.31 | http://www.amazon.com/TCP-LBR301050KND6-LED-BR30-Equivalent/dp/B00KDZGJZ2/ref=pd_sim_60_6?ie=UTF8&dpID=31Q0i9XZX2L&dpSrc=sims&preST=_AC_UL160_SR160%2C160_&refRID=02EFTFSS87S7GT9HNW8Y
Philips | 459560 | Web | 2016-05-08 | Y | 35.99 | 6xBR30 dimmable LEDs | 6 | http://www.amazon.com/Philips-459560-Dimmable-Equivalent-Frustration/dp/B017RX1PI8/ref=sr_1_1?ie=UTF8&qid=1462755790&sr=8-1&keywords=philips+br30+leds
TCP | RLBR3010W27KD2 | Web | 2016-05-08 | Y | 16.81 | 2xBR30 dimmable LEDs | 8.41 | http://www.amazon.com/TCP-RLBR3010W27KD2-LED-BR30-Equivalent/dp/B00KDZGFFQ/ref=sr_1_1?s=hi&ie=UTF8&qid=1462757041&sr=1-1&keywords=tcp+dimmable+br30
Hyperikon | 302000403 | Web | 2016-05-08 | Y | 27.8 | 4xBR30 dimmable LEDs | 6.95 | http://www.amazon.com/Hyperikon-equivalent-Daylight-Dimmable-UL-Listed/dp/B00WNSE9KE/ref=sr_1_3?s=hi&ie=UTF8&qid=1462757773&sr=1-3&keywords=light+bulb&refinements=p_n_intended_use_browse-bin%3A5264705011%2Cp_n_feature_four_browse-bin%3A4623778011%2Cp_n_feature_five_browse-bin%3A6104070011
Appliances
Manufacturer | Model Number | Type | Date | Total Equip Cost | Labor hours | Labor Rate | Total Installed Cost | Source
Whirlpool | Washer | Web | 2016-03-03 | 1399 | 2 | 300 | 1699 | http://www.whirlpool.com/laundry-1/laundry-2/washers-3/-[WTW8700EC]-5569596/WTW8700EC/
Whirlpool | Dryer | Web | 2016-03-03 | 1350 | 2 | 300 | 1650 | http://www.whirlpool.com/laundry-1/laundry-2/dryers-3/-[WED97HEDW]-1022120/WED97HEDW/
LG | Washer | Web | 2016-03-03 | 1199 | 2 | 300 | 1499 | http://www.lg.com/us/washers/lg-WT5170HV-top-load-washer
LG | Steam Dryer | Web | 2016-03-03 | 1199 | 2 | 300 | 1499 | http://www.lg.com/us/dryers/lg-DLGX5171V-gas-dryer
LG | Oven range | Web | 2016-03-03 | 719 | 2 | 300 | 1019 | http://www.homedepot.com/p/LG-Electronics-30-in-6-3-cu-ft-Electric-Range-with-Self-Cleaning-in-Stainless-Steel-LRE3021ST/203618533?keyword=LRE3021ST&AID=10368321&PID=1796839&SID=135334703&cm_mmc=CJ-_-1796839-_-10368321&cj=true
GE | Electric Range | Web | 2016-03-10 | 989.1 | 2 | 300 | 1289.1 | http://www.homedepot.com/p/GE-Profile-30-in-5-3-cu-ft-Electric-Range-with-Self-Cleaning-Convection-Oven-in-Stainless-Steel-PB911SJSS/206214854
GE | Gas Range | Web | 2016-03-10 | 1799.1 | 2 | 300 | 2099.1 | http://www.homedepot.com/p/GE-5-6-cu-ft-Slide-In-Gas-Range-with-Self-Cleaning-Convection-Oven-in-Stainless-Steel-JGS750SEFSS/204403826
GE | French Door Refrigerator | Web | 2016-03-10 | 2159.1 | 2 | 300 | 2459.1 | http://www.homedepot.com/p/GE-23-8-cu-ft-French-Door-Refrigerator-in-Stainless-Steel-GFE24JSKSS/206874257
GE | Washer | Web | 2016-03-10 | 809.1 | 2 | 300 | 1109.1 | http://www.homedepot.com/p/GE-5-1-cu-ft-High-Efficiency-Top-Load-Washer-in-White-ENERGY-STAR-GTW810SSJWS/205908390
GE | Dryer | Web | 2016-03-10 | 899.1 | 2 | 300 | 1199.1 | http://www.homedepot.com/p/GE-7-8-cu-ft-Gas-Dryer-in-White-GTD81GSSJWS/205908389
GE | Dishwasher | Web | 2016-03-10 | 1079.1 | 2 | 300 | 1379.1 | http://www.homedepot.com/p/GE-Profile-Top-Control-Dishwasher-in-Stainless-Steel-with-Stainless-Steel-Tub-PDT750SSFSS/204417268?keyword=PDT750SSFSS&AID=10368321&PID=1796839&SID=133087622&cm_mmc=CJ-_-1796839-_-10368321&cj=true
Rheem | Electric Water Heater | Web | 2016-03-10 | 568 | 2 | 300 | 868 | http://www.homedepot.com/p/Rheem-Performance-Platinum-50-Gal-Electric-Water-Heater-with-Mobile-Alerts-and-12-Year-Warranty-XE50M12EC55U1/205810439
Power Strip
Manufacturer | Model Number | Type | Date | Total Equip Cost | Source
AmazonBasics | 6 outlet strip | Web | 2016-03-03 | 8.99 | http://www.amazon.com/AmazonBasics-6-Outlet-Surge-Protector-Power/dp/B00TP1C51M/ref=pd_sim_23_5?ie=UTF8&dpID=41wrQ49UMkL&dpSrc=sims&preST=_AC_UL160_SR160%2C160_&refRID=19QESZXE3REYS0YKM0CH
Belkin | 12 outlet strip | Web | 2016-03-03 | 20.87 | http://www.amazon.com/Belkin-BE112230-08-12-Outlet-Surge-Protector/dp/B000J2EN4S/ref=sr_1_2?s=hi&ie=UTF8&qid=1457020267&sr=1-2&keywords=power+strips

## Category Details
Category | Short Definition | Qty | Baseline | Manufacturers | Low End Product | Mid-Range | High End Product
Smart Lighting | Lighting bulbs, controls, and fixtures that have automoated control functionality | 12 | Bulbs controlled via a wall switch. Options include dimmers, occ sensors or timers | Aeon Labs Aerotec, Alarm.com, Bayit Home Automation, Belkin, Centralite, Cree, Flux, GE, Lutron, Osram, Philips, STACK | $15-25 LED with wireless controls, dimmable | $25-80 bluetooth/wifi enabled bulb; multi-color options, custom scheduling | $80-200 for smart bulb which is responsive to daylight, time of day via phone sync. Higher end intends to minimize user interaction
Smart Plug | Proxy hardware piece that controls or provides feedback about connected energy consuming devices | 47 | Plug in devices controlled manually | Aeon Labs, Anucuoo, Bayit, Belkin, Smartstrip, Centralite, D-Link, Embertec, Enerwave, FutureDash, GE, Insteon, Lockstate CONNECT, Lowes, P3 International, Plum, Schnieder Eectric, Tenrehte, Thinkeco, TriCascade, TrickleStar, Vera, Visible Energy Inc., Wattsopper, Wink | $10-30 sockets that eliminate standby power draw using shutoff after timed interval/set timer | $40-70 sockets which you can control remotely, monitor usage, safety feature shuts off overheating plugs | $80+ sockets which monitor & store additional information including dwelling time, occupancy, different user habits. Higher end models include data analytics capabilities
Smart Hub | Device that enables and manages interaction between existing smart hardware within a single home | 14 | Plug in devices (along with other non-energy using elements) controlled manually | Aeon Labs, Control4, Insteon, Lowes, Nuri Telecom, Rainforest Automation, Smartenit, SmartThings, Thinkeco, Vera, Visible Energy Inc, Wink | $50 for starter hub which can be used to control variety of other enabled devices. Devices include smart lighting, locks, plugs, thermostats but limited compatibility | $90-150 hub to control other enabled devices wirelessly, remotely, syncs with most smart products and allows for control of all of them through single module | $300+ for command center kit which controls all enabled devices (through panel and via phone).
Smart Hub and Smart Switch | Dual function wall mounted smart switch that also enables and manages interaction between existing smart hardware within a single home | 1 | Plug in devices controlled manually | bRight Switch |  | $130 allows for control of enabled devices via wifi network. Features include security alarm, live/recorded video, motion sensing, 2 way comunication with phone
Smart Switch | Wi-fi enabled wall switch that controls or provides feedback about connected energy consuming devices | 2 | Plug in devices controlled manually | Plum |  | $90 for a wifi conntcted dimmer switch that control lights in a single room
Smart Appliance | Communicating appliance which can be controlled remotely via various interfaces | 9 | Manually controlled appliances, baselines will vary widely based on appliance type | 1B First Build, EGO, GE Appliances, LG, Rachio, SmartThings, Whirlpool | $100 for hub and $30-60 for individual sensors which can monitor temperature, humidity, vibration, water leaks, motion, etc. of different appliances |  | $800-2000 for appliances (refrigerators, clothes washers/dryers, dishwashers) configured with wifi to optimize control, monitor energy usage.
Smart Thermostat | HVAC wi-fi enabled control utilizing remote or rule based mechanisms | 16 | Conventional thermostat | Alarm.com, Allure Energy, Carrier, Centralite, Cooper Power Systems, Ecobee, Honeywell, Lockstate CONNECT, Lowes, Nest, RCS Technology, Schneider Electric, York | $100 for a 7 day (5-2) programmable thermostat | $130-200 for a wifi enableed smart thermostat | $250-500 for wifi enabled, self programmable, commuicating thermostat capable of controlling HVAC systems
Energy Portal | Online dashboard that is consumer or utility facing | 46 | Monthly utility bill | Aclara, Aeon Labs, Bidgely, Brultech, C3, Calico Energy Services, Comverge, EarthNetworks, EcoFactor, Efergy, eGuage, EnergyAware, EnergyCap, EnergySavvy, Enphase, Eyedro, GridPoint, iFactor, Joulebug, Lucid Design, Makad Energy, Noveda Technologies, OPower, People Power Co, Powerhouse Dynamics, RCS Technologies, Schnieder ELectric, Silver Spring Network, Simple Energy, SmartThings, SolarCity, SunPower, Tendril, Thinkeco, Wattvision, Wink, Yshape | $80-100 start cost along with $25-60 for each sensor point. Control home energy systems in real time remotely | $150-250 for system which can add a number of wifi enabled devices | $250-1000 for residential energy/load monitoring system accessible via web platform
Data Analytics Platform | Cloud based analytics platform that analyzes large volumes of data collected from existing smart hardware | 15 | ??? | AutoGrid, Ceiva Energy, Comverge, EcoFactor, EnegyHub, Greenwave Systems, Intamac, Intamac, Kamstrup, Landis+Gyr, Nest, Opower, Tendril | No cost information available. Utility integrated thermostat platform, engage customers, encourage DR participation, see realtime demand, energy usage
In-Home Display | Physical display that collects data from existing hardware and provides real time feedback and/or prompts | 38 | Conventional thermostat | Ambient Devices, AzTech Associates Inc. Blue Line Innovations, Brand Electronics, Creston, Current Cost, Efergy, Energate, Energy Inc, Ensurpa, Insteon, Leviton, P3 International, Rainforest Automation, RCS Technology, Schnieder Electric, Wink | $30-50 provides real time energy consumption of a single plug load | $70-150 link wireslessly to smart meter, show energy use of smart plug configured devices | $180-300 links to all wifi enabled devices, can provide feedback from utility, provides feedback for reducing energy consumption
Load Monitor | Single non communicating piece of hardware that displays energy consumption data of the connected appliance or devices | 18 | ??? | Belkin, Cooper Power Systems, EarthTECHLING, Ensurpa, EnTek LLC, Floureon, P3 International, RCS Technology, Reliance Controls, Rosewill, TrickleStar, U-Vue, Watts Up?, WiTenergy | $13-20 displays standby power levels for plugged in devices, essentially a spot power meter | $30-80 monitors energy usage of socket, high end of category includes load monitoring power strips | $100+ for a load monitoring hub which can be configured with multiple smart plugs
Load Monitor + Smart Plug | Single communicating piece of hardware that displays energy consumption data of the connected appliance or devices | 1 | ??? | P3 International |  | $60 smart plug with motion sensor, standby killer, load monitoring capabilities
Smart Home Platform | Software platform that enables multiple different hardware devices to operate as a home energy management system | 23 | Plug in devices controlled manually | ADT, Alarm.com, Echo, Apple, AT&T, Ayla Networks, bRight, Comcast, CubeSensors, iControl, Iotas, Lowes, Lutron, Nexia Home Intelligence, OpenHome PEQ, Panasonic, Savant, Sequentric, Smappee, SmartThings, TriCascade, Verizon, Vivint, Wink | Subscription based services range from $5-50/month,. Install costs range from a couple hundred dollars into the thousands depending on how many devices are connected
Web Service Platform | Cloud-based platform that focuses on more than just energy | 2 | ??? | IFTTT, Interactive Voice |  | $230 internet based automaion service for communication between internet connected products