## Design and Planning
| DESIGN AND PLANNING | [6 empty] | DESIGN AND PLANNING
| 2.a. Have you done a market assessment on how the units are being used? | 2.b. Typical installation scenario | 2.c. Primary or supplemental heating/cooling | 2.d. Market/customer awareness | 3. Is your company currently promoting DHPs? How? | 4. Over the next couple of years do you think that the program’s involvement with DHP will grow, stay the same, or decrease? | 5. Were you involved in designing the program? | 6. What market barriers does the program address? | 13. What do you think customers are looking for when they consider a DHP purchase? | 15. Building controls incentivized? | 16. What are your thoughts on incentives? What's the right balance?
1 | Market assessment being completed currently | i. Primary used at secondary heating system in existing homes ii. Most net 0 homes, use as sole source | i. Primary used at secondary heating system in existing homes ii. Most net 0 homes, use as sole source | i. Working with other PA to develop customer awareness, train contractors to educate on Cool Smart and MassSave website ii. Some customers are being deceived and convey education to customers 1. Grid is working with other PAs to address deceit issues and inform public on right approach iii. DOER is promoting one-time grant to supplement Grid's | i. New homes: Rebated as part of RNC 1. Cool Smart DHP incentives are available throughout Grid territory regardless of fuel ii. Existing homes: "HES recommends and allows people to install air source heat pumps. We refer them to Cool Smart for the rebate. There is only one case where fuel switching is not allowed in HES... the early replacement rebates. If someone wants to get the early furnace or early boiler replacement, they cannot switch fuel or system type." | Only grow | Was not involved in the program design. Started with pilot before becoming a program. 3 tiers for DHP, up to $500 for most efficient | a. Contractors need to be made aware, especially HES vendors b. Education | a. Reduce their bill! b. Some are deceived from bad practices c. Cost control d. Summer and winter (year-round) savings | a. Leave it up to the contractor to work out b. Integrate into the house, but don’t promote RedLink yet c. Keep an eye on integrated controls that will be coming | a. Programs much be cost-effective b. Heat pumps are in general the next technology c. 45.5% savings last year came from heat pumps
2 | No, but talked a lot with the manufacturers who have a good sense of the market. | a. Transition now to heating; used to be cooling market (50%?) b. Most people are putting in for cooling, but supplemental heating c. But changing rapidly | Supplemental | a. Last month, the #1 search item on EVT's website was "heat pumps" b. Realtors still don't know what they are c. At their home show booths, 9 out of 10 people ask about heat pumps | a. New homes: no direct incentives, but included in HERS rating incentives; incentives paid based on HERS points b. Existing homes: 1. Wrapping up CEED program ($1000 for fossil fuel displacement) for 80-100 projects 2. Electric Resistance Displacement Program: Sent out 2-3000 mailers, but not much pickup (May not be the right channel to reach customers) 3. Upstream roll out planned at the end of the year, so don’t want to confuse the market too much with additional incentives now (Upstream is the way to go based on experience with circ pumps; went from 50/year with end-user incentive to 5,000+ with upstream). 4. Fall promotion planned c. Small commercial: will pay incentives if DHPs screen | Will grow | Has been in the middle of all this development work on DHPs from the beginning | Cost (biggest) Contractor training | a. Saving money for heating b. Using less fossil fuel c. Some enviros are looking for a non-fossil fuel alternative | Not now, but will be considering in the future. | $500-$1000; look to Maine
3 | Bangor Hydro/EM pilot study Oct 2013 Heating Options report Apr/2013, (Andy’s presentation from NESEA), Winter impact coming in July EMaine internal participant survey to 2000. 2350 units installed since Sept. 2013 They are planning to survey their participants about experiences- will send to 2000 participants |  |  |  | a. New homes: March rule allows DHPs too i. Some uptake, but <3% of total units ii. Decided to open up just for equipment due to savings relative to incremental cost b. Existing homes Confirmed year-round existing homes only in HES Currently require HSPF 10 regardless of single or multi head--Going to HSPF 12 for single head, staying with HSPF 10 for multi head- ½ of units installed to date were >12 so there is product available. Plenty of multi heads don’t do great at very cold temps, Dana wonders if they will really have much more of an impact on savings than single heads do. | a. Goal is 5000 units next FY starting July 1 b. Clean Nova Scotia installed 24,000 units last year (to displace oil and electric) c. Andy and Rick also anticipate growth Growth! | a. HSPF is key driver in anticipation of expanded future volume | a. Marketing and driving demand b. Information dissemination c. Bangor program drove a lot of demand d. Very few installations prior to program e. Takes time for contractors to staff up f. Lots of educational needs of contractors and consumers g. Takes time for contractors to feel comfortable h. Contractors concerned about callbacks i. Need to familiarize contractors about which units work best, misconceptions in the marketplace ii. Lots of focus on right-sizing to get messaging and information out
4
5 | i. Not formal, just the data | i. Most units are fossil fuel displacement ii. Once offered $1000 rebate, a lot more fossil displacement iii. Well ahead of 2014 projections: 1. Already reached 2014 goals 2. 300 in July 3. More in RNC market as well, smaller MF apartments installations | i. Existing homes: supplemental heat ii. NC: primary | i. Relatively high ii. Lots of calls from customers and contractors iii. Become a major aspect of HVAC programs | a. New homes: i. Don’t market specifically, but builders and HERS raters are recommending ii. Captured in HERS rating and achieves incentives b. Existing homes i. Two tiers: 1. $500 14.5, 8.2 HSPF 2. $1000: 18 SEER, 12 EER, 10 HSPF ii. Incentives have marketed themselves iii. Contractors and manufacturers promote iv. The market puts up billboard c. Homes that use electric resistance heat only i. All homes d. Homes that heat with fossil fuels i. Any home, including gas homes, although not common in gas homes ii. Mostly oil homes e. For heating, cooling or both? i. Putting in for both ii. Gotten away from conception that they are just for AC, but now also for heating iii. Contractors now understand they are useful for heating 1. Manufacturers and PA have training contractors 2. LG heating focus on heating in training upcoming | a. DHP has taken off solely based on $1000 rebate b. Still need incentives and education to keep going, promoting DHPs c. Will keep supporting program, but will need to figure out what changes need to happen i. lowering incentives, increasing standards will be considered d. In the NE, the DHP sales are up 50%; manufacturers are excited e. This is the solution for oil and propane customers who can’t get gas | a. Program started in pilot in 2006 (CT and MA pilot) (per Jeff Pratt) b. RLW did eval, that showed good results c. DHP was elec. heat displacement technology; this was focus i. No much cooling savings, but not enough to drive incentive levels d. Primarily oil i. Utility Cost Test – lost opportunity electric savings (difference between baseline DHP unit compared to installed more efficient unit) ii. Total Resource Cost Test – Fossil fuel displacement savings, secondary test | a. Cost barrier at $1000 level i. $4k lowest up to $10k (multi-heat system) b. Contractor awareness i. They “certify” these contractors 1. Manufacturer and utility trainings required 2. Since Jan., 5x increase in trainings (over 250 in 2014) 3. Trainings have really picked up after they thought they had been done; new contractors c. Customer awareness, to some extent i. Takes care of itself through the contractor work ii. Customer calls every day about DHP iii. Customers have called just to thank Nick iv. Heavily rely on contractors and distributors to get the word out v. 0% HES financing helps, but the others do outreach | a. People are sick of oil costs b. Cost of oil is primary driver to save $ c. Using them sometimes for supplemental heat d. Some are used in RNC in homes with low loads | a. They leave it up to the contractors b. But, educate contractors on how to do this c. Huge focus from manufacturers to train contractors on this d. Some contractors have been more proactive i. One leaves behind laminated flash card e. Message: DHP is primary, central system controlled as backup | a. $1000 is what’s needed to drive the market b. Need to make sure they have enough budget c. Last year was just electric, this year all fuels d. Need to make sure they aren’t going into natural gas homes e. When they cut incentives back to $500 got hate mail; people really wanted the $1000 (contractors) f. Most Efficient ESTAR tier will help in the future; may piggyback on that as an option
6
| Some limited market assessments in states that have been promoting DHPs for more than a few years. Market information is available from manufacturers. We are learning more about how customers use DHPs, but this is evolving and changing as contractors better understand the technology and customers learn their benefits and how to operate them in concert with their existing heating and cooling systems. | Increasingly installed to displace expensive oil, propane and electric heat. | Supplemental to displace existing heating systems except for some new homes. | Limited but increasing with program efforts and contractor training and familiarity and comfort selling the DHP systems. |  | All say the DHP market will grow. | Differences of opinion as to the DHP eligibility metrics that should be used; HSPF, ENERGY STAR or other standards. | Equipment cost Savings potential Contractor awareness, familiarity, comfort with a new technology and faith that the DHPs will perform Lack of consumer awareness, information, and demand | Heating bill reductions. Year-round confort and affordability. Distinguishing a quality product that will work in cold climates vs. an inferior product. | Not yet, but many are thinkin about how to incentivize controls. | $500-$1000 Tiered by efficiency, but don't complicate it too much
Move to approprate column.

## Operations
OPERATIONS
| 7.a. Do you verify the installation with a site visit? | 7.b. Do you provide customer education? | 7.c. Do you get information on existing supplemental heating and baseline cooling? | 8. What information do you track and report? | 9. Is the program limited to current electric heating/cooling customers, or is it available for fuel switching? | 14. Are you providing more than incentives to support the DHP market?
1 | i. 10% post-inspection of all installs (across all Cool Smart) | i. Training of contractors, then leave it up to them to train customers ii. Homeowner education supporting these efforts | This is outside the program implementation and left up to the evaluation team | a. Savings, # installed, efficiency | Any Grid electric customer, regardless of heating/cooling source, is available for Cool Smart. See question 3 for fuel switching answer. | Info from DOER is customer-facing Educating contractors
2 | Not now, but probably 5% inspection rate in the future | Don’t anticipate much direct customer education Focus on up-stream primarily | Yes, collecting all this. | a. System type b. Fuel type c. Prior fuel consumption | When CEED program ends shortly, will only be for existing electric heat customers now. However, for all fuels in the fall. | a. Coop markeing with distributors b. Website c. Working with manufactures and reps to train counter people, train distributors to make more sales d. No advertising yet, but plan on it e. Social marketing f. Blogging g. VECAN (VT conference of town energy coodinators) workshops
3 | i. 2-sided claim form for any incentives; one form with invoice ii. Customer signs off and checks arrive within 2 weeks iii. Field verifications on a % installations 1. Completed over 900 inspection in HES, 500 inspections on DHP (out of 2350)- theoretically random inspections but they make a point of inspecting several installs for each contractor 2. Inspect # of installations per contractor, then vary frequency of inspections thereafter 3. Look at aesthetics, height off ground, covered with rain 4. Has guidelines sheet distributed to contractors and included in webinars 5. Performance, aesthetics and key | Nice Brochure and calculator on web- informational seminars and advertising • Heat pump tips sent to participants • Raise awareness through ads- radio this summer • Contractors- monthly webinar for contractors that all are invited to, then Dana sends out a recording of the webinar to contractors- contractors are starting to get it, starting to understand what they need to do to be successful | Yes, optional on rebate form if applicant chooses to complete it. | a. Advertise, send out heat pump tips, radio ads b. Contractors participate in monthly webinars sent out to contractors | Available for displacing any existing fuels. Support most efficient equipment rather than standard practice.
4
5 | i. 5% done by vendor | i. Not really | i. Rebate form includes previous equipment for heating and cooling | a. Installed system, HSPF, SEER, etc b. Date c. Who installed d. Approved contractor? | a. All fuels, no restriction b. Residential c. One rebate per home | a. Contractor training and support b. The market is now driving itself
6
| Ranges from none to some spot checks Inspections front-loaded until contractors demonstrate competence | This is key to driving demand and showing contractors that there is a market There are some great examples of tips, videos and other materials available | Some collect existing information as part of qualification, others just for information and some leave it up to the evaluators to collect this information | Varies but includes: System type, # installed, efficiency Prior fuel use and quantity consumed Savings | Varies, but most are not limiting installations and will allow DHPs to be incentivized in any home in the utility's territory. | Yes, most support the contractor market with training, outreach, direct contractor (rather than homeowner) incentives. Customer education and advertising to drive demand. Coop markeing with distributors Website presence Working with manufactures and reps to train counter people, train distributors to make more sales Social marketing, blogging Conference, workshop and homeshow presence to address homeowner and contractor questions and build confidence in the technology.

## M&V
M & V
| 10.b. Policies re. savings in homes with CAC | 10.c. Policies re. savings in gas heated homes? | 10.d. Policies re. savings in oil/propane heated homes? | 11. Are you concerned about the possibility that customers who did not previously have air-conditioning will increase summer electrical use? Load building concerns? | 12. Have you conducted any DHP evaluations?
1 | Savings are calculated by the EM&V team, so they will need to get back. | Savings are calculated by the EM&V team, so they will need to get back. | Savings are calculated by the EM&V team, so they will need to get back. | i. Most homes already have AC ii. Consumers are most concerned with upfront costs so wouldn’t buy a DHP otherwise without the program's intervention with education and incentives | Small impact study on Grid's savings
2 | i. Cooling: ignoring ii. Collecting info but decided not to claim savings (PSD agreed) iii. 80% of VT homes have cooling already in VT iv. Electric use has leveled off in VT even with more AC | i. Can’t touch Vermont Gas Systems (VGS) homes ii. Agreement with VGS iii. Doesn’t screen | i. No methodology yet ii. Collected info, but no agreement yet | EVT is not concerned. Customers would have put in a DHP otherwise and incentive is to get them to install the right one. Use the program to influence the market opportunity. | On-going
3 | People would buy baseline heat pumps, so want to drive choice to higher efficiency heat pumps |  | i. Because so much oil and high costs ii. People would buy baseline heat pumps, so want to drive choice to higher efficiency heat pumps iii. Look at fuel savings for RGGI funds iv. HSPF of 10 is standard now 1. Going to single-head units with HSPF 12 and multi-head of 10 2. Plenty of multi-head options out there and they all exceed 10 3. New product available 4. Majority of installations are single-head
4
5 | i. Claims a small amount on cooling; blended savings calculation that assumes a mix of CAC, window units and no cooling (very few), based on an average home | i. Same as with oil | i. Lost opportunity savings (baseline DHP unit compared to the installed unit’s energy savings) | i. Hasn’t come up ii. Most have cooling already or will at some point | a. RLW in 2008 b. HES and HES-IE study looked at DHP (draft) i. Results: not very rigorous ii. Estimated a low realization rate with high confidence interval iii. Lots of questions of study
6
| Cooling savings are also evolving as each state works with its regulators to determine the appropriate savings calculations. Some are ignoring cooling savings or calculating compared to baseline DHP efficiency. | Many do not incentivize in gas heated homes. | Methodologies are being worked out and under development. Fuel savings are captured for RGGI credit. Savings is credited compared to baseline efficient unit. | No. AC is in most homes anyhow and programs are using DHP programs to get customers to make the right choice by selecting a more efficient cooling option than a less efficient window or CAC system. | Studies are planned or underway. Not many results yet.

## Conclusions
CONCLUSION
| 17. What things should programs do and not do in order to be most successful with DHP? | 18. Anything else that you think other PAs should think about?
1 | a. Have manufacturers bring in products for cold climates b. Promote cold-climate products appropriate for our climate c. We are 2-3 year ahead of our time | DHP are the future. Include in program planning.
2 | a. Biggest trick; Establish the CCHP standard b. How to calculate savings c. Much distribution goes through refrigeration contractors d. work with contractors and distributors to distinguish the "cheap crap" from quality CCDHPs | a. Recommend talking to the distributors b. Where you set the incentives and standards in the market is key to establishing success or failure c. Understand the market and the ramifications to the market before establishing standards and program details
3
4
5 | a. Make sure you have enough money in the budget b. Contractor training is vitally important i. For DHP, but also to interact with them on all other issues ii. 30 trainings in 6 months have been great outreach for all programs iii. Use as a way to get in the door to promote other programs c. Incentives; offer as high as you can to get the program interest going, as high as you can justify | a. Make sure that you maintain a relationship with manufacturers, distributors and contractors for both this program and as a way to build bridges and share information around other utility programs as well.
6
Establish the CCHP standard Work with manufacturers, distributors and contractors to bring in product that operates reliably in our climate and then distinguish the "cheap crap" from quality CCDHPs Work through the existing distribution channels Determine how to calculate savings
| Draw parallels to occupancy sensors or magnetic ballasted CFLs for quality. Programs shouldn't shy away from this. | Talk to the distribtors Fully understand the market before launching a program