## O&M calc-LED Exit Sign
Calculation of O&M Impacts
Measure Name | LED Exit Sign
Program | Time of Sale
Inputs |  |  | Notes
RDR | 0.05 |  | This measure is classified as an Early Replacement in the TRM, but it is assumed that the existing exit sign would have been maintained with new baseline lamps (and ballasts, if required) for the duration of the measure life. Therefore, the TOS O&M methodology is used.
Measure Life (years) | 16
Baseline Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Baseline Component #1 | CFL replacement | 1.1416 | 5 | 7 | 108.0332 | Source: Replacement lamps can typically be purchased for ~$5 (based on a review of online retailers performed 3/14/2013 including “http://www.exitlightco.com/” and “http://www.1000bulbs.com/”). Assuming lamp replacement requires 15 minutes of a common building laborer's time in Washington D.C. (RSMeans Electrical Cost Data 2008), the total installed cost would be approximately $12. Assumes rated life of fluorescent replacement lamp is 10,000 hours. Assuming annual exit sign operating hours of 8,760, estimated lamp life is 1.14 years.
| Baseline Component #2 |  |  |  |  | 0
Efficient Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Efficient Component #1 |  |  |  |  | 0
| Efficient Component #2 |  |  |  |  | 0
Net Present Value O&M
NPV
108.0332
Program | Early Replacement
Inputs |  |  | Notes
RDR
Measure Life (years)
Existing Equipment Life (years)
Remaining Useful Life (years)
Existing Equipment Age (years)
Include First Post-Baseline Shift Component?
Pre-Baseline Shift Baseline Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV |  | Interim Calculations
| Baseline Component #1 |  |  |  |  | 0 |  | Combined replacement components life | 0
| Baseline Component #2 |  |  |  |  | 0 |  | Combined replacement components life | 0
Post-Baseline Shift Baseline Components (if applicable)
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Baseline Component #1 |  |  |  |  | 0
| Baseline Component #2 |  |  |  |  | 0
Efficient Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Efficient Component #1 |  |  |  |  | 0
| Efficient Component #2 |  |  |  |  | 0
Net Present Value O&M
NPV
0

## O&M calc-Delamping
Calculation of O&M Impacts
Measure Name | Delamping
Program | Time of Sale
Inputs |  |  | Notes
RDR | 0.05 |  | This is technically an Early Retirement measure, but uses the TOS O&M methodology as component replacement would have occurred for the duration of the measure life.
Measure Life (years) | 15
Baseline Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Baseline Component #1 | 4' linear fluorescent lamp replacement | 8.5714 | 2.25 | 4.7112 | 3.6095 | Source: Assumes $2.25 per lamp from California Work Paper "PGECOLTG179. LED Ambient Commercial Fixtures and Retrofit Kits. Revision #2" dated 06/01/2016. http://deeresources.net/workpapers. Assumes 0.089 hours per lamp replacement from "Electrical Costs with RSMeans Data 2017," p.308, and labor costs for a Common Building Laborer assuming a population weighted average of costs for Mid-Atlantic cities presented in "Electrical Costs with RSMeans Data 2017," pp.550-551. Assumes typical rated life of 30,000 hours for new linear fluorescent lamp.
| Baseline Component #2 |  |  |  |  | 0
Efficient Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Efficient Component #1 |  |  |  |  | 0
| Efficient Component #2 |  |  |  |  | 0
Net Present Value O&M
NPV
3.6095
Program | Early Replacement
Inputs |  |  | Notes
RDR
Measure Life (years)
Existing Equipment Life (years)
Remaining Useful Life (years)
Existing Equipment Age (years)
Include First Post-Baseline Shift Component?
Pre-Baseline Shift Baseline Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV |  | Interim Calculations
| Baseline Component #1 |  |  |  |  | 0 |  | Combined replacement components life | 0
| Baseline Component #2 |  |  |  |  | 0 |  | Combined replacement components life | 0
Post-Baseline Shift Baseline Components (if applicable)
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Baseline Component #1 |  |  |  |  | 0
| Baseline Component #2 |  |  |  |  | 0
Efficient Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Efficient Component #1 |  |  |  |  | 0
| Efficient Component #2 |  |  |  |  | 0
Net Present Value O&M
NPV
0

## O&M calc-LED Otdr Pole Arm
Calculation of O&M Impacts
Measure Name | LED Outdoor Pole/Arm- or Wall-Mounted Area and Roadway Lighting Luminaires and Retrofit Kits
Program | Time of Sale
Inputs |  |  | Notes
RDR | 0.05
Measure Life (years) | 18
Baseline Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Baseline Component #1 | Metal halide lamp | 4.4937 | 21.6453 | 14.1335 | 70.4391 | Source: Assumes straight average of 175W, 250W, and 400W metal halide lamps from "Electrical Costs with RSMeans Data 2017," p.309. Assumes 26.667 hours per 100 lamp replacements from "Electrical Costs with RSMeans Data 2017," p.309, and labor costs for a Common Building Laborer assuming a population weighted average of costs for Mid-Atlantic cities presented in "Electrical Costs with RSMeans Data 2017," pp.550-551. Assumes typical rated life of 15,000 hours for new metal halide lamp.
| Baseline Component #2 |  |  |  |  | 0
Efficient Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Efficient Component #1 |  |  |  |  | 0
| Efficient Component #2 |  |  |  |  | 0
Net Present Value O&M
NPV
70.4391
Program | Early Replacement
Inputs |  |  | Notes
RDR | 0.05
Measure Life (years) | 18
Existing Equipment Life (years) | 18
Remaining Useful Life (years) | 6
Existing Equipment Age (years) | 12
Include First Post-Baseline Shift Component? | No
Pre-Baseline Shift Baseline Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV |  | Interim Calculations
| Baseline Component #1 | Metal halide lamp | 4.4937 | 21.6453 | 14.1335 | 33.4511 | Source: Assumes straight average of 175W, 250W, and 400W metal halide lamps from "Electrical Costs with RSMeans Data 2017," p.309. Assumes 26.667 hours per 100 lamp replacements from "Electrical Costs with RSMeans Data 2017," p.309, and labor costs for a Common Building Laborer assuming a population weighted average of costs for Mid-Atlantic cities presented in "Electrical Costs with RSMeans Data 2017," pp.550-551. Assumes typical rated life of 15,000 hours for new metal halide lamp. | Combined replacement components life | 13.4811
| Baseline Component #2 |  |  |  |  | 0 |  | Combined replacement components life | 0
Post-Baseline Shift Baseline Components (if applicable)
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Baseline Component #1 | Metal halide lamp | 4.4937 | 21.6453 | 14.1335 | 33.3987 | Source: Assumes straight average of 175W, 250W, and 400W metal halide lamps from "Electrical Costs with RSMeans Data 2017," p.309. Assumes 26.667 hours per 100 lamp replacements from "Electrical Costs with RSMeans Data 2017," p.309, and labor costs for a Common Building Laborer assuming a population weighted average of costs for Mid-Atlantic cities presented in "Electrical Costs with RSMeans Data 2017," pp.550-551. Assumes typical rated life of 15,000 hours for new metal halide lamp.
| Baseline Component #2 |  |  |  |  | 0
Efficient Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Efficient Component #1 |  |  |  |  | 0
| Efficient Component #2 |  |  |  |  | 0
Net Present Value O&M
NPV
66.8498

## O&M calc-LED High-Bay
Calculation of O&M Impacts
Measure Name | LED High-Bay Luminaires and Retrofit Kits
Program | Time of Sale
Inputs |  |  | Notes
RDR | 0.05
Measure Life (years) | 12
Baseline Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Baseline Component #1 | Metal halide lamp | 4.2857 | 21.6453 | 14.1335 | 48.2539 | Source: Assumes straight average of 175W, 250W, and 400W metal halide lamps from "Electrical Costs with RSMeans Data 2017," p.309. Assumes 26.667 hours per 100 lamp replacements from "Electrical Costs with RSMeans Data 2017," p.309, and labor costs for a Common Building Laborer assuming a population weighted average of costs for Mid-Atlantic cities presented in "Electrical Costs with RSMeans Data 2017," pp.550-551. Assumes typical rated life of 15,000 hours for new metal halide lamp.
| Baseline Component #2 |  |  |  |  | 0
Efficient Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Efficient Component #1 |  |  |  |  | 0
| Efficient Component #2 |  |  |  |  | 0
Net Present Value O&M
NPV
48.2539
Program | Early Replacement
Inputs |  |  | Notes
RDR | 0.05
Measure Life (years) | 12
Existing Equipment Life (years) | 12
Remaining Useful Life (years) | 4
Existing Equipment Age (years) | 8
Include First Post-Baseline Shift Component? | No
Pre-Baseline Shift Baseline Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV |  | Interim Calculations
| Baseline Component #1 | Metal halide lamp | 4.2857 | 21.6453 | 14.1335 | 28.4056 | Source: Assumes straight average of 175W, 250W, and 400W metal halide lamps from "Electrical Costs with RSMeans Data 2017," p.309. Assumes 26.667 hours per 100 lamp replacements from "Electrical Costs with RSMeans Data 2017," p.309, and labor costs for a Common Building Laborer assuming a population weighted average of costs for Mid-Atlantic cities presented in "Electrical Costs with RSMeans Data 2017," pp.550-551. Assumes typical rated life of 15,000 hours for new metal halide lamp. | Combined replacement components life | 8.5714
| Baseline Component #2 |  |  |  |  | 0 |  | Combined replacement components life | 0
Post-Baseline Shift Baseline Components (if applicable)
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Baseline Component #1 | Metal halide lamp | 4.2857 | 21.6453 | 14.1335 | 20.9781 | Source: Assumes straight average of 175W, 250W, and 400W metal halide lamps from "Electrical Costs with RSMeans Data 2017," p.309. Assumes 26.667 hours per 100 lamp replacements from "Electrical Costs with RSMeans Data 2017," p.309, and labor costs for a Common Building Laborer assuming a population weighted average of costs for Mid-Atlantic cities presented in "Electrical Costs with RSMeans Data 2017," pp.550-551. Assumes typical rated life of 15,000 hours for new metal halide lamp.
| Baseline Component #2 |  |  |  |  | 0
Efficient Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Efficient Component #1 |  |  |  |  | 0
| Efficient Component #2 |  |  |  |  | 0
Net Present Value O&M
NPV
49.3838

## O&M calc-LED 1x4, 2x2, 2x4
Calculation of O&M Impacts
Measure Name | LED 1x4, 2x2, and 2x4 Luminaires and Retrofit Kits
Program | Time of Sale
Inputs |  |  | Notes
RDR | 0.05
Measure Life (years) | 14
Baseline Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Baseline Component #1 | 4' T8 lamps replacements per kilolumen | 8.5714 | 1.15 | 2.3523 | 1.5695 | Source: Assumes $1.15 per kilolumen from California Work Paper "PGECOLTG179. LED Ambient Commercial Fixtures and Retrofit Kits. Revision #2" dated 06/01/2016. http://deeresources.net/workpapers. Assumes $2.35 per kilolumen in labor costs from California Work Paper "PGECOLTG179. LED Ambient Commercial Fixtures and Retrofit Kits. Revision #2" dated 06/01/2016, http://deeresources.net/workpapers, adjusted for Mid-Atlantic labor rates. Assumes typical rated life of 30,000 hours for new linear fluorescent lamp.
| Baseline Component #2 |  |  |  |  | 0
Efficient Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Efficient Component #1 |  |  |  |  | 0
| Efficient Component #2 |  |  |  |  | 0
Net Present Value O&M
NPV
1.5695
Program | Early Replacement
Inputs |  |  | Notes
RDR | 0.05
Measure Life (years) | 14
Existing Equipment Life (years) | 14
Remaining Useful Life (years) | 4.6667
Existing Equipment Age (years) | 9.3333
Include First Post-Baseline Shift Component? | No
Pre-Baseline Shift Baseline Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV |  | Interim Calculations
| Baseline Component #1 | 4' T8 lamps replacements per kilolumen | 8.5714 | 1.15 | 2.3523 | 0 | Source: Assumes $1.15 per kilolumen from California Work Paper "PGECOLTG179. LED Ambient Commercial Fixtures and Retrofit Kits. Revision #2" dated 06/01/2016. http://deeresources.net/workpapers. Assumes $2.35 per kilolumen in labor costs from Work Paper PGECOLTG179. LED Ambient Commercial Fixtures and Retrofit Kits. Revision #2" dated 06/01/2016, adjusted for Mid-Atlantic labor rates. Assumes typical rated life of 30,000 hours for new linear fluorescent lamp. | Combined replacement components life | 17.1429
| Baseline Component #2 |  |  |  |  | 0 |  | Combined replacement components life | 0
Post-Baseline Shift Baseline Components (if applicable)
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Baseline Component #1 | 4' T8 lamps replacements per kilolumen | 8.5714 | 1.15 | 2.3523 | 0.19602 | Source: Assumes $1.15 per kilolumen from California Work Paper "PGECOLTG179. LED Ambient Commercial Fixtures and Retrofit Kits. Revision #2" dated 06/01/2016. http://deeresources.net/workpapers. Assumes $2.35 per kilolumen in labor costs from Work Paper PGECOLTG179. LED Ambient Commercial Fixtures and Retrofit Kits. Revision #2" dated 06/01/2016, adjusted for Mid-Atlantic labor rates. Assumes typical rated life of 30,000 hours for new linear fluorescent lamp.
| Baseline Component #2 |  |  |  |  | 0
Efficient Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Efficient Component #1 |  |  |  |  | 0
| Efficient Component #2 |  |  |  |  | 0
Net Present Value O&M
NPV
0.19602

## O&M calc-LED Canopy
Calculation of O&M Impacts
Measure Name | LED Parking Garage/Canopy Luminaires and Retrofit Kits (Canopy)
Program | Time of Sale
Inputs |  |  | Notes
RDR | 0.05
Measure Life (years) | 21
Baseline Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Baseline Component #1 | Metal halide lamp | 4.4937 | 21.6453 | 14.1335 | 80.7211 | Source: Assumes straight average of 175W, 250W, and 400W metal halide lamps from "Electrical Costs with RSMeans Data 2017," p.309. Assumes 26.667 hours per 100 lamp replacements from "Electrical Costs with RSMeans Data 2017," p.309, and labor costs for a Common Building Laborer assuming a population weighted average of costs for Mid-Atlantic cities presented in "Electrical Costs with RSMeans Data 2017," pp.550-551. Assumes typical rated life of 15,000 hours for new metal halide lamp.
| Baseline Component #2 |  |  |  |  | 0
Efficient Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Efficient Component #1 |  |  |  |  | 0
| Efficient Component #2 |  |  |  |  | 0
Net Present Value O&M
NPV
80.7211
Program | Early Replacement
Inputs |  |  | Notes
RDR | 0.05
Measure Life (years) | 21
Existing Equipment Life (years) | 21
Remaining Useful Life (years) | 7
Existing Equipment Age (years) | 14
Include First Post-Baseline Shift Component? | No
Pre-Baseline Shift Baseline Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV |  | Interim Calculations
| Baseline Component #1 | Metal halide lamp | 4.4937 | 21.6453 | 14.1335 | 20.5414 | Source: Assumes straight average of 175W, 250W, and 400W metal halide lamps from "Electrical Costs with RSMeans Data 2017," p.309. Assumes 26.667 hours per 100 lamp replacements from "Electrical Costs with RSMeans Data 2017," p.309, and labor costs for a Common Building Laborer assuming a population weighted average of costs for Mid-Atlantic cities presented in "Electrical Costs with RSMeans Data 2017," pp.550-551. Assumes typical rated life of 15,000 hours for new metal halide lamp. | Combined replacement components life | 17.9748
| Baseline Component #2 |  |  |  |  | 0 |  | Combined replacement components life | 0
Post-Baseline Shift Baseline Components (if applicable)
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Baseline Component #1 | Metal halide lamp | 4.4937 | 21.6453 | 14.1335 | 38.4945 | Source: Assumes straight average of 175W, 250W, and 400W metal halide lamps from "Electrical Costs with RSMeans Data 2017," p.309. Assumes 26.667 hours per 100 lamp replacements from "Electrical Costs with RSMeans Data 2017," p.309, and labor costs for a Common Building Laborer assuming a population weighted average of costs for Mid-Atlantic cities presented in "Electrical Costs with RSMeans Data 2017," pp.550-551. Assumes typical rated life of 15,000 hours for new metal halide lamp.
| Baseline Component #2 |  |  |  |  | 0
Efficient Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Efficient Component #1 |  |  |  |  | 0
| Efficient Component #2 |  |  |  |  | 0
Net Present Value O&M
NPV
59.0358

## O&M calc-LED Prkng Garage
Calculation of O&M Impacts
Measure Name | LED Parking Garage/Canopy Luminaires and Retrofit Kits (Canopy)
Program | Time of Sale
Inputs |  |  | Notes
RDR | 0.05
Measure Life (years) | 8
Baseline Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Baseline Component #1 | Metal halide lamp | 1.7123 | 21.6453 | 14.1335 | 108.4793 | Source: Assumes straight average of 175W, 250W, and 400W metal halide lamps from "Electrical Costs with RSMeans Data 2017," p.309. Assumes 26.667 hours per 100 lamp replacements from "Electrical Costs with RSMeans Data 2017," p.309, and labor costs for a Common Building Laborer assuming a straight average of costs for Mid-Atlantic cities presented in "Electrical Costs with RSMeans Data 2017," pp.550-551. Assumes typical rated life of 15,000 hours for new metal halide lamp.
| Baseline Component #2 |  |  |  |  | 0
Efficient Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Efficient Component #1 |  |  |  |  | 0
| Efficient Component #2 |  |  |  |  | 0
Net Present Value O&M
NPV
108.4793
Program | Early Replacement
Inputs |  |  | Notes
RDR | 0.05
Measure Life (years) | 8
Existing Equipment Life (years) | 8
Remaining Useful Life (years) | 2.6667
Existing Equipment Age (years) | 5.3333
Include First Post-Baseline Shift Component? | No
Pre-Baseline Shift Baseline Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV |  | Interim Calculations
| Baseline Component #1 | Metal halide lamp | 1.7123 | 21.6453 | 14.1335 | 22.6336 | Source: Assumes straight average of 175W, 250W, and 400W metal halide lamps from "Electrical Costs with RSMeans Data 2017," p.309. Assumes 26.667 hours per 100 lamp replacements from "Electrical Costs with RSMeans Data 2017," p.309, and labor costs for a Common Building Laborer assuming a straight average of costs for Mid-Atlantic cities presented in "Electrical Costs with RSMeans Data 2017," pp.550-551. Assumes typical rated life of 15,000 hours for new metal halide lamp. | Combined replacement components life | 6.8493
| Baseline Component #2 |  |  |  |  | 0 |  | Combined replacement components life | 0
Post-Baseline Shift Baseline Components (if applicable)
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Baseline Component #1 | Metal halide lamp | 1.7123 | 21.6453 | 14.1335 | 58.3844 | Source: Assumes straight average of 175W, 250W, and 400W metal halide lamps from "Electrical Costs with RSMeans Data 2017," p.309. Assumes 26.667 hours per 100 lamp replacements from "Electrical Costs with RSMeans Data 2017," p.309, and labor costs for a Common Building Laborer assuming a straight average of costs for Mid-Atlantic cities presented in "Electrical Costs with RSMeans Data 2017," pp.550-551. Assumes typical rated life of 15,000 hours for new metal halide lamp.
| Baseline Component #2 |  |  |  |  | 0
Efficient Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Efficient Component #1 |  |  |  |  | 0
| Efficient Component #2 |  |  |  |  | 0
Net Present Value O&M
NPV
81.018

## O&M calc-ES SSL, Unknown
Calculation of O&M Impacts
Measure Name | ENERGY STAR Integrated Screw Based SSL (LED) Lamp – Commercial
Program | Time of Sale
Inputs |  |  | Notes
RDR | 0.05
Measure Life (years) | 4.2857
Baseline Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Baseline Component #1 | Unknown baseline lamp | 0.28571 | 1.52 | 2.65 | 52.6676 | Source: Baseline incandescent lamp cost assumptions are adapted from 2016 4th Quarter data provided by Lighttracker Inc. The information from Lighttracker is based in part on data reported by IRI through its Advantage service for, and as interpreted solely by, Lighttracker Inc. IRI disclaims liability of any kind arising from the use of this information. The information from Lighttracker is also based in part on data from Nielsen through its Strategic Planner and Homescan Services for the lighting category for the 52-week period ending approximately on December 31, 2016, for the Maryland and U.S. markets and Expanded All Outlets Combined (xAOC) and Total Market Channels. Copyright © 2016, Nielsen. Assumes 5 hours per 100 lamp replacements from "Electrical Costs with RSMeans Data 2017," p.309, and labor costs for a Common Building Laborer assuming a population weighted average of costs for Mid-Atlantic cities presented in "Electrical Costs with RSMeans Data 2017," pp.550-551. Assumes typical rated life of 1,000 hours for new indandescent lamp.
| Baseline Component #2 |  |  |  |  | 0
Efficient Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Efficient Component #1 |  |  |  |  | 0
| Efficient Component #2 |  |  |  |  | 0
Net Present Value O&M
NPV
52.6676
Program | Early Replacement
Inputs |  |  | Notes
RDR
Measure Life (years)
Existing Equipment Life (years)
Remaining Useful Life (years)
Existing Equipment Age (years)
Include First Post-Baseline Shift Component?
Pre-Baseline Shift Baseline Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV |  | Interim Calculations
| Baseline Component #1 |  |  |  |  | 0 |  | Combined replacement components life | 0
| Baseline Component #2 |  |  |  |  | 0 |  | Combined replacement components life | 0
Post-Baseline Shift Baseline Components (if applicable)
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Baseline Component #1 |  |  |  |  | 0
| Baseline Component #2 |  |  |  |  | 0
Efficient Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Efficient Component #1 |  |  |  |  | 0
| Efficient Component #2 |  |  |  |  | 0
Net Present Value O&M
NPV
0

## O&M calc-ES SSL, Globe
Calculation of O&M Impacts
Measure Name | ENERGY STAR Integrated Screw Based SSL (LED) Lamp – Commercial
Program | Time of Sale
Inputs |  |  | Notes
RDR | 0.05
Measure Life (years) | 4.2857
Baseline Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Baseline Component #1 | Globe baseline lamp | 0.28571 | 1.58 | 2.65 | 53.4255 | Source: Baseline incandescent lamp cost assumptions are adapted from 2016 4th Quarter data provided by Lighttracker Inc. The information from Lighttracker is based in part on data reported by IRI through its Advantage service for, and as interpreted solely by, Lighttracker Inc. IRI disclaims liability of any kind arising from the use of this information. The information from Lighttracker is also based in part on data from Nielsen through its Strategic Planner and Homescan Services for the lighting category for the 52-week period ending approximately on December 31, 2016, for the Maryland and U.S. markets and Expanded All Outlets Combined (xAOC) and Total Market Channels. Copyright © 2016, Nielsen. Assumes 5 hours per 100 lamp replacements from "Electrical Costs with RSMeans Data 2017," p.309, and labor costs for a Common Building Laborer assuming a population weighted average of costs for Mid-Atlantic cities presented in "Electrical Costs with RSMeans Data 2017," pp.550-551. Assumes typical rated life of 1,000 hours for new indandescent lamp.
| Baseline Component #2 |  |  |  |  | 0
Efficient Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Efficient Component #1 |  |  |  |  | 0
| Efficient Component #2 |  |  |  |  | 0
Net Present Value O&M
NPV
53.4255
Program | Early Replacement
Inputs |  |  | Notes
RDR
Measure Life (years)
Existing Equipment Life (years)
Remaining Useful Life (years)
Existing Equipment Age (years)
Include First Post-Baseline Shift Component?
Pre-Baseline Shift Baseline Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV |  | Interim Calculations
| Baseline Component #1 |  |  |  |  | 0 |  | Combined replacement components life | 0
| Baseline Component #2 |  |  |  |  | 0 |  | Combined replacement components life | 0
Post-Baseline Shift Baseline Components (if applicable)
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Baseline Component #1 |  |  |  |  | 0
| Baseline Component #2 |  |  |  |  | 0
Efficient Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Efficient Component #1 |  |  |  |  | 0
| Efficient Component #2 |  |  |  |  | 0
Net Present Value O&M
NPV
0

## O&M calc-ES SSL, Reflector
Calculation of O&M Impacts
Measure Name | ENERGY STAR Integrated Screw Based SSL (LED) Lamp – Commercial
Program | Time of Sale
Inputs |  |  | Notes
RDR | 0.05
Measure Life (years) | 4.2857
Baseline Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Baseline Component #1 | Reflector baseline lamp | 0.28571 | 3.63 | 2.65 | 79.3172 | Source: Baseline incandescent lamp cost assumptions are adapted from 2016 4th Quarter data provided by Lighttracker Inc. The information from Lighttracker is based in part on data reported by IRI through its Advantage service for, and as interpreted solely by, Lighttracker Inc. IRI disclaims liability of any kind arising from the use of this information. The information from Lighttracker is also based in part on data from Nielsen through its Strategic Planner and Homescan Services for the lighting category for the 52-week period ending approximately on December 31, 2016, for the Maryland and U.S. markets and Expanded All Outlets Combined (xAOC) and Total Market Channels. Copyright © 2016, Nielsen. Assumes 5 hours per 100 lamp replacements from "Electrical Costs with RSMeans Data 2017," p.309, and labor costs for a Common Building Laborer assuming a population weighted average of costs for Mid-Atlantic cities presented in "Electrical Costs with RSMeans Data 2017," pp.550-551. Assumes typical rated life of 1,000 hours for new indandescent lamp.
| Baseline Component #2 |  |  |  |  | 0
Efficient Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Efficient Component #1 |  |  |  |  | 0
| Efficient Component #2 |  |  |  |  | 0
Net Present Value O&M
NPV
79.3172
Program | Early Replacement
Inputs |  |  | Notes
RDR
Measure Life (years)
Existing Equipment Life (years)
Remaining Useful Life (years)
Existing Equipment Age (years)
Include First Post-Baseline Shift Component?
Pre-Baseline Shift Baseline Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV |  | Interim Calculations
| Baseline Component #1 |  |  |  |  | 0 |  | Combined replacement components life | 0
| Baseline Component #2 |  |  |  |  | 0 |  | Combined replacement components life | 0
Post-Baseline Shift Baseline Components (if applicable)
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Baseline Component #1 |  |  |  |  | 0
| Baseline Component #2 |  |  |  |  | 0
Efficient Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Efficient Component #1 |  |  |  |  | 0
| Efficient Component #2 |  |  |  |  | 0
Net Present Value O&M
NPV
0

## O&M calc-ES SSL, A Lamp
Calculation of O&M Impacts
Measure Name | ENERGY STAR Integrated Screw Based SSL (LED) Lamp – Commercial
Program | Time of Sale
Inputs |  |  | Notes
RDR | 0.05
Measure Life (years) | 4.2857
Baseline Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Baseline Component #1 | A lamp baseline lamp | 0.28571 | 1.87 | 2.65 | 57.0882 | Source: Baseline incandescent lamp cost assumptions are adapted from 2016 4th Quarter data provided by Lighttracker Inc. The information from Lighttracker is based in part on data reported by IRI through its Advantage service for, and as interpreted solely by, Lighttracker Inc. IRI disclaims liability of any kind arising from the use of this information. The information from Lighttracker is also based in part on data from Nielsen through its Strategic Planner and Homescan Services for the lighting category for the 52-week period ending approximately on December 31, 2016, for the Maryland and U.S. markets and Expanded All Outlets Combined (xAOC) and Total Market Channels. Copyright © 2016, Nielsen. Assumes 5 hours per 100 lamp replacements from "Electrical Costs with RSMeans Data 2017," p.309, and labor costs for a Common Building Laborer assuming a population weighted average of costs for Mid-Atlantic cities presented in "Electrical Costs with RSMeans Data 2017," pp.550-551. Assumes typical rated life of 1,000 hours for new indandescent lamp.
| Baseline Component #2 |  |  |  |  | 0
Efficient Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Efficient Component #1 |  |  |  |  | 0
| Efficient Component #2 |  |  |  |  | 0
Net Present Value O&M
NPV
57.0882
Program | Early Replacement
Inputs |  |  | Notes
RDR
Measure Life (years)
Existing Equipment Life (years)
Remaining Useful Life (years)
Existing Equipment Age (years)
Include First Post-Baseline Shift Component?
Pre-Baseline Shift Baseline Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV |  | Interim Calculations
| Baseline Component #1 |  |  |  |  | 0 |  | Combined replacement components life | 0
| Baseline Component #2 |  |  |  |  | 0 |  | Combined replacement components life | 0
Post-Baseline Shift Baseline Components (if applicable)
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Baseline Component #1 |  |  |  |  | 0
| Baseline Component #2 |  |  |  |  | 0
Efficient Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Efficient Component #1 |  |  |  |  | 0
| Efficient Component #2 |  |  |  |  | 0
Net Present Value O&M
NPV
0

## O&M calc-ES SSL, Candelabra
Calculation of O&M Impacts
Measure Name | ENERGY STAR Integrated Screw Based SSL (LED) Lamp – Commercial
Program | Time of Sale
Inputs |  |  | Notes
RDR | 0.05
Measure Life (years) | 4.2857
Baseline Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Baseline Component #1 | Candelabra baseline lamp | 0.28571 | 1.09 | 2.65 | 47.2367 | Source: Baseline incandescent lamp cost assumptions are adapted from 2016 4th Quarter data provided by Lighttracker Inc. The information from Lighttracker is based in part on data reported by IRI through its Advantage service for, and as interpreted solely by, Lighttracker Inc. IRI disclaims liability of any kind arising from the use of this information. The information from Lighttracker is also based in part on data from Nielsen through its Strategic Planner and Homescan Services for the lighting category for the 52-week period ending approximately on December 31, 2016, for the Maryland and U.S. markets and Expanded All Outlets Combined (xAOC) and Total Market Channels. Copyright © 2016, Nielsen. Assumes 5 hours per 100 lamp replacements from "Electrical Costs with RSMeans Data 2017," p.309, and labor costs for a Common Building Laborer assuming a population weighted average of costs for Mid-Atlantic cities presented in "Electrical Costs with RSMeans Data 2017," pp.550-551. Assumes typical rated life of 1,000 hours for new indandescent lamp.
| Baseline Component #2 |  |  |  |  | 0
Efficient Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Efficient Component #1 |  |  |  |  | 0
| Efficient Component #2 |  |  |  |  | 0
Net Present Value O&M
NPV
47.2367
Program | Early Replacement
Inputs |  |  | Notes
RDR
Measure Life (years)
Existing Equipment Life (years)
Remaining Useful Life (years)
Existing Equipment Age (years)
Include First Post-Baseline Shift Component?
Pre-Baseline Shift Baseline Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV |  | Interim Calculations
| Baseline Component #1 |  |  |  |  | 0 |  | Combined replacement components life | 0
| Baseline Component #2 |  |  |  |  | 0 |  | Combined replacement components life | 0
Post-Baseline Shift Baseline Components (if applicable)
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Baseline Component #1 |  |  |  |  | 0
| Baseline Component #2 |  |  |  |  | 0
Efficient Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Efficient Component #1 |  |  |  |  | 0
| Efficient Component #2 |  |  |  |  | 0
Net Present Value O&M
NPV
0

## O&M calc-LED Ref Case
Calculation of O&M Impacts
Measure Name | LED Refrigerated Case Lighting
Program | Time of Sale
Inputs |  |  | Notes
RDR | 0.05
Measure Life (years) | 8
Baseline Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Baseline Component #1 | Linear fluorescent lamp (per linear foot) | 4.8348 | 1.57 | 1.1778 | 1.478 | Source: Baseline material costs adapted from California Work Paper "SCE13LG098 Revision 4." June 8th, 2016. http://deeresources.net/workpapers. Assumes straight average costs per linear foot of all baseline lamps. Assumes 0.089 hours per lamp replacement from "Electrical Costs with RSMeans Data 2017," p.308, and labor costs for a Common Building Laborer assuming a straight average of costs for Mid-Atlantic cities presented in "Electrical Costs with RSMeans Data 2017," pp.550-551. Assumes typical rated life of 30,000 hours for new linear fluorescent lamp.
| Baseline Component #2 |  |  |  |  | 0
Efficient Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Efficient Component #1 |  |  |  |  | 0
| Efficient Component #2 |  |  |  |  | 0
Net Present Value O&M
NPV
1.478
Program | Early Replacement
Inputs |  |  | Notes
RDR
Measure Life (years)
Existing Equipment Life (years)
Remaining Useful Life (years)
Existing Equipment Age (years)
Include First Post-Baseline Shift Component?
Pre-Baseline Shift Baseline Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV |  | Interim Calculations
| Baseline Component #1 |  |  |  |  | 0 |  | Combined replacement components life | 0
| Baseline Component #2 |  |  |  |  | 0 |  | Combined replacement components life | 0
Post-Baseline Shift Baseline Components (if applicable)
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Baseline Component #1 |  |  |  |  | 0
| Baseline Component #2 |  |  |  |  | 0
Efficient Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Efficient Component #1 |  |  |  |  | 0
| Efficient Component #2 |  |  |  |  | 0
Net Present Value O&M
NPV
0

## M-A Labor Costs
| Base Rate Incl. Fringes | Rate with O & P | Mid-Atlantic Wtd Avg with O & P | Location Factors
Trade | Hourly | Hourly | Hourly | State | ZIP | City | Mat. | Inst. | Total | Population (City)
Common Building Laborer | 39.15 | 60 | 53 | MD | 206 | Waldorf | 96.7 | 84.2 | 91.2 | 67752
Electricians | 56.6 | 84.8 | 74 | MD | 207-208 | College Park | 96.8 | 86 | 92 | 30413
|  |  |  | MD | 209 | Silver Spring | 96 | 85.6 | 91.4 | 71452
Source: Electrical Costs with RSMeans Data 2017 |  |  |  | MD | 210-212 | Baltimore | 100.7 | 85.5 | 94 | 620961
|  |  |  | MD | 214 | Annapolis | 99.2 | 85.6 | 93.2 | 38394
|  |  |  | MD | 215 | Cumberland | 96.3 | 86.6 | 92 | 20859
|  |  |  | MD | 216 | Easton | 98 | 74.2 | 87.5 | 15945
|  |  |  | MD | 217 | Hagerstown | 96.6 | 88.3 | 92.9 | 39662
|  |  |  | MD | 218 | Salisbury | 98.4 | 68.8 | 85.4 | 30343
|  |  |  | MD | 219 | Elkton | 95.2 | 86.8 | 91.5 | 15443
|  |  |  | DE | 197 | Newark | 97.9 | 111.9 | 104.1 | 31454
|  |  |  | DE | 198 | Wilmington | 97 | 112 | 103.6 | 70851
|  |  |  | DE | 199 | Dover | 97.6 | 112.1 | 104 | 36047
|  |  |  | DC | 200-205 | Washington | 100.2 | 86.1 | 94 | 601723
|  |  |  | Pop Wtd AVERAGE |  |  | 99.5186 | 87.5299 | 94.2381
|  |  |  | Source: Electrical Costs with RSMeans Data 2017 | [5 empty] | Source: 2010 Census

## O&M calc - TEMPLATE
Calculation of O&M Impacts
Measure Name | Measure Name
Program | Time of Sale
Inputs |  |  | Notes
RDR
Measure Life (years)
Baseline Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Baseline Component #1 |  |  |  |  | 0
| Baseline Component #2 |  |  |  |  | 0
Efficient Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Efficient Component #1 |  |  |  |  | 0
| Efficient Component #2 |  |  |  |  | 0
Net Present Value O&M
NPV
0
Program | Early Replacement
Inputs |  |  | Notes
RDR
Measure Life (years)
Existing Equipment Life (years)
Remaining Useful Life (years)
Existing Equipment Age (years)
Include First Post-Baseline Shift Component?
Pre-Baseline Shift Baseline Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV | Interim Calculations
| Baseline Component #1 |  |  |  |  | 0 | Combined replacement components life | 0
| Baseline Component #2 |  |  |  |  | 0 | Combined replacement components life | 0
Post-Baseline Shift Baseline Components (if applicable)
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Baseline Component #1 |  |  |  |  | 0
| Baseline Component #2 |  |  |  |  | 0
Efficient Components
|  | Description | Life (years) | Material Cost ($) | Labor Cost ($) | PV
| Efficient Component #1 |  |  |  |  | 0
| Efficient Component #2 |  |  |  |  | 0
Net Present Value O&M
NPV
0

## Calculation Details
O&M CALCULATION DETAILS AND EXAMPLES
Time of Sale Example
RDR | 0.05
MEAS LIFE | 14
COMP LIFE | 10
COMP COST | 100
| YEAR | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
| COST | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -12.3338 | -12.3338 | -12.3338 | -12.3338 | -12.3338 | -12.3338 | -12.3338 | -12.3338 | -12.3338 | -12.3338
| CASHFLOW APPROACH | 1: PMT FORMULA APPROACH
NPV | -45.9217 | 1: -45.9217; 2: NPV (beginning of Year 11) of 4 years beyond component life
NPV | -28.1919 | 1: -28.1919; 2: NPV (beginning of Year 1)
PMT | -12.3338 | 2: PMT for component life and cost
Compiled PMT Method Equation | -28.1919 | 1: Includes error catch for component life exceeding measure life
Early Retirement Example
RDR | 0.05
MEAS LIFE | 12
EXISTING EQUIP LIFE | 12
RUL | 4 | 1: Essentially the "phase one" measure life
EXISTING AGE | 8
Is Initial Component Cost included in Deferred Replacement Credit? | Yes
PRE_COMP LIFE | 5
PRE_COMP COST | 100
Combined PRE_COMP LIFE | 10 | 1: This is the combined life for all component replacements that occur prior to the early replacement
POST_COMP LIFE | 5
POST_COMP COST | 100
Pre-shift calcs | CASHFLOW APPROACH | 1: PMT FORMULA APPROACH
NPV |  | 1: -42.9477; 2: NPV (beginning of Year 3) of number of years in RUL after most recent baseline component replacement
NPV |  | 1: -38.9548; 2: NPV (beginning of Year 1)
PMT |  | 1: -21.9976; 2: PMT for component life and cost
Compiled PMT Method Equation | -38.9548 | 1: -38.9548; 2: Includes error catch for component life exceeding RUL
Post-shift calcs | CASHFLOW APPROACH
NPV |  | 1: -62.9002; 2: NPV (beginning of Year 5) of number of years in measure life after initial component in second baseline measure expires
NPV |  | 1: -40.546; 2: NPV (beginning of Year 1)
PMT |  | 1: -21.9976; 2: PMT for component life and cost
Compiled PMT Method Equation |  | 1: -40.546; 2: Includes error catch for component life exceeding RUL
TOTAL NPV | -79.5008 | 1: -79.5008
| YEAR | [8 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| COST | [8 empty] | 0 | 0 | -21.9976 | -21.9976 | 0 | 0 | 0 | 0 | 0 | -21.9976 | -21.9976 | -21.9976
Conceptual Example
| YEAR | -7 | -6 | -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Pre-Baseline Measure |  | Baseline measure installed | bar: 1 to 4
Pre-Baseline Shift Components |  | Component installed with measure |  |  |  |  | Component replaced upon failure |  |  | 3: Component replaced upon failure
Post-Baseline Shift Measure | [9 empty] | 5: Baseline measure replaced
Post-Baseline Shift Components | [9 empty] | 5: Component installed with measure; 10: Component replaced upon failure
Early Replacement Measure | [9 empty] | 1: Measure Early Replacement
Replacements to Count | bar: 3 to 4; 10 to 12
Note on K65: Matt Socks: The baseline component costs for years 1-2 are omitted as the component was purchased back in year -2, prior to the early replacement.
Note on N65: Matt Socks: Assume that any remaining life of the existing components in the pre-baseline shift case have no value after the end of the existing equipment measure life.
Note on O67: Matt Socks: The component costs for the initial "2nd baseline" component should be captured in the Deferred Replacement Credit.