## README
Anti-Sweat Door Heater Controls
Measure Characterization:
| Efficient Measure Description | Anti-Sweat Door Heater Controls installed on reach-in cooler/freezer doors to turn off door heaters when not necessary to prevent condensation.
| Baseline Description | Reach-in Cooler or Freezer Doors with uncontrolled Anti-Sweat Door Heaters operating continuously.
| Measure Scenario(s) | RET only (This equipment is baseline in new construction per IECC 2015)
| Baseline Efficiency Levels and Specifications | Continuous, Uncontrolled Door Heater Operation
| Measure Level Description | Anti-Sweat Door Heater Controls allow for 'on/off'* operation of heaters installed on refrigerated cooler/freezer doors. Without control these heaters are assumed to operate continuously for 8760 annual hours. Controlling anti-sweat door heaters also reduces building and cooler/freezer cooling load. *Pulse-Width Modulation (rather than on/off operation) may be used by certain controllers to reduce thermal stress on heating elements.
| Measure Efficiency Levels and Specifications | Deemed savings from reduced heater run-time and reduced building and display case cooling load. Based on applicable TRMs, annual runtime is typically reduced to approximately 4,700 hrs for Freezers and 2,270 hrs for Coolers. Depending on control strategy, climate, and setting parameters, runtime may be reduced significantly further. these additional energy savings.
| Sizes | Per Door (Standard Unit), Per Circuit (ME), Per Linear Ft. Case (NGRID MA/RI), Per kWh Saved (Groton Utilities, CT)
| Distinguishing Features | Two control approaches: (1) Door heaters are controlled based on the relative humidity of the air outside of the controlled display case. (2) Door heaters are controlled based on sensors that measure door glass conductivity, and activate heaters when condensation is detected. Incentive Approches: VT (EVT): Must be a humidity based control. [1] NH (PSNH, Unitil, Liberty): No Prescriptive Incentive Offered; Custom only. ME (Efficiency Maine): No Control Approach Specified, Incentive offered per circuit. MA (National Grid Only): No Control Approach Specified RI (National Grid Only): No Control Approach Specified CT (Groton Utilities): No Control Approach Specified, Prescriptive incentive offered at $0.14 per kWh saved MD (BGE): Humidity based control, other strategies may qualify. [2] D.C. (D.C. SEU): Must be Humidity Based [3]
| Installation Scenarios | Typical Building Type: Grocery Store, Convenience Store (1) Central or decentralized control via indoor (exterior of cooler/freezer) relative humidity sensor(s). (2) Heaters controlled by door conductivity sensors.
| Sources | [1] https://www.efficiencyvermont.com/For-My-Business/Ways-To-Save-and-Rebates/Refrigeration-Controls/single-item/index/door-frame-heater-controls
[2] https://www.bgesmartenergy.com/sites/bge/files/BGE_IC_Application_Kitchen_Refrig_Incentives.pdf
[3] https://www.dcseu.com/docs/business/techspec/DCSEU-TECHSPEC-Refrigeration.pdf
NY TRM, Efficiency Maine TRM, Massachusetts TRM
Program data
Interview
Internet search
Incremental Cost Methodology
Incremental cost research on Anti-Sweat Door Heater Controls (ASDHC) was aimed at estimating the total installed cost since the baseline for this measure is uncontrolled door heaters at zero cost.
Qualifying Measure: A qualifying measure is defined as the energy-efficient alternative to the standard, or baseline equipment option. In this case, it is defined as a door heater control installed to turn off refrigerated cooler/freezer door heaters when the surface temperature of the cooler or freezer door is warm enough to prevent condensation when the door is opened.
Baseline: The baseline condition is defined as reach-in cooler or freezer doors with uncontrolled anti-sweat door heaters operating continuously.
Measure Characteristics
Cooler Door Heater Controls - Anti-sweat door heater controls will turn off (or modulate the pulse width* of) the anti-sweat door heaters on a given circuit when the heaters are not required to prevent condensation when the door is opened. The control can be activated either by a conductivity sensor when no condensation is detected, or by a humidity or dewpoint sensor when the dewpoint temperature of the ambient air falls below the door surface temperature.
Freezer Door Heater Controls - Anti-sweat Door Heaters on Freezer doors are typically installed on both the door frame and the mullion to prevent ice or frost from forming on the door gaskets. Since both of these heater circuits need to be controlled by the ASDHC, the control is only able to handle half the number of doors as a cooler controller due to amperage capacity limitations.
*Pulse-Width Modulation may be used by certain controllers as opposed to on/off control to reduce thermal stress on heating elements.
Note: Our research revealed that the only controls using the Pulse Width Modulation (PWM) technology were either larger, multi-channel controllers, or controllers installed as part of a contract price in certain utility territories. The multi-channel controller data points were discarded due to lack of reliable cost data and the inherent inaccuracies of trying to scale those units down to the scale of the other data points. The contract price data points were included after estimating and deducting the estimated marketing, outreach and overhead costs included in that contract price.
Summary of Results Tab
The Summary of Results tab presents the total installed cost for ASDHCs. These costs are presented for seven regions allowing NEEP members to choose the market that best represents their service territory.
The regions represent the results of analyzing RSMeans City Cost Index (CCI) for the NEEP territory. Navigant's analysis of the CCI determined that NEEP's overall service territories could be categorized into six unique regions (seven including a Non-Regional Specific category).
Alternative Data Integration
The following alternative data sources were used to inform the final result of this study:
- Internet-derived equipment costs: Costs for rebate-eligible Anti-Sweat Door Heater Controls gathered through internet searches were marked up by 35% and average labor costs added under the assumption that no end-user would install such equipment themselves. Rather, a contractor / installer would purchase the equipment and apply a standard markup before invoicing the customer. Each price for each model of equipment was given the weight of one data point.
- Installer Interviews: Navigant conducted 3 interviews with knowledgeable installers for the study. Each of the interviews produced one data point, including estimates of equipment cost, labor hours, and average quantity of doors installed per circuit (split between coolers and freezers). Where necessary those labor hours were combined with prevailing state-specific labor rates from RS Means to generate labor cost estimates for other data points that were not broken out into labor and materials.
- Contract pricing: For some or all of the data from the NYC, MD, MA and RI regions, the pricing of ASDHC installations is predetermined by contract between an approved installer and the respective Program Administrator. These data sets were adjusted to account for the assumed portion of the contract price attributable to administration, marketing and outreach needed to fulfill the terms of the contract.
Data Analysis Tab
Raw Data
A total of 212 cost points were collected through contractor interviews, program data extracts and invoices provided by NEEP member Program Administrators.
Formatted Data
Primary cost data was collected from contractors across seven states (NY, CT, MA, RI, NH, VT, MD). Due to the inherent differences in cost from one region to another, Navigant adjusted all material and labor cost points to represent Base Cost Factor (BCF) data using RSMeans City Cost Indexes (CCI). For example, if the cost provided from a contractor in Pennsylvania for an air source heat pump was $5000, than the NRS cost would be:
BCF = Original State Cost ($) / Average Adjustment Factor for Original State
BCF = $5000 / 0.99
BCF = $5050
The same method was used to adjust all labor costs.
Labor Analysis
Navigant conducted contractor interviews to identify average labor rates and hours for controls installation.
Scrubbing of data: Data points were removed for any of the following reasons (also see "Alternative Data Integration," above):
- cost data couldn't be disaggregated from overall invoice cost
- no clear cost data available
- costs were for equipment that was designed for use with three phase power [costs were generally 2 to 3 times higher for these units]
- cost data was for multifunctional controls that include EFC. (see Note, above)
Removal of outliers: Navigant used a standard deviation methodology for determining outliers which is presented in the Material and Labor Cost Analysis section of the Data Analysis tab. The standard deviation was determined using the full scrubbed data set, and data points two standard deviations either side of the arithmetic mean were removed.
Results
Navigant defined the total measure cost on a per controller basis as well as on a per door basis for two installation categories: cooler doors, and freezer doors. To prevent contract prices and internet-derived data from having undue weight in the final result, data from each source group (i.e. each state/region and internet data) was averaged before deriving the final result. Outliers were removed from each source group before averaging. Results are presented as a Base Cost Factor from which regional specific costs are derived using RS Means cost index data. These average costs are presented on the Summary of Results tab.
`

## Summary of Results
Anti Sweat Door Heater Controls
SUMMARY OF RESULTS
Base Cost Factor:
| Unit | Base Cost Factor -BCF ($/Unit) |  | Base Cost Factor -BCF ($/Unit) Outliers removed
| Door Heater Controller | 1266.1145 |  | 1050.5464
| Cooler Door | 126.6114 |  | 130.527
| Freezer Door | 281.3588 |  | 231.15
Regional-Specific Costs
| Unit | Market 1 Northern New England Installed Cost ($/Unit) |  | Market 1 Northern New England Installed Cost ($/Unit) - Outliers removed
| Door Heater Controller | 1170.1008 |  | 970.8799
| Cooler Door | 117.0101 |  | 120.6287
| Freezer Door | 260.0224 |  | 213.6211
| Unit | Market 2 Central/Southern New England Installed Cost ($/Unit) |  | Market 2 Central/Southern New England Installed Cost ($/Unit) - Outliers removed
| Door Heater Controller | 1349.4248 |  | 1119.6723
| Cooler Door | 134.9425 |  | 139.1157
| Freezer Door | 299.8722 |  | 246.3597
| Unit | Market 3 New England City Installed Cost ($/Unit) |  | Market 3 New England City Installed Cost ($/Unit) - Outliers removed
| Door Heater Controller | 1428.8102 |  | 1185.5416
| Cooler Door | 142.881 |  | 147.2997
| Freezer Door | 317.5134 |  | 260.8528
| Unit | Market 4 NY Metro Installed Cost ($/Unit) |  | Market 4 NY Metro Installed Cost ($/Unit) - Outliers removed
| Door Heater Controller | 1587.7075 |  | 1317.3851
| Cooler Door | 158.7708 |  | 163.6809
| Freezer Door | 352.8239 |  | 289.8621
| Unit | Market 5 NY Upstate Installed Cost ($/Unit) |  | Market 5 NY Upstate Installed Cost ($/Unit) - Outliers removed
| Door Heater Controller | 1266.1145 |  | 1050.5464
| Cooler Door | 126.6114 |  | 130.527
| Freezer Door | 281.3588 |  | 231.15
| Unit | Market 6 Mid-Atlantic Installed Cost ($/Unit) |  | Market 6 Mid-Atlantic Installed Cost ($/Unit) - Outliers removed
| Door Heater Controller | 1197.7443 |  | 993.8168
| Cooler Door | 119.7744 |  | 123.4786
| Freezer Door | 266.1654 |  | 218.6679
| Market | Market Code | Regions | Material Adjustment Factor | Labor Adjustment Factor | Average Adjustment Factor
| Northern New England | 1 | ME, VT, NH | 0.987 | 0.84283 | 0.92417
| Central/Southern New England | 2 | MA (exc Boston), RI, most CT | 0.9886 | 1.1674 | 1.0658
| New England City | 3 | Boston, Providence | 1.0165 | 1.2735 | 1.1285
| NY Metro | 4 | NYC, Metro, Suburbs, Southeast CT | 1.0252 | 1.5503 | 1.254
| NY Upstate | 5 | Buffalo, Rochester etc. | 0.98875 | 1.0137 | 1
| Mid-Atlantic | 6 | MD, DE, DC | 0.99725 | 0.8795 | 0.946
| National Average | - | - | 1 | 1 | 1
* Since the baseline cost for this measure is zero, these costs are actually the full installed cost including both materials and labor.
Regional adjustment factors are applied to national average incremental costs. *Since the baseline cost for this measure is zero, these costs are the full installed cost including both materials and labor. Regional adjustment factors were developed using RSMeans Masterformat City Cost Indexes based on weighted average of division category.

## Data Analysis
Raw Data | [27 empty] | Total Installed Cost Analysis | [5 empty] | Labor Cost |  | Regional Adjustment Factors | [5 empty] | Results
Anti-Sweat Door Heater Controls |  |  |  | primary data | [14 empty] | Cooler Average # doors: | 10 |  | outliers removed from the final analysis are highlighted in yellow | [11 empty] | Per Circuit
|  |  |  | derived or adjusted data | [14 empty] | Freezer Average # doors: | 4.5
Assumed Markup
Primary Data | [5 empty] | 35% | [22 empty] | Average Total Installed Cost | [6 empty] | Reference: RSMeans Masterformat City Cost Indexes based on weighted average of division category | [5 empty] | Estimated Total Cost Results, Efficient Measure (Per Circuit)
Region | ID | Source | Make | Model Number | Control Cost | Final Control Cost | Linear Ft Installed | # of Doors | # of Controllers | Labor Rate ($/Hr) | Total Labor Hrs | Total Labor Cost per Cooler Door | Total Labor Cost per Freezer Door | Total Labor Cost per Controller | Total Labor Cost per Controller - Cooler | Total Labor Cost per Controller - Freezer | F/C | kWh Saved | Total Installed Cost | Total Materials Cost | Material Cost Per Door Cooler | Material Cost Per Door Freezer | Material Cost Per Controller | Total Cost per Cooler Door | Total Cost per Freezer Door | Total Installed Cost per Controller | Total Cost per Door |  | per door - Coolers | per door - Freezers | per Controller |  |  | Efficient Measure |  | Region | Market Code | Reference City | Material | Installation | Total |  | Equipment & Materials Cost | Labor Cost | Installed Cost | Average Total Cost Per Door
CT | 1 | Program data |  |  | 626.7968 | 626.7968 | 13 | 4.3 | 1 | 69.7253 | 2.9 |  | 47.024 | 202.2032 |  | 202.2032 | F | 3250 | 829 | 626.7968 |  | 145.7667 | 626.7968 |  | 192.7907 | 829 | 192.7907 |  | 130.1696 | 232.8404 | 1063.4045 |  |  | Labor Rate ($/Hr) | 69.9 | Maine | 1 | Portland | 100.8 | 91.2 | 96.6
CT | 5 | Program data |  |  | 16548.8586 | 16548.8586 | 127.5 | 42.5 | 12 | 69.7253 | 27.3889 |  | 3.7445 | 159.1414 |  | 159.1414 | F | 58996.05 | 16708 | 16548.8586 |  | 389.3849 | 1379.0715 |  | 393.1294 | 1538.213 | 393.1294 |  | Average Total Installed Cost - Outliers removed |  |  |  |  | Regional Labor | 69.9 | Maine | 1 | Rockland | 95 | 86.5 | 91.3 | Controller | 1063.4045 | 202.71 | 1266.1145 | NA
CT | 6 | Program data |  |  | 8345.4885 | 8345.4885 | 65 | 21.7 | 6 | 69.7253 | 13.9844 |  | 7.489 | 162.5115 |  | 162.5115 | F | 29091.09 | 8508 | 8345.4885 |  | 384.5847 | 1390.9148 |  | 392.0737 | 1553.4262 | 392.0737 |  | 130.527 | 231.15 | 1050.5464 |  |  | Labor Time* | 2.9 | New Hampshire | 1 | Manchester | 102.1 | 93.6 | 98.4 | Average Cooler | 1063.4045 | 202.71 | 1266.1145 | 126.6114
CT | 7 | Program data |  |  | 16560.841 | 16560.841 | 118 | 39.3 | 12 | 69.7253 | 25.3267 |  | 3.7445 | 147.159 |  | 147.159 | F | 74299.56 | 16708 | 16560.841 |  | 421.3954 | 1380.0701 |  | 425.1399 | 1527.2291 | 425.1399 | [6 empty] | Labor Cost | 202.71 | New Hampshire | 1 | Claremont | 96 | 70.1 | 84.7 | Average Freezer | 1063.4045 | 202.71 | 1266.1145 | 281.3588
CT | 8 | Program data |  |  | 5601.1979 | 5601.1979 | 36 | 12 | 4 | 69.7253 | 7.7333 |  | 11.2335 | 134.8021 |  | 134.8021 | F | 12852 | 5736 | 5601.1979 |  | 466.7665 | 1400.2995 |  | 478 | 1535.1016 | 478 | [6 empty] | *Labor time is per Circuit and includes commissioning. |  | Vermont | 1 | Burlington | 101.5 | 85.1 | 94.4
CT | 9 | Program data |  |  | 776.3668 | 776.3668 | 10 | 3.3 | 1 | 69.7253 | 2.9 |  | 61.2737 | 202.2032 |  | 202.2032 | F | 4951.51 | 978.57 | 776.3668 |  | 235.2627 | 776.3668 |  | 296.5364 | 978.57 | 296.5364 | Statistical Analysis of Non-Regional Specific Results | [7 empty] | Vermont | 1 | Guildhall | 96.8 | 79.2 | 89.1
CT | 17 | Program data |  |  | 1844.8049 | 1844.8049 | 15 | 5 | 2 | 69.7253 | 3.2222 |  | 22.467 | 112.3351 |  | 112.3351 | F | 10399.05 | 1957.14 | 1844.8049 |  | 368.961 | 922.4024 |  | 391.428 | 1034.7376 | 391.428 | Data Statistics and Ranges |  |  |  | Outlier determination Std. Dev. Method |  |  |  | Massachusetts | 2 | Fall River | 100.2 | 126.8 | 111.8
CT | 18 | Program data |  |  | 12644.1404 | 12644.1404 | 145 | 48.3 | 12 | 69.7253 | 31.1267 |  | 3.7445 | 180.8596 |  | 180.8596 | F | 66221.2 | 12825 | 12644.1404 |  | 261.7834 | 1053.6784 |  | 265.528 | 1234.5379 | 265.528 | Metric | per Controller | [6 empty] | Massachusetts | 2 | Greenfield | 97.8 | 110.2 | 103
CT | 19 | Program data |  |  | 776.3668 | 776.3668 | 10 | 3.3 | 1 | 69.7253 | 2.9 |  | 61.2737 | 202.2032 |  | 202.2032 | F | 5133.99 | 978.57 | 776.3668 |  | 235.2627 | 776.3668 |  | 296.5364 | 978.57 | 296.5364 |  | Material Cost / Controller | Labor Cost / Controller | Total installed Cost / Controller | bounds | points outside bounds |  |  | Massachusetts | 2 | Pittsfield | 99.6 | 109.6 | 103.9
CT | 20 | Program data |  |  | 776.3668 | 776.3668 | 13 | 4.3 | 1 | 69.7253 | 2.9 |  | 47.024 | 202.2032 |  | 202.2032 | F | 4643.39 | 978.57 | 776.3668 |  | 180.5504 | 776.3668 |  | 227.5744 | 978.57 | 227.5744 | Average | 762.8862 | 300.5183 | 1063.4045 | 1567.826 | 13 |  |  | Rhode Island | 2 | Newport | 99 | 116.6 | 106.6
CT | 21 | Program data |  |  | 776.3668 | 776.3668 | 10 | 3.3 | 1 | 69.7253 | 2.9 |  | 61.2737 | 202.2032 |  | 202.2032 | F | 4554.61 | 978.57 | 776.3668 |  | 235.2627 | 776.3668 |  | 296.5364 | 978.57 | 296.5364 | Standard deviation | 272.3868 | 116.6099 | 252.2108 | 558.9829 | 1 |  |  | Connecticut | 2 | New London | 97.7 | 120.5 | 107.6
CT | 22 | Program data |  |  | 776.3668 | 776.3668 | 12 | 4 | 1 | 69.7253 | 2.9 |  | 50.5508 | 202.2032 |  | 202.2032 | F | 12190.46 | 978.57 | 776.3668 |  | 194.0917 | 776.3668 |  | 244.6425 | 978.57 | 244.6425 | Metric | per Cooler | [6 empty] | Massachusetts | 3 | Boston | 101.8 | 138.1 | 117.6
CT | 23 | Program data |  |  | 776.3668 | 776.3668 | 8 | 2.7 | 1 | 69.7253 | 2.9 |  | 74.8901 | 202.2032 |  | 202.2032 | F | 3548.3 | 978.57 | 776.3668 |  | 287.5433 | 776.3668 |  | 362.4333 | 978.57 | 362.4333 |  | Material Cost / Cooler Door | Labor Cost / Cooler Door | Total installed Cost / Cooler Door |  |  |  |  | Rhode Island | 3 | Providence | 101.5 | 116.6 | 108.1
CT | 24 | Program data |  |  | 1270.3184 | 1270.3184 | 23 | 7.7 | 2 | 69.7253 | 2.9 | 13.1301 |  | 101.1016 | 101.1016 |  | C | 2821.27 | 1371.42 | 1270.3184 | 164.9764 |  | 635.1592 | 178.1065 |  | 736.2608 | 178.1065 | Average | 101.1573 | 41.7106 | 142.868 |  |  |  |  | New York | 4 | Brooklyn | 102.6 | 162.9 | 128.9
CT | 25 | Program data |  |  | 483.5068 | 483.5068 | 20 | 6.7 | 1 | 69.7253 | 2.9 | 30.1796 |  | 202.2032 | 202.2032 |  | C | 2850.42 | 685.71 | 483.5068 | 72.1652 |  | 483.5068 | 102.3448 |  | 685.71 | 102.3448 | Standard deviation | 65.5187 | 14.0118 | 74.7714 |  |  |  |  | New York | 4 | New York | 103.8 | 166.4 | 131.1
CT | 26 | Program data |  |  | 1270.3184 | 1270.3184 | 18 | 6 | 2 | 69.7253 | 2.9 | 16.8503 |  | 101.1016 | 101.1016 |  | C | 3780.87 | 1371.42 | 1270.3184 | 211.7197 |  | 635.1592 | 228.57 |  | 736.2608 | 228.57 | Metric | per Freezer | [6 empty] | New York | 4 | Long Island City | 102.2 | 162.9 | 128.6
Average |  |  |  |  | 4365.9045 | 4365.9045 |  |  |  | 69.7252 |  | 20.0533 | 35.0564 | 169.7899 | 134.8022 | 177.8639 |  |  | 4535.6944 | 4365.9045 | 149.6204 | 292.8166 | 910.3287 | 169.6738 | 327.873 | 1080.1186 | 298.2106 |  | Material Cost / Cooler Door | Labor Cost / Cooler Door | Total installed Cost / Cooler Door |  |  |  |  | Connecticut | 4 | Stamford | 101.5 | 127.9 | 113
NYC | 27 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 5073.12 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380 | Average | 180.6737 | 57.5999 | 238.2736 |  |  |  |  | New York | 5 | Albany | 98.6 | 100.2 | 99.3
NYC | 28 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 5073.12 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380 | Standard deviation | 65.5187 | 14.0118 | 41.8807 |  |  |  |  | New York | 5 | Buffalo | 99.7 | 105.8 | 102.4
NYC | 29 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 5073.12 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380 | [8 empty] | New York | 5 | Rochester | 100.3 | 95.6 | 98.3
NYC | 30 | Program data |  |  | 1088.9528 | 1088.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 23379.5 | 1400 | 1088.9528 |  | 217.7906 | 1088.9528 |  | 280 | 1400 | 350 | [8 empty] | New York | 5 | Niagara Falls | 96.9 | 103.9 | 100
NYC | 31 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 4370.688 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380 | [8 empty] | Delaware | 6 | Wilmington | 99.4 | 108.1 | 103.2
NYC | 32 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 4370.688 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380 | [8 empty] | Maryland | 6 | Easton | 97.4 | 69.3 | 85.2
NYC | 33 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 5073.12 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380 | [8 empty] | Maryland | 6 | Baltimore | 100.5 | 82.8 | 92.8
NYC | 34 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 5073.12 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380 | [8 empty] | D.C. | 6 | Washington | 101.6 | 91.6 | 97.2
NYC | 35 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 3171.48 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380 |  | 169.6738 | 316.1042 | 1013.5898 |  |  |  |  | Geographically Normalized Average |  |  | 100 | 100 | 100
NYC | 36 | Program data |  |  | 936.0575 | 936.0575 |  | 4 | 1 | 96.5319 | 2.9 |  | 69.9856 | 279.9425 |  | 279.9425 | F | 4244.904 | 1216 | 936.0575 |  | 234.0144 | 936.0575 |  | 304 | 1216 | 380 |  | 302.9565 | 301.3333 | 1450.4
NYC | 37 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4513.26 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 38 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4513.26 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 39 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 10621.032 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380 | [8 empty] | City Cost Index number is a percentage ratio of a specific city’s cost to the national average cost of the same item at a stated time period.
NYC | 40 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4732.824 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 41 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4244.904 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 42 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4068.033 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 43 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4879.2 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 44 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 6790.176 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380 | [8 empty] | Market | Market Code | Example | Material Adjustment Factor | Labor Adjustment Factor | Total
NYC | 45 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4732.824 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380 | [8 empty] | Northern New England | 1 | ME, VT, NH | 0.987 | 0.84283 | 0.92417
NYC | 46 | Program data |  |  | 632.0575 | 632.0575 |  | 3 | 1 | 96.5319 | 2.9 | 93.3142 |  | 279.9425 | 279.9425 |  | C | 3739.8 | 912 | 632.0575 | 210.6858 |  | 632.0575 | 304 |  | 912 | 380 | [8 empty] | Central/Southern New England | 2 | MA exc Boston, RI, most CT | 0.9886 | 1.1674 | 1.0658
NYC | 47 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 5011.332 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380 | [8 empty] | New England City | 3 | Boston, Providence | 1.0165 | 1.2735 | 1.1285
NYC | 48 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4244.904 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380 | [8 empty] | NY Metro | 4 | NYC, metro suburbs Southwest CT | 1.0252 | 1.5503 | 1.254
NYC | 49 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 6790.176 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380 | [8 empty] | NY Upstate | 5 | Buffalo, Rochester etc. | 0.98875 | 1.0137 | 1
NYC | 50 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4244.904 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380 | [8 empty] | Mid-Atlantic | 6 | MD, DE DC | 0.99725 | 0.8795 | 0.946
NYC | 51 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4244.904 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380 | [8 empty] | Geographically Normalized Average | - | - | 1 | 1 | 1
NYC | 52 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4244.904 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 53 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4244.904 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 54 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4244.904 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 55 | Program data |  |  | 1088.9528 | 1088.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 23379.5 | 1400 | 1088.9528 |  | 217.7906 | 1088.9528 |  | 280 | 1400 | 350
NYC | 56 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 6790.176 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380
NYC | 57 | Program data |  |  | 1544.0575 | 1544.0575 |  | 6 | 1 | 96.5319 | 2.9 | 46.6571 |  | 279.9425 | 279.9425 |  | C | 9365.76 | 1824 | 1544.0575 | 257.3429 |  | 1544.0575 | 304 |  | 1824 | 380
NYC | 58 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 6790.176 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380
NYC | 59 | Program data |  |  | 1544.0575 | 1544.0575 |  | 6 | 1 | 96.5319 | 2.9 | 46.6571 |  | 279.9425 | 279.9425 |  | C | 9365.76 | 1824 | 1544.0575 | 257.3429 |  | 1544.0575 | 304 |  | 1824 | 380
NYC | 60 | Program data |  |  | 1544.0575 | 1544.0575 |  | 6 | 1 | 96.5319 | 2.9 | 46.6571 |  | 279.9425 | 279.9425 |  | C | 5609.7 | 1824 | 1544.0575 | 257.3429 |  | 1544.0575 | 304 |  | 1824 | 380
NYC | 61 | Program data |  |  | 936.0575 | 936.0575 |  | 4 | 1 | 96.5319 | 2.9 | 69.9856 |  | 279.9425 | 279.9425 |  | C | 3537.8508 | 1216 | 936.0575 | 234.0144 |  | 936.0575 | 304 |  | 1216 | 380
NYC | 62 | Program data |  |  | 1088.9528 | 1088.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 12198 | 1400 | 1088.9528 |  | 217.7906 | 1088.9528 |  | 280 | 1400 | 350
NYC | 63 | Program data |  |  | 1120.0575 | 1120.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 26178.6 | 1400 | 1120.0575 | 224.0115 |  | 1120.0575 | 280 |  | 1400 | 350
NYC | 64 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 6790.176 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380
NYC | 65 | Program data |  |  | 560.0575 | 560.0575 |  | 3 | 1 | 96.5319 | 2.9 | 93.3142 |  | 279.9425 | 279.9425 |  | C | 11219.4 | 840 | 560.0575 | 186.6858 |  | 560.0575 | 280 |  | 840 | 350
NYC | 66 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 18002.215 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 67 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4244.904 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 68 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4244.904 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 69 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 6790.176 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380
NYC | 70 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 2990.9496 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 71 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 6790.176 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380
NYC | 72 | Program data |  |  | 1088.9528 | 1088.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 24396 | 1400 | 1088.9528 |  | 217.7906 | 1088.9528 |  | 280 | 1400 | 350
NYC | 73 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 18002.215 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 74 | Program data |  |  | 936.0575 | 936.0575 |  | 4 | 1 | 96.5319 | 2.9 |  | 69.9856 | 279.9425 |  | 279.9425 | F | 3600.443 | 1216 | 936.0575 |  | 234.0144 | 936.0575 |  | 304 | 1216 | 380
NYC | 75 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 3600.443 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 76 | Program data |  |  | 1088.9528 | 1088.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 24396 | 1400 | 1088.9528 |  | 217.7906 | 1088.9528 |  | 280 | 1400 | 350
NYC | 77 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 18002.215 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 78 | Program data |  |  | 328.0575 | 328.0575 |  | 2 | 1 | 96.5319 | 2.9 |  | 139.9713 | 279.9425 |  | 279.9425 | F | 3647.202 | 608 | 328.0575 |  | 164.0287 | 328.0575 |  | 304 | 608 | 380
NYC | 79 | Program data |  |  | 1088.9528 | 1088.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 23379.5 | 1400 | 1088.9528 |  | 217.7906 | 1088.9528 |  | 280 | 1400 | 350
NYC | 80 | Program data |  |  | 936.0575 | 936.0575 |  | 4 | 1 | 96.5319 | 2.9 | 69.9856 |  | 279.9425 | 279.9425 |  | C | 4936.536 | 1216 | 936.0575 | 234.0144 |  | 936.0575 | 304 |  | 1216 | 380
NYC | 81 | Program data |  |  | 936.0575 | 936.0575 |  | 4 | 1 | 96.5319 | 2.9 |  | 69.9856 | 279.9425 |  | 279.9425 | F | 9725.872 | 1216 | 936.0575 |  | 234.0144 | 936.0575 |  | 304 | 1216 | 380
NYC | 82 | Program data |  |  | 840.0575 | 840.0575 |  | 4 | 1 | 96.5319 | 2.9 |  | 69.9856 | 279.9425 |  | 279.9425 | F | 14962.88 | 1120 | 840.0575 |  | 210.0144 | 840.0575 |  | 280 | 1120 | 350
NYC | 83 | Program data |  |  | 936.0575 | 936.0575 |  | 4 | 1 | 96.5319 | 2.9 | 69.9856 |  | 279.9425 | 279.9425 |  | C | 4936.536 | 1216 | 936.0575 | 234.0144 |  | 936.0575 | 304 |  | 1216 | 380
NYC | 84 | Program data |  |  | 936.0575 | 936.0575 |  | 4 | 1 | 96.5319 | 2.9 | 69.9856 |  | 279.9425 | 279.9425 |  | C | 6790.176 | 1216 | 936.0575 | 234.0144 |  | 936.0575 | 304 |  | 1216 | 380
NYC | 85 | Program data |  |  | 1088.9528 | 1088.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 23379.5 | 1400 | 1088.9528 |  | 217.7906 | 1088.9528 |  | 280 | 1400 | 350
NYC | 86 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 5123.16 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 87 | Program data |  |  | 560.0575 | 560.0575 |  | 3 | 1 | 96.5319 | 2.9 |  | 93.3142 | 279.9425 |  | 279.9425 | F | 8416.62 | 840 | 560.0575 |  | 186.6858 | 560.0575 |  | 280 | 840 | 350
NYC | 88 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 5123.16 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 89 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4732.824 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 90 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4879.2 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 91 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 6634.08 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380
NYC | 92 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4244.904 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 93 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4244.904 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 94 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4732.824 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 95 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4879.2 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 96 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4879.2 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 97 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4244.904 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 98 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4732.824 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 99 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 6507.252 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380
NYC | 100 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 6243.84 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380
NYC | 101 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 6243.84 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380
NYC | 102 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4732.824 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 103 | Program data |  |  | 1120.0575 | 1120.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 37398 | 1400 | 1120.0575 | 224.0115 |  | 1120.0575 | 280 |  | 1400 | 350
NYC | 104 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 3903.36 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 105 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 3903.36 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 106 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4244.904 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 107 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 3903.36 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 108 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 3903.36 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 109 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 3903.36 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 110 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4675.9 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 111 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 4550.1984 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380
NYC | 112 | Program data |  |  | 1450.7433 | 1450.7433 |  | 6 | 1 | 96.5319 | 3.8667 |  | 62.2094 | 373.2567 |  | 373.2567 | F | 4675.9 | 1824 | 1450.7433 |  | 241.7906 | 1450.7433 |  | 304 | 1824 | 380
NYC | 113 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4879.2 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 114 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4879.2 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 115 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4879.2 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 116 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4244.904 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 117 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 6507.252 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380
NYC | 118 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 6507.252 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380
NYC | 119 | Program data |  |  | 936.0575 | 936.0575 |  | 4 | 1 | 96.5319 | 2.9 |  | 69.9856 | 279.9425 |  | 279.9425 | F | 2927.52 | 1216 | 936.0575 |  | 234.0144 | 936.0575 |  | 304 | 1216 | 380
NYC | 120 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4879.2 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 121 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4244.904 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 122 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4244.904 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 123 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4244.904 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 124 | Program data |  |  | 1544.0575 | 1544.0575 |  | 6 | 1 | 96.5319 | 2.9 | 46.6571 |  | 279.9425 | 279.9425 |  | C | 6790.176 | 1824 | 1544.0575 | 257.3429 |  | 1544.0575 | 304 |  | 1824 | 380
NYC | 125 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4244.904 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 126 | Program data |  |  | 1544.0575 | 1544.0575 |  | 6 | 1 | 96.5319 | 2.9 | 46.6571 |  | 279.9425 | 279.9425 |  | C | 4682.88 | 1824 | 1544.0575 | 257.3429 |  | 1544.0575 | 304 |  | 1824 | 380
NYC | 127 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 6507.252 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380
NYC | 128 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 6507.252 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380
NYC | 129 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4244.904 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 130 | Program data |  |  | 1544.0575 | 1544.0575 |  | 6 | 1 | 96.5319 | 2.9 | 46.6571 |  | 279.9425 | 279.9425 |  | C | 6790.176 | 1824 | 1544.0575 | 257.3429 |  | 1544.0575 | 304 |  | 1824 | 380
NYC | 131 | Program data |  |  | 1450.7433 | 1450.7433 |  | 6 | 1 | 96.5319 | 3.8667 |  | 62.2094 | 373.2567 |  | 373.2567 | F | 16101.36 | 1824 | 1450.7433 |  | 241.7906 | 1450.7433 |  | 304 | 1824 | 380
NYC | 132 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4244.904 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 133 | Program data |  |  | 936.0575 | 936.0575 |  | 4 | 1 | 96.5319 | 2.9 | 69.9856 |  | 279.9425 | 279.9425 |  | C | 3121.92 | 1216 | 936.0575 | 234.0144 |  | 936.0575 | 304 |  | 1216 | 380
NYC | 134 | Program data |  |  | 936.0575 | 936.0575 |  | 4 | 1 | 96.5319 | 2.9 |  | 69.9856 | 279.9425 |  | 279.9425 | F | 2927.52 | 1216 | 936.0575 |  | 234.0144 | 936.0575 |  | 304 | 1216 | 380
NYC | 135 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4244.904 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 136 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 3903.36 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 137 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 3739.8 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380
NYC | 138 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 3739.8 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380
NYC | 139 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 3902.4 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380
NYC | 140 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 13417.8 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 141 | Program data |  |  | 1544.0575 | 1544.0575 |  | 6 | 1 | 96.5319 | 2.9 | 46.6571 |  | 279.9425 | 279.9425 |  | C | 6790.176 | 1824 | 1544.0575 | 257.3429 |  | 1544.0575 | 304 |  | 1824 | 380
NYC | 142 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 3273.13 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 143 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 5235.72 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380
NYC | 144 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 3273.13 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 145 | Program data |  |  | 936.0575 | 936.0575 |  | 4 | 1 | 96.5319 | 2.9 | 69.9856 |  | 279.9425 | 279.9425 |  | C | 6507.252 | 1216 | 936.0575 | 234.0144 |  | 936.0575 | 304 |  | 1216 | 380
NYC | 146 | Program data |  |  | 936.0575 | 936.0575 |  | 4 | 1 | 96.5319 | 2.9 | 69.9856 |  | 279.9425 | 279.9425 |  | C | 6507.252 | 1216 | 936.0575 | 234.0144 |  | 936.0575 | 304 |  | 1216 | 380
NYC | 147 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 3739.8 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380
NYC | 148 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4244.904 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 149 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4244.904 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 150 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 5235.72 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380
NYC | 151 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 4682.88 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380
NYC | 152 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 8585.28 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380
NYC | 153 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 7804.8 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380
NYC | 154 | Program data |  |  | 1544.0575 | 1544.0575 |  | 6 | 1 | 96.5319 | 2.9 | 46.6571 |  | 279.9425 | 279.9425 |  | C | 6790.176 | 1824 | 1544.0575 | 257.3429 |  | 1544.0575 | 304 |  | 1824 | 380
NYC | 155 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 3739.8 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380
NYC | 156 | Program data |  |  | 1544.0575 | 1544.0575 |  | 6 | 1 | 96.5319 | 2.9 | 46.6571 |  | 279.9425 | 279.9425 |  | C | 4487.76 | 1824 | 1544.0575 | 257.3429 |  | 1544.0575 | 304 |  | 1824 | 380
NYC | 157 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4879.2 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 158 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 6243.84 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380
NYC | 159 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 6243.84 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380
NYC | 160 | Program data |  |  | 936.0575 | 936.0575 |  | 4 | 1 | 96.5319 | 2.9 | 69.9856 |  | 279.9425 | 279.9425 |  | C | 4682.88 | 1216 | 936.0575 | 234.0144 |  | 936.0575 | 304 |  | 1216 | 380
NYC | 161 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 6243.84 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380
NYC | 162 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 6243.84 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380
NYC | 163 | Program data |  |  | 936.0575 | 936.0575 |  | 4 | 1 | 96.5319 | 2.9 | 69.9856 |  | 279.9425 | 279.9425 |  | C | 6399.936 | 1216 | 936.0575 | 234.0144 |  | 936.0575 | 304 |  | 1216 | 380
NYC | 164 | Program data |  |  | 936.0575 | 936.0575 |  | 4 | 1 | 96.5319 | 2.9 | 69.9856 |  | 279.9425 | 279.9425 |  | C | 7804.8 | 1216 | 936.0575 | 234.0144 |  | 936.0575 | 304 |  | 1216 | 380
NYC | 165 | Program data |  |  | 164.0575 | 164.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 1268.28 | 444 | 164.0575 | 32.8115 |  | 164.0575 | 88.8 |  | 444 | 111
NYC | 166 | Program data |  |  | 1544.0575 | 1544.0575 |  | 6 | 1 | 96.5319 | 2.9 | 46.6571 |  | 279.9425 | 279.9425 |  | C | 7804.8 | 1824 | 1544.0575 | 257.3429 |  | 1544.0575 | 304 |  | 1824 | 380
NYC | 167 | Program data |  |  | 936.0575 | 936.0575 |  | 4 | 1 | 96.5319 | 2.9 | 69.9856 |  | 279.9425 | 279.9425 |  | C | 7804.8 | 1216 | 936.0575 | 234.0144 |  | 936.0575 | 304 |  | 1216 | 380
NYC | 168 | Program data |  |  | 936.0575 | 936.0575 |  | 4 | 1 | 96.5319 | 2.9 |  | 69.9856 | 279.9425 |  | 279.9425 | F | 4879.2 | 1216 | 936.0575 |  | 234.0144 | 936.0575 |  | 304 | 1216 | 380
NYC | 169 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4147.32 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 170 | Program data |  |  | 936.0575 | 936.0575 |  | 4 | 1 | 96.5319 | 2.9 | 69.9856 |  | 279.9425 | 279.9425 |  | C | 4861.74 | 1216 | 936.0575 | 234.0144 |  | 936.0575 | 304 |  | 1216 | 380
NYC | 171 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 5983.68 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380
NYC | 172 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 5983.68 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380
NYC | 173 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 6507.252 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380
NYC | 174 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 6507.252 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380
NYC | 175 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 6243.84 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380
NYC | 176 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 6243.84 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380
NYC | 177 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 6243.84 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380
NYC | 178 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4879.2 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 179 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4879.2 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 180 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 6243.84 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380
NYC | 181 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 7804.8 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380
NYC | 182 | Program data |  |  | 1544.0575 | 1544.0575 |  | 6 | 1 | 96.5319 | 2.9 | 46.6571 |  | 279.9425 | 279.9425 |  | C | 6790.176 | 1824 | 1544.0575 | 257.3429 |  | 1544.0575 | 304 |  | 1824 | 380
NYC | 183 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 6574.722 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 184 | Program data |  |  | 936.0575 | 936.0575 |  | 4 | 1 | 96.5319 | 2.9 | 69.9856 |  | 279.9425 | 279.9425 |  | C | 6634.08 | 1216 | 936.0575 | 234.0144 |  | 936.0575 | 304 |  | 1216 | 380
NYC | 185 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 6243.84 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380
NYC | 186 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4879.2 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 187 | Program data |  |  | 1208.9528 | 1208.9528 |  | 5 | 1 | 96.5319 | 3.2222 |  | 62.2094 | 311.0472 |  | 311.0472 | F | 4879.2 | 1520 | 1208.9528 |  | 241.7906 | 1208.9528 |  | 304 | 1520 | 380
NYC | 188 | Program data |  |  | 936.0575 | 936.0575 |  | 4 | 1 | 96.5319 | 2.9 | 69.9856 |  | 279.9425 | 279.9425 |  | C | 6399.936 | 1216 | 936.0575 | 234.0144 |  | 936.0575 | 304 |  | 1216 | 380
NYC | 189 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 6790.176 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380
NYC | 190 | Program data |  |  | 1240.0575 | 1240.0575 |  | 5 | 1 | 96.5319 | 2.9 | 55.9885 |  | 279.9425 | 279.9425 |  | C | 5697.504 | 1520 | 1240.0575 | 248.0115 |  | 1240.0575 | 304 |  | 1520 | 380
Average |  |  |  |  | 1179.1418 | 1179.1418 |  |  |  | 96.5319 |  | 58.0622 | 62.2094 | 294.7362 | 279.9425 | 311.0472 |  |  | 1473.878 | 1179.1418 | 242.3922 | 237.2207 | 1179.1418 | 300.4543 | 301.3976 | 1473.878 | 376.1646
VT | 191 | Interview |  |  | 902.0082 | 902.0082 |  | 4.5 | 1 | 71.997 | 2.75 |  | 43.9982 | 197.9918 |  | 197.9918 | F |  | 1100 | 902.0082 |  | 200.4463 | 902.0082 |  | 244.4444 | 1100 | 244.4444
VT | 192 | Interview |  |  | 902.0082 | 902.0082 |  | 10 | 1 | 71.997 | 2.75 | 19.7992 |  | 197.9918 | 197.9918 |  | C |  | 1100 | 902.0082 | 90.2008 |  | 902.0082 | 110 |  | 1100 | 110
Average |  |  |  |  | 902.0082 | 902.0082 |  |  |  | 71.997 | 2.75 | 19.7992 | 43.9982 | 197.9918 | 197.9918 | 197.9918 |  |  |  | 902.0082 | 90.2008 | 200.4463 | 902.0082 | 110 | 244.4444 | 1100 | 177.2222
MA | 195 | Interview |  |  | 584 | 584 |  | 4.5 | 1 |  |  | 88.8889 |  | 400 | 400 |  | F |  | 984 | 584 |  | 129.7778 | 584 |  | 129.7778 | 984 | 218.6667
MA | 196 | Interview |  |  | 584 | 584 |  | 10 | 1 |  |  |  | 40 | 400 |  | 400 | C |  | 984 | 584 | 58.4 |  | 584 | 58.4 |  | 984 | 98.4
Average |  |  |  |  | 584 | 584 | [5 empty] | 88.8889 | 40 | 400 | 400 | 400 |  |  |  | 584 | 58.4 | 129.7778 | 584 | 58.4 | 129.7778 | 984 | 158.5333
MD | 198 | Program data | Greenwize |  | 748.57 | 748.57 |  | 10 | 1 | 50 | 10 | 50 |  | 500 | 500 |  | C |  | 1248.57 | 748.57 | 74.857 |  | 748.57 | 124.857 |  | 1248.57 | 124.857
MD | 199 | Program data |  |  | 593.6 | 593.6 |  | 10 | 1 | 72 | 7 | 50.4 |  | 504 | 504 |  | C |  | 1097.6 | 593.6 | 59.36 |  | 593.6 | 109.76 |  | 1097.6 | 109.76
MD | 200 | Program data |  |  | 556 | 556 |  | 10 | 1 | 72 | 5.5 | 39.6 |  | 396 | 396 |  | C |  | 952 | 556 | 55.6 |  | 556 | 95.2 |  | 952 | 95.2
MD | 201 | Program data |  |  | 556 | 556 |  | 10 | 1 | 72 | 5.5 | 39.6 |  | 396 | 396 |  | C |  | 952 | 556 | 55.6 |  | 556 | 95.2 |  | 952 | 95.2
MD | 202 | Program data |  |  | 556 | 556 |  | 4.5 | 1 | 72 | 5.5 |  | 88 | 396 |  | 396 | F |  | 952 | 556 |  | 123.5556 | 556 |  | 211.5556 | 952 | 211.5556
Average |  |  |  |  | 602.034 | 602.034 |  |  |  | 67.6 |  | 44.9 | 88 | 438.4 | 449 | 396 |  |  |  | 602.034 | 61.3543 | 123.5556 | 602.034 | 106.2542 | 211.5556 | 1040.434 | 127.3145
RI | 203 | Interview |  |  | 584 | 584 |  | 10 | 1 |  |  | 40 |  | 400 | 400 |  | C |  | 984 | 584 | 58.4 |  | 584 | 98.4 |  | 984 | 98.4
RI | 204 | Interview |  |  | 584 | 584 |  | 4.5 | 1 |  |  |  | 88.8889 | 400 |  | 400 | F |  | 984 | 584 |  | 129.7778 | 584 |  | 218.6667 | 984 | 218.6667
Average |  |  |  |  | 584 | 584 | [5 empty] | 40 | 88.8889 | 400 | 400 | 400 |  |  |  | 584 | 58.4 | 129.7778 | 584 | 98.4 | 218.6667 | 984 | 158.5333
Web | 205 | Internet search | Masterbilt | 19-14106 | 499.95 | 674.9325 |  | 10 | 1 | 69.9 | 2.9 | 20.271 |  | 202.71 | 202.71 |  | C |  | 674.9325 | 472.2225 | 47.2222 |  | 472.2225 | 67.4932 |  | 674.9325 | 67.4933
Web | 206 | Internet search | Masterbilt | 19-14107 | 499.95 | 674.9325 |  | 4.5 | 1 | 69.9 | 2.9 |  | 45.0467 | 202.71 |  | 202.71 | F |  | 877.6425 | 674.9325 |  | 149.985 | 674.9325 |  | 195.0317 | 877.6425 | 195.0317
Web | 207 | Internet search | Anti-Sweat Heater Refrigerated Display Case Controller | AS-20z | 523 | 706.05 |  | 10 | 1 | 69.9 | 2.9 | 20.271 |  | 202.71 | 202.71 |  | C |  | 706.05 | 503.34 | 50.334 |  | 503.34 | 70.605 |  | 706.05 | 70.605
Web | 208 | Internet search | Anti-Sweat Heater Refrigerated Display Case Controller | AS-20z | 523 | 706.05 |  | 4.5 | 1 | 69.9 | 2.9 |  | 45.0467 | 202.71 |  | 202.71 | F |  | 908.76 | 706.05 |  | 156.9 | 706.05 |  | 201.9467 | 908.76 | 201.9467
Web | 209 | Internet search | Door Miser | DVDT | 544 | 734.4 |  | 10 | 1 | 69.9 | 2.9 | 20.271 |  | 202.71 | 202.71 |  | C |  | 734.4 | 531.69 | 53.169 |  | 531.69 | 73.44 |  | 734.4 | 73.44
Web | 210 | Internet search | Door Miser | DVDT | 544 | 734.4 |  | 4.5 | 1 | 69.9 | 2.9 |  | 45.0467 | 202.71 |  | 202.71 | F |  | 937.11 | 734.4 |  | 163.2 | 734.4 |  | 208.2467 | 937.11 | 208.2467
Web | 211 | Internet search | Door Miser | DVDT | 448 | 604.8 |  | 10 | 1 | 69.9 | 2.9 | 20.271 |  | 202.71 | 202.71 |  | C |  | 604.8 | 402.09 | 40.209 |  | 402.09 | 60.48 |  | 604.8 | 60.48
Web | 212 | Internet search | Door Miser | DVDT | 448 | 604.8 |  | 4.5 | 1 | 69.9 | 2.9 |  | 45.0467 | 202.71 |  | 202.71 | F |  | 807.51 | 604.8 |  | 134.4 | 604.8 |  | 179.4467 | 807.51 | 179.4467
AVERAGES |  |  |  |  | 503.7375 | 680.0456 |  |  |  | 69.9 | 2.9 | 20.271 | 45.0467 | 202.71 | 202.71 | 202.71 |  |  | 781.4006 | 578.6906 | 47.7336 | 151.1212 | 578.6906 | 68.0046 | 196.1679 | 781.4006 | 132.0862
|  |  |  | Removed Data | [7 empty] | Removed Data | [5 empty] | Removed Data | [5 empty] | Removed Data |  |  |  | Reason Removed
CT | 2 | Program data |  |  |  |  | 15 | 5 |  | 69.7253 | 3.2222 |  |  |  |  | 224.6703 | F | 10876.78 | 80 | -144.6703 |  | -28.9341 |  |  |  |  | 16 | no cost data
CT | 3 | Program data |  |  |  |  | 13 | 4.3 |  | 69.7253 | 2.9 |  |  |  |  | 202.2032 | F | 9273 | 80 | -122.2032 |  | -28.4194 |  |  |  |  | 18.6047 | no cost data
CT | 4 | Program data |  |  |  |  | 15 | 5 |  | 69.7253 | 3.2222 |  |  |  |  | 224.6703 | F | 7428.55 | 80 | -144.6703 |  | -28.9341 |  |  |  |  | 16 | no cost data
CT | 10 | Program data |  |  |  |  | 12 | 4 |  | 69.7253 | 2.9 |  |  |  |  | 202.2032 | F | 8660.8 | 80 | -122.2032 |  | -30.5508 |  |  |  |  | 20 | no cost data
CT | 11 | Program data |  |  |  |  | 12 | 4 |  | 69.7253 | 2.9 |  |  |  |  | 202.2032 | F | 8710.2 | 80 | -122.2032 |  | -30.5508 |  |  |  |  | 20 | no cost data
CT | 12 | Program data |  |  |  |  | 12 | 4 |  | 69.7253 | 2.9 |  |  |  |  | 202.2032 | F | 8741 | 80 | -122.2032 |  | -30.5508 |  |  |  |  | 20 | no cost data
CT | 13 | Program data |  |  |  |  | 12 | 4 |  | 69.7253 | 2.9 |  |  |  |  | 202.2032 | F | 8700.7 | 80 | -122.2032 |  | -30.5508 |  |  |  |  | 20 | no cost data
CT | 14 | Program data |  |  |  |  | 12 | 4 |  | 69.7253 | 2.9 |  |  |  |  | 202.2032 | F | 8490.3 | 80 | -122.2032 |  | -30.5508 |  |  |  |  | 20 | no cost data
CT | 15 | Program data |  |  |  |  | 12 | 4 |  | 69.7253 | 2.9 |  |  |  |  | 202.2032 | F | 8079.3 | 80 | -122.2032 |  | -30.5508 |  |  |  |  | 20 | no cost data
CT | 16 | Program data |  |  |  |  | 12 | 4 |  | 69.7253 | 2.9 |  |  |  |  | 202.2032 | F | 8633.7 | 80 | -122.2032 |  | -30.5508 |  |  |  |  | 20 | no cost data
VT | 189 | Interview |  |  | 70 | 94.5 |  | 4.5 |  | 71.997 | 2.25 |  |  |  |  | 161.9933 | F |  | 256.4933 | 94.5 |  | 21 |  |  |  |  | 56.9985 | duplicate
VT | 190 | Interview |  |  | 70 | 94.5 |  | 10 |  | 71.997 | 2.25 |  |  |  |  | 161.9933 | C |  | 256.4933 | 94.5 |  | 9.45 |  |  |  |  | 25.6493 | duplicate
NH | 193 | Interview |  |  | 70 | 94.5 |  | 4.5 |  | 82.8315 | 2.25 |  |  |  |  | 186.3709 | F |  | 280.8709 | 94.5 |  | 21 |  |  |  |  | 62.4158 | duplicate
NH | 194 | Interview |  |  | 70 | 94.5 |  | 10 |  | 82.8315 | 2.25 |  |  |  |  | 186.3709 | C |  | 280.8709 | 94.5 | 9.45 | [5 empty] | 28.0871 | duplicate
MD | 197 | Program data | Danfoss | AK-255 |  | 3109.81 |  | 18 | 4 | 53.159 | 13.5046 |  | 39.8828 |  |  | 717.8906 | F |  | 3827.7006 | 3109.81 |  | 172.7672 | 777.4525 | 0 | 212.65 | 1495.3431 | 212.65 | multifunctional control
Web | 213 | Internet search | CPC | PMAC II |  | N/A | [10 empty] | C | [10 empty] | multifunctional control, no cost data
Web | 214 | Internet search | CPC | PMAC II |  | N/A | [10 empty] | F | [10 empty] | multifunctional control, no cost data
Web | 215 | Internet search | TAC | Com-Trol MCS-4000/4500 |  | N/A | [10 empty] | C | [10 empty] | multifunctional control, no cost data
Web | 216 | Internet search | TAC | Com-Trol MCS-4000/4501 |  | N/A | [10 empty] | F | [10 empty] | multifunctional control, no cost data
Note on I6: DPurcell: Based on 3LF/Door
Note on K6: DPurcell: RS Means Adjusted by State
Note on AL7: DPurcell: RS Means, Commercial Rate, Open Shop, Q1 2014 (Most Recent)
Note on A8: Keith Levenson: Outlier - removed from final analysis
Note on AL8: DPurcell: RS Means, Commercial Rate, Open Shop, Q1 2014 (Most Recent). Average of region RS Means rates.
Note on A9: Keith Levenson: Outlier - removed from final analysis
Note on AL9: DPurcell: Based on Contractor Interviews
Note on A54: Keith Levenson: Outlier - removed from final analysis
Note on A56: Keith Levenson: Outlier - removed from final analysis
Note on A57: Keith Levenson: Outlier - removed from final analysis
Note on A109: Keith Levenson: Outlier - removed from final analysis
Note on A121: Keith Levenson: Outlier - removed from final analysis
Note on A123: Keith Levenson: Outlier - removed from final analysis
Note on A127: Keith Levenson: Outlier - removed from final analysis
Note on A128: Keith Levenson: Outlier - removed from final analysis
Note on A138: Keith Levenson: Outlier - removed from final analysis
Note on A151: Keith Levenson: Outlier - removed from final analysis
Note on A153: Keith Levenson: Outlier - removed from final analysis
Note on A162: Keith Levenson: Outlier - removed from final analysis
Note on A163: Keith Levenson: Outlier - removed from final analysis
Note on A179: Keith Levenson: Outlier - removed from final analysis
Note on F195: Keith Levenson: Prog data says this cost includes "Anti-Sweat heat Control ... and Heater, so subtracted $80
Note on G195: Keith Levenson: Prog data says this cost includes "Anti-Sweat heat Control ... and Heater, so subtracted $80
Note on G230: Keith Levenson: The AK-SC255 has capability to control HVAC, Lighting as well as refrigeration, so this cost will need to be greatly reduced
Note on I230: Keith Levenson: estimate 8 circuits controlled with an average of 4.5 doors per.
Note on Q230: Keith Levenson: The AK-SC255 has capability to control HVAC, Lighting as well as refrigeration, so this cost is divided by 4, and divided by 4 again assuming there are 4 circuits being controlled.