## Sheet1
Question | Bill Koran | Jeremy Eddy | Pasi Miettenin | Eliot Crowe | Carmen Best | Tarik Borogovac
Individualized questions |  | Q: What was Jeremy's concern about the ability of advanced M&V to provide real time feedback? A: It's a couple of things. One is that after you've installed an energy efficiency measure, you may need some time to accumulate before you can observe any savings in the metered consumption signal. The basic structure of NMEC methods is to compare consumption patterns after an energy efficiency intervention with the pattern before the intervention. If you replace an AC unit with a more efficient AC unit and it's wintertime, you probably won't see any change in consumption pattern at all until summer. That's an extreme example, but the point is that some EE measures are weather-sensitive, and therefore the amount of energy they save depends on outdoor conditions. In these instances, you may need to wait for 3-, 6-, or 12 months before you can get a reasonably accurate reading of the change in energy consumption due to the energy efficiency measure. Meanwhile, it's important to remember potential issues of signal-to-noise ratio: If the participant has an occupancy change, other behavior change, or other equipment change unrelated to the energy efficiency project then it confounds the savings signal. At the end of the day, I think we will see various ideas and guidance emerge about how to detect and account for non-routine events that otherwise muddy the energy savings signal. We will also see an expectation become established that energy savings calculations soon after installing weather-sensitive measures are fully expected to be inaccurate, but that they will become increasingly accurate as more time accumulates post-intervention. If program implementers are being paid on a pay-for-performance basis as savings accumulate post-intervention, then clear protocols and guidelines need to be established based on that understanding that accuracy will improve as time accumulates post-intervention. I also brought up various other concerns such as AMI data access and data quality that can hinder this kind of effort, but i won't go into them again here. | Q: Pasi: How willing are utilities, in your experience, to react and potentially "kill" programs that are not working based on your analysis? Any insights there? A: Sagewell's utility customers have been very willing to change or end programs that do not produce good outcomes. However, these customers may not be representative of the industry because these utilities have fewer regulatory restrictions or they value innovation (which implies the acceptance of risk and frequent program failures). Our typical utility customers have a lot of flexibility to make changes to programs at any time- and we have seen about 70% of the client utility programs ended or significantly changed in the past couple of years. This simply reflects that many (most?) energy efficiency and peak load reduction programs don't deliver the anticipated results when one looks at the outcomes in the AMI meter data - especially in programs initially justified based on Deemed Savings estimates. (There are many reasons for this that are too long for this post.) The AMI meter data analysis can quickly tell if a program is generating significant results (either energy and peak savings, or the desired beneficial electrification outcomes.) There is no need to wait for months or years for program evaluation teams to set up monitoring and publish results when the M&V teams can look at the "live" meter data and draw their conclusions. There is one notable characteristic among these utilities - these utility program managers are generally allowed to consider the RELATIVE benefits and tradeoffs between programs and they don't have mandates to do all programs that are deemed "cost effective." This allows those utilities to invest in programs that produce the best outcomes and they do not invest into programs that might still technically meet a cost-benefit threshold, but not produce as good results as other programs. | Q: Question for Eliot Crowe: are folks at LBNL open to pull requests from their github repository? any conditions / constraints for collaboration there? A: Our ability to collaborate is limited by budget right now, but if you have specific ideas please reach out and let's see what we can do Q: What other data streams are you bringing into your models? Anything from smart devices? A: Aside from ambient temperature the LBNL RM&V tool can accept binary inputs for holiday/vacation periods | Q: Carmen, is Open EE just residential or commercial too? A: Currently the OpenEEMeter is capable of analyzing all building types. The current update to CalTRACK is looking at developing guidance for determining the suitability of weather-normalized energy savings models to larger and more complex buildings. CalTRACK.org has more information about the scope of this update. OpenEE is working with clients in both the residential and non-residential space right now as well. Q: What other data streams are you bringing into your models? Anything from smart devices? A: The current use cases are pulling in project level data, like measures, and installation details. Smart meter devices could also be providing data. The tool is infinitely adaptable to a wide range of data inputs. These may include customer demographic data, information about the vintage of systems replaced (will photo documentation), other information about built environment (that can be collected in an audit). The models are simple at their core, but their outputs are integrated with a wide variety of metadata (think HP-XML data, smart device data, etc). | Q: Tarik, page before last, what were the changes you detected in Nov before retrofit? How do you know there are not other building changes occuring during retrofit? A: We never engaged with building owners/managers of that building. It was a retrospective study for the utility, and done well after those events. The utility did not share with us if they followed up. But it looked like an occupancy change, e.g. less activity in the building during the day. As to the second question, there are limits to the analytics, and I will answer generally. If two changes occur simultaneously (or within a short time of each other) a change detection algorithm will see a single change. In some cases that is fine. For example, multiple EEMs can be evaluated together. Also, multiple non-EEM changes co-ocurring can also be understood together, as a single unexpected change. The problem is, of course, if we are verifying a known EEM or set of EEMs at a date, and need to make sure something else has not happened at the same point in time that will ruin the estimate. In that case, this is the playbook that I would recommend: (1) EEMs have a savings estimate and an approximate implementation date. If those coincide roughly with what the analytics are saying, call it a day. (2) If either are way off, then try a conversation with the building owner/implementer, timely if possible, with intel about what the change looks like. That is a major reason why we are recommending M&V2.0 to be a continuous scalable and automated service, with analytics to handle the detection, plus a built in means of communicating the intel the customer, and getting their feedback on it. (3) As a last resort, one can think about "picking out" the separate simultaneous events from data. We have seen examples in which one might hope to do that that, but can also think of cases by which it would be impossible to do.
Can you expand more on the randomized-controlled trial design? |  | (probably not meant for me, but I did mention RCT, so if the question was meant for me): I mentioned this verbally when speaking to my last slide, on "no-regrets" items that I believe various NMEC stakeholders and interested parties can agree on. What I meant is that opportunities for RCT should be pursued when and where possible as a means of testing the accuracy of, and calibrating, NMEC tools and methods. As everyone always says, RCT is the "gold standard" when it comes to measuring a treatment effect. Often RCT is not possible in the energy efficiency impact analysis environment since you can't typically randomly assign program participation. Occasionally it's possible, such as in a pilot environment or new program environment for something like Home Energy Reports; the PA/implementer, perhaps with input from the evaluator, can randomly assign who receives the reports and compare energy usage between treatment and control. | Sagewell, Inc. (www.sagewell.com) |  |  | Not sure if this question is for me, as I had mentioned a study, but I will answer in the assumption that it was. We are hoping to publish the result in the near future, so I can't share details. But it is not a randomized control trial, rather it is a quasi-randomized trial, as we matched users with non-users who had similar energy use in terms of amount and patterns (prior to roll-out of platform). Of course, it is made possible by application of several of our analytics capabilities in this area, such as fitting baselines for all buildings at scale.
Hello! Could you please make sure the speakers also describe what their tools are in addition to the benefits, etc.? For example, what is the input data? Is the input looking at end-use or whole building energy use? Is this a tool a utility or business can download or is it a vlaue-added analysis from the company with just a report to the utility? etc. | Regarding ECAM: Please see http://www.sbwconsulting.com/ecam/ for information beyond this. In particular, at that site there is a very short 12-minute video that demonstrates how easy it can be. Input data can be anything you wish to analyze, or wish to model. It will always be a time-series of one or more measures (at least 2, one independent and one dependent, if you wish to make a model), but there is no requirement for what the data is. Most typically the measures will be outside air temperature and energy use or demand. They can be at any time interval from sub-hourly to monthly. ECAM can be used for end-use or whole building energy use; I have used it for everything from a single RTU, a chilled water plant, a single commercial building of any size, groups of a large number of homes, and for the electricity use of the whole campus of Walter Reed National Military Medical Center. ECAM is free to download and use from the link provided. Contact me for a newer version than is available at the link. |  | Sagewell SageSight (https://www.sagewell.com/sagesight.html) is a SAAS software solution that uses AMI interval meter data as inputs and combines each meter with extensive meta data, such as building characteristics, utility program data, weather data, etc.) The system combines a high-performance meter data management system, a "data lake" and a sophisticated analytics front end that allows business users (and not just statisticians) to analyze meter data. The analysis is performed at a single meter or using groups of meters. The primary users are utility employees and utility partners such as M&V firms. System access can be provided to individual retail customers as well. | Hopefully this page will answer most of those questions for LBNL's M&V tool: https://github.com/LBNL-ETA/RMV2.0. Free for anyone to use. Focused on baseline modeling and M&V. Intended as a whole building tool, but no reason you can't put end use data into the tool - if there's a weather correlation you should get a good model | OpenEEMeter runs on basic hourly, daily or monthly energy consumption data for a period of 12 months before and after an intervention. The output is looking at the whole building energy use. It is a tool that the utility or business can download (or run online) OR purchase in an enterprise version which includes end to end support for data management (upfront) and a user interface for portfolio management telemetry. The project management platform is available as part of the enterprise software system. We provide support for interpreting outputs and understanding use cases for both utility clients as well as program implementers and energy services providers. | For the things I described in the presentation, we only use the following data: (1) meters (interval for the work I presented) (2) localization and weather (nearby weather stations plus some satellite-based). (3) Events (known measures or engagement events).
In my experience (hourly meter data automated site level commercial program evaluation for regulatory compliance), automated methods provide a good screening process as a starting point. Several hundred results provide a solid savings estimate, and several dozen result in questionable results. Then specific sites flagged in the screening process can be sampled for further investigation as needed. Could the panel comment on whether they think the ideal is to never need to drill down and talk to individual sites, or whether they see their tool as part of a process that could point to targeted evaluation dollars by 'finding' complex sites that legitimately require more attention. | Most models of commercial buildings should be for an individual site. Homes are easy to analyze in aggregate. ECAM and other tools can and should be used to identify energy use changes that then should lead to inquiries to the individual sites. ECAM is presently used in a P4P program as part of the process described: Sites for which a solid estimate cannot be developed automatically are flagged and then further investigated using ECAM. | I very much agree with the use of NMEC tools as a screening process to then drill down using more hands-on methods when results are not as expected. I recommend combining this with more detailed reviews of a random selection of projects even when results are in line with expectations as an ongoing and iterative check on NMEC tools, methods, and calibration. | The analysis of interval meter data is valuable in programs that are expected to have a relatively large impact as a share of the total energy consumed. In other words, it is relatively easy to identify programs that have a material positive (or negative) impact on energy use (e.g. residential weatherization programs, heat pump programs, water heater programs, thermostat programs, behavioral peak load programs, etc.). It is not well suited for measuring small changes in a meter that has relatively large amount of energy going through it. For example, if a peak load reduction program uses a 30% Deemed Savings peak load reduction estimate, it is quick to identify that the savings might only be 5%, or that a hardware-based peak load reduction program (e.g. thermostat or water heater controller) that was assumed to generate 10% peak reductions might not have produced any measurable peak savings, or that the energy use reductions from a weatherization program might have been caused by other unrelated factors that happened to correlate with the weatherized homes. Using large quantities of meter data helps identify problems with savings attribution which is a material challenge with traditional M&V work that operates using small sample sizes. However, the use of AMI meter data and increasingly automated analysis tools does not replace the need for expert M&V analysts who understand how program evaluation outcomes can be affected by study methods and the quality of input data. This also means that individual site level analysis (including site visits) will be needed at times when evaluating the results that are occasionally highly counterintuitive. | The questions raises multiple relevant issues, hard to address in a brief answer. It is partly affected by tools and partly by regulatory requirements external to the tool. For commercial, at this point I don’t see us NEVER drilling down. But the questioner raises a lot of relevant talking points around managing risk and getting the best bang for the buck out of automation. Maybe a future NEEP webinar!! | OpenEE tools are definitly part of the process. I think "the ideal" will very much depend on the role you play in the transactional system for energy efficiency. For a person investing in efficiency or procurement, the ideal is having enough projects to have confidence that on the whole they will deliver savings when and where they said they would. For a program manager, the ideal would be that you can achieve savings at the portfolio but ALSO be able to drill down to how and where you are getting savings and adjust outreach, incentives or other factors within your control to continue to improve the savings - including sites that may need more attention. For a regulator, the "ideal" would be that on the whole the portfolio is delivering savings to the grid, there isn't fraud (want to be able to drill down to suspicious cases) and they have information to conduct ex post evaluation if requried. | I agree with your assessment overall, though I might estimate different numbers, based on my experience. In the past we thought of four "categories" of buildings depending on the analytics results. (1) Buildings for which timing and magnitude estimates from analysis agree with known measures. That is fully automatic, you can report and leave them alone. (2) Timing and magnitude about right, but additional changes detected elsewhere and not too close on the timeline to the measures. We do a bit of accounting that allows us to leave those alone as well. (3) Timing of the change is right, but the effect is very different from expected. Buildings in this group need to be investigated with the people on the ground, using the intel that the analysis has generated. Timely communication is of value here. (4) The analysis overall was not successful, either there are too many changes, or erratic behavior or building could not be fit. Well, those buildings are often great opportunities to save energy going forward, by bringing them under control, but they should not be verified in this way.
Can concerns be addressed if more info is collected about the site and doing site-specifc modeling and savings estimation rather than a purely analytics-based approach? |  | As I mentioned briefly during Q&A, yes, many of my concerns can be addressed in the context of site-specific modeling and savings estimation. In this context, NMEC is a tool in a toolbox among many. Nevertheless, care must be taken to ensure that changes in energy consumption can be attributed to the actual energy efficiency intervention, rather than exogenous factors like changes in occupancy, equipment changes unrelated to the efficiency project, changes in set points or other equipment usage patterns unrelated to the project, etc. These are "non-routine events" that are important to consider and quantify, separate from measuring impacts attributable to an energy efficiency project. As i mentioned during the call, a lot of this depends on how important it is to attribute energy savings to the measure itself. This is very important when trying to perform cost effectiveness calculations. It's less important if one zooms out and is simply trying to see changes in consumption at a more aggregate level. Lastly, even after all of that, there can be broad differences in findings depending on the methods and assumptions used in calculations. This has been a central finding and challenge of the CalTRACK process. Also see reports on the Commercial Whole Building Pilot by David Jump et al. | The M&V industry is undergoing a significant change where many of the tasks previously performed by people will be performed by (more) automated solutions in the future. AMI meter data analysis will significantly cut the cost of program M&V for many utilities - and it will enable near-real-time program evaluation for large parts of the business. However, the M&V business will also be increasingly separating into two parts: AMI-meter data analytics software firms (such as Sagewell) and M&V consulting businesses with specialized experience with statistical analysis of extraordinarily large data sets.
To the group: Are there qualitative criteria for assessing the quality of models beyond just statistical ones? For example: physical meaningfulness, simplicity/intelligibility, etc? | Absolutely there are "qualitative criteria for assessing the quality of models beyond just statistical ones," including "physical meaningfulness, simplicity/intelligibility," and more. Physical significance is important to me, as I mentioned when speaking about the need for multiple coefficients for heating for a model of a building that uses heat pumps. This can show up even with models based on monthly billing data. With hourly data, there are different coefficients needed to represent air side economizers supplementing mechanical cooling at moderate temperatures, and for mechanical cooling alone at hotter temperatures. There are numerous similar examples. (For electricity, there are reasonably 7 different slopes commonly possible in the relationship of kW to outside air temperature, but only 3 are typically needed for any individual building.) Physical significance helps identify shortcomings in building operations as well as helping with model quality. ECAM provides many different chart outputs to help understand models and assessing their quality. At the top of the list are load shapes of power vs. time of day and scatter charts of energy vs. outside air temperature. The load shapes are provided for each daytype and the scatter charts are shown for each daytype and time period (e.g. occupied, or at 3pm) within a daytype. | This is a somewhat hard question to interpret. Meaningfulness/simplicity/intelligibility to whom and for what purpose? I think you're saying: How do we establish criteria for evaluating and ~scoring NMEC tools and methods that reward them for accuracy as well as how user-friendly they are. Do I have that right? If so, my short answer is no. There's nobody, other than the customer who may purchase or otherwise financially participate in a transaction involving NMEC methods, who is in charge of defining and applying the criteria you describe. However, I would describe the CalTRACK 2.0 process that is currently underway as an effort to identify and address topics including both the accuracy and usability of NMEC tools. The CPUC is also expected to come forth with guidance as it pertains to various aspects of NMEC tools, methods, and applications, and this guidance may touch on your questions as well. |  | Qualitative criteria could be visually assessed using scatter charts of modeled vs. actual values, scatter charts of residuals vs OAT, heat maps, load vs. OAT scatter charts | Yes. The best answer for the OpenEEMeter is found in the documentation for the CalTRACK methods. Both qualitative and quantitative criteria are discussed in context of developing the methods. (visit CalTRACK.org) | I will answer not just from M&V2.0 but in putting out an analytics product in general: we have to do both. Our first goal is to analyze buildings in large numbers. For those reasons, we want to capture the individual buildings in the population with numbers that tell the story together. Those are all quantitative, but they range from statistical to things that line up with engineering considerations. But we want that scale analysis to narrow down to the right buildings at the right times, and to tell those individual businesses something specific about their own building, maybe something to act on. To do that, we have to translate the quantitative analysis about their building into something meaningful to them.
Please indentify the sector that you're working in (Res/Comm/Industrial) | Mostly commercial, but have also worked in residential, and also large mixed-use campuses. | I work in the energy efficiency program evaluation and consulting field with Opinion Dynamics We provide energy efficiency program evaluation, smart grid and demand response evaluation, energy advising, and market research across residential, commercial, industrial, and agricultural sectors. | We work with residential, commercial and industrial customer segments. | LBNL's RM&V tool is intended for commercial applications, but could equally apply to any facility where outside air temperature and time of week are the main drivers of energy consumption | OpenEE - Residential Single Family and Multifamily, Small Medium Commercial | Tarik: Commercial and industrial
Any final thoughts? | I have not infrequently heard that Advanced M&V (IPMVP Option C) models cannot detect "non-routine" changes in buildings, and that they cannot be used to estimate the impact (on energy use) of non-routine changes. I believe this are misconceptions. While this is an area that is rapidly developing, it is already very clear that they can be used to detect most (non-trivial) non-routine changes , and can often be used to estimate their impact. The models' abilities to estimate the impact depends upon the non-routine event's timing and duration, and the event's relationship to time, weather, and/or other variables. Related to this, knowing the timing of measure implementation or other program-related changes to the building allows them to be mapped in time with the modeled and actual energy use. This can provide qualitative and short-term quantitative verification that the changes observed in the data ARE attributable to the program. Also, general occupancy (e.g. % of leasable space occupied, % of hospital beds occupied) can be used as an additional independent variable in these models, and statistically evaluated to see whether it is significant. I've seen one case where the program could or should be credited with savings that resulted from a reduction in occupancy: In the baseline period, reductions in occupancy did not result in energy use reductions. However, due to better controls implemented through the utility program, in the reporting period reductions in occupancy resulted in energy use reductions. So occupancy reductions should not always be considered a non-routine change. Last, to the extent that a key attribute of "Advanced M&V" is the use of higher-frequency data, i.e. of daily or shorter intervals, Advanced M&V is not particularly new. ASHRAE research project 1050-RP, Development of a Toolkit for Calculating Linear, Change-point Linear and Multiple-Linear Inverse Building Energy Analysis Models, was published in 2002, after having demonstrated the viability of these methods at many buildings. Two of the reasons why these methods have become so much more of interest recently is the proliferation of AMI data and the move toward deep retrofits. The latter allows even old school billing analysis to be statistically sufficient for estimating the resulting higher percentage savings. | I really enjoyed that panel. Thanks for including me. I think this is an exciting topic with lots of room for growth. Please contact me with any additional thoughts or questions. | The M&V industry is undergoing a significant change where many of the tasks previously performed by people will be performed by (more) automated solutions in the future. Thus AMI meter data analysis will significantly cut the cost of program M&V for many utilities - and it will enable near-real-time program evaluation for large parts of the business. However, the AMI-meter-based M&V is also separating M&V software development into specialist software firms and the M&V analysts into sophisticated M&V consulting firms. These M&V expert firms will increasingly use the third party software to perform M&V work using extraordinarily large meter data sets.