## Specification Application
ccASHP Application Directions: Please complete the following fields. Note that Sections One, Two, Three, and Four are required, but Sections Five and Six are Optional. Include a scanned copy of your signature, title, and date in the field below. Manufacturers must complete the following “Cold Climate Heat Pump Performance Information Tables” for each qualifying system.
SECTION ONE- GENERAL INFO | Manufacturer | [5 empty] | SECTION FOUR- PAN HEATER OPERATION | Pan Heater ***
| Brand | [6 empty] | Integrated or Accessory (provide Accessory model #) | Input Power (W) | What determines when heater operates? (Limit 300 characters)
Model Name/Product Line (if applicable)
AHRI Certified Reference No.
AHRI Type
Outdoor Unit Model:
Indoor Unit Model(s)*:
Variable-Capacity (Yes/No):
Cooling Capacity (Btu/h)
EER (@ 95°F):
SEER:
HSPF (Region IV):
ENERGY STAR Certified (Yes/No)
| Single-zone or Multi-zone configuration? | [5 empty] | Optional: SECTION FIVE-LOW TEMP PERFORMANCE**** | Outdoor Dry Bulb (°F) | Indoor Dry Bulb (°F) |  |  | Capacity Level
| Ducting Configuration | [10 empty] | Minimum** | Rated | Maximum**
| If the system utilizes any form of air ducts for distribution (compact or central for single-zone, or ducted or mixed for multi-zone configurations), please classify as DUCTED. Otherwise, please classify as NON-DUCTED | [7 empty] | 70°F |  | Btu/h
kW
SECTION TWO- HEATING PERFORMANCE | Outdoor | Indoor |  | Minimum Capacity** | Rated Capacity** | Maximum Capacity** |  |  |  |  | COP | #DIV/0! |  | #DIV/0!
| Dry Bulb (°F) | Dry Bulb (°F)
| 47°F | 70°F | Btu/h |  |  |  | Optional: SECTION SIX-ADDITIONAL INFORMATION | Integration- Describe any capabilities this ASHP system or its controller(s) have related to integration other heating systems/third-party thermostats including “works with”, etc.
kW
|  |  | COP | #DIV/0! | #DIV/0! | #DIV/0!
| 17°F | 70°F | Btu/h
kW
|  |  | COP | #DIV/0! | #DIV/0! | #DIV/0! |  | Connectivity- Describe any capabilities this ASHP system or its controller(s) have related to communication with the consumer or utility (i.e. Does the system/controller have an interface that allows for remote communication with the consumer or utility, wi-fi connected, etc.)
| 5°F* | 70°F | Btu/h
kW
|  |  | COP | #DIV/0! |  | #DIV/0!
SECTION THREE- COOLING PERFORMANCE | Outdoor | Indoor |  | Minimum Capacity** | Rated Capacity** | Maximum Capacity**
| Dry Bulb (°F) | Dry Bulb (°F)
| 95°F | 70°F | Btu/h
|  |  | kW |  |  |  |  | Operational diagnostics- Describe any capabilities of the ASHP System to self-report or self-diagnose its operation or the quality of its installation
|  |  | COP | #DIV/0! | #DIV/0! | #DIV/0!
| 82°F | 70°F | Btu/h
kW
|  |  | COP | #DIV/0! |  | #DIV/0! |  | Refrigerant- List the refrigerant(s) used
*Manufacturers should report specific indoor units or specific combinations of indoor units if certified with these units OR use the generic “ducted indoor units”, “non-ducted indoor units” or “mixed ducted and non-ducted indoor units” to describe the combination of indoor units.
**Provide laboratory testing data or engineering data for the conditions shown above. “Minimum” and “Maximum” refer to the steady-state heating capacities at each condition that equipment can deliver during normal operation. Capacities in the “Rated” column should correspond to those listed on the AHRI certificate at 47°F and 17°F ODB. In some cases these may be the “Maximum” capacity values. Any pan heater operation should be excluded from those values and reported separately. Btu/hour is total heat output, and kW is power input. When discrepancy between AHRI listed capacity and NEEP reported capacity, the NEEP Product List will report values in AHRI Directory
*** If a pan heater is integrated with, or available as accessory to, the outdoor unit, provide its standalone input power and a description of what determines when pan heater(s) operates. If the pan heater is available as an accessory, provide the model #.
****This is optional and can be of the manufacturer's choosing for a low temperature (below 5°F) for which there is performance data
Name
Title
Date
Signature
Please submit a scanned copy of a manufacturer representative's signature on this application or as an attachment. Signer must be employee of Manufacturer Company or the Manufacturer’s parent company. Third-party Manufacturer representatives or distributors NOT permitted to sign

## For NEEP use-DO NOT ALTER
General Information | [14 empty] | Heating Performance - (47°F/70°F) | [8 empty] | Heating Performance - (17°F/70°F) | [8 empty] | Low Temperature Heating Performance - (5°F/70°F) | [5 empty] | Low Temperature Heating Capacity Maintenance |  |  | Cooling Performance - (95°F/70°F) | [8 empty] | Cooling Performance - 82°F/70°F) | [5 empty] | Pan Heater Data |  |  | OPTIONAL Condition 4 Performance - (X°F/70°F) | [6 empty] | OPTIONAL Additional Information
Manufacturer | Brand | Model Name/ Product Line (if applicable) | AHRI Certified Reference Number | AHRI Type | Outdoor Unit Model | Indoor Unit Model(s) | Cooling Capacity (Btuh) | EER (@ 95°F) | SEER | HSPF (Region IV) | ENERGY STAR Certified | Single-zone or Multi-zone? | Ducting Configuration | Ducted or Ductless | Capacity (btu/hr) |  |  | Input Power (kW) |  |  | COP |  |  | Capacity (btu/hr) |  |  | Input Power (kW) |  |  | COP |  |  | Capacity (btu/hr) |  | Input Power (kW) |  | COP |  | Capacity Maintenance (Max 5°F/Max 47°F) | Capacity Maintenance (Max 5°F/Max 17°F) | Capacity Maintenance (Max 5°F/Rated 47°F) | Capacity (btu/hr) |  |  | Input Power (kW) |  |  | COP |  |  | Capacity (btu/hr) |  | Input Power (kW) |  | COP |  | Integrated or Accessory (provide model #) | Input Power (W) | What determines when heater operates? | Outdoor Dry Bulb (°F) | Capacity (btu/hr) |  | Input Power (kW) |  | COP |  | Integration Status | Connectivity Status | Operational Diagnostics | Refrigerant
[15 empty] | Minimum | Rated | Maximum | Minimum | Rated | Maximum | Minimum | Rated | Maximum | Minimum | Rated | Maximum | Minimum | Rated | Maximum | Minimum | Rated | Maximum | Minimum | Maximum | Minimum | Maximum | Minimum | Maximum |  |  |  | Minimum | Rated | Maximum | Minimum | Rated | Maximum | Minimum | Rated | Maximum | Minimum | Maximum | Minimum | Maximum | Minimum | Maximum |  |  |  |  | Minimum | Maximum | Minimum | Maximum | Minimum | Maximum
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0

## Sheet1
singlezone | ducted | ducted, centrally ducted
multizone | ducted | ducted, "compact ducted"
| non-ducted | non-ducted, wall placement
| non-ducted | non-ducted, ceiling placement
| non-ducted | non-ducted, floor placement
| non-ducted | non-ducted
| ducted | all ducted
| ducted | mix of non-ducted and ducted