## Specification Application
ccASHP Application Directions: Please complete the following fields. Note that Sections One, Two, and Three are required, but Sections Four and Five are Optional. Include a scanned copy of your signature, title, and date in the field below. Manufacturers must complete the following “Cold Climate Heat Pump Performance Information Tables” for each qualifying system.
SECTION ONE | Manufacturer | [5 empty] | SECTION THREE | Pan Heater
| Brand (if applicable) | [6 empty] | Integrated or Accessory (provide model #) | Input Power (W) | What determines when heater operates? (Limit 300 characters)
Model Name
AHRI Certified Reference No.
Outdoor Unit Model:
Indoor Unit Model(s)[1]:
AHRI Type
Variable-Capacity (Yes/No)
HSPF (Region IV):
SEER
EER (@ 95°F)
Cooling Capacity (Btuh)
ENERGY STAR Certified (Yes/No)
Ductless or Ducted
If Ductless, "Multizone or Singlezone"
Ductless Indoor Type
Capacity Level
SECTION TWO | Outdoor | Indoor |  | Minimum | Rated | Maximum | Optional: SECTION FOUR | Outdoor Dry Bulb (°F)* | Indoor Dry Bulb (°F) |  |  | Capacity Level
| Dry Bulb (°F) | Dry Bulb (°F) | [9 empty] | Minimum | Rated | Maximum
| 47°F | 70°F | Btu/h
kW
|  |  | COP | #DIV/0! | #DIV/0! | #DIV/0! |  |  | 70°F |  | Btu/h
| 17°F | 70°F | Btu/h | [7 empty] | kW
|  |  | kW | [7 empty] | COP | #DIV/0! |  | #DIV/0!
|  |  | COP | #DIV/0! | #DIV/0! | #DIV/0!
| 5°F* | 70°F | Btu/h |  |  |  | Optional: SECTION FIVE | 5°F Performance Data | Laboratory Testing |  |  | Engineering calculations
kW
|  |  | COP | #DIV/0! |  | #DIV/0!
[8 empty] | Optional Low Temperature Performance Data | Laboratory Testing |  |  | Engineering calculations
| Name | Please submit a scanned copy of a manufacturer representative's signature on this application or as an attachment.
Title
| Date | [6 empty] | Indicate the method of determining performance data at 5°F and/or optional lower temperature (by shading appropriate box)
*Provide laboratory testing data or engineering data for the conditions shown above. “Minimum” and “Maximum” refer to the steady-state heating capacities at each condition that equipment can deliver during normal operation. Capacities in the “Rated” column should correspond to those listed on the AHRI certificate at 47°F and 17°F ODB. In some cases these may be the “Maximum” capacity values. Any pan heater operation should be excluded from those values and reported separately. Btu/hour is total heat output, and kW is power input. If a pan heater is integrated with, or available as accessory to, the outdoor unit, provide its standalone input power and a description of what determines when pan heater(s) operates. If the pan heater is available as an accessory, provide the model #.
[1] Manufacturers should report specific indoor units or specific combinations of indoor units if certified with these units OR use the generic “ducted indoor units”, “non-ducted indoor units” or “mixed ducted and non-ducted indoor units” to describe the combination of indoor units.

## For NEEP use-DO NOT ALTER
General Information | [14 empty] | Condition 1 Performance - (47°F/70°F) | [8 empty] | Condition 2 Performance - (17°F/70°F) | [8 empty] | Condition 3 Performance - (5°F/70°F) | [5 empty] | Capacity Maintenance |  | Pan Heater Data |  |  | OPTIONAL Condition 4 Performance - (X°F/70°F)
Manufacturer | Brand (if applicable) | Model Name | AHRI Certificate No. | AHRI Type | Outdoor Unit Model | Indoor Unit Model(s) | Cooling Capacity (Btuh) | EER (@ 95°F) | SEER | HSPF (Region IV) | ENERGY STAR Certified | Centrally Ducted or Ductless | If Ductless, "Multizone or Singlezone" | Ductless Indoor Type | Capacity (btu/hr) |  |  | Input Power (kW) |  |  | COP |  |  | Capacity (btu/hr) |  |  | Input Power (kW) |  |  | COP |  |  | Capacity (btu/hr) |  | Input Power (kW) |  | COP |  | Capacity Maintenance (Max 5°F/Max 47°F) | Capacity Maintenance (Max 5°F/Max 17°F) | Integrated or Accessory (provide model #) | Input Power (W) | What determines when heater operates? | Outdoor Dry Bulb (°F) | Capacity (btu/hr) |  | Input Power (kW) |  | COP
[15 empty] | Minimum | Rated | Maximum | Minimum | Rated | Maximum | Minimum | Rated | Maximum | Minimum | Rated | Maximum | Minimum | Rated | Maximum | Minimum | Rated | Maximum | Minimum | Maximum | Minimum | Maximum | Minimum | Maximum | [6 empty] | Minimum | Maximum | Minimum | Maximum | Minimum | Maximum
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!