## README
LED Refrigeration Lighting
Measure Characterization:
| Measure Description | LED Refrigeration Case Lighting
| Baseline | Standard Case Lighting (T12HO or standard T8)
| Measure Scenario(s) | RET
| Baseline Efficiency Levels | RET = Existing lighting
| Measure Level Description | LED lighting is installed in place of linear fluorescent lighting in horizontal or vertical refrigeration display cases
| Measure Efficiency Levels | Standard LED vs. Design Lights Consortium Qualified Products list
| Sizes | Per unit, per door, or per foot
| Distinguishing Features | Vertical of horizontal display case (per door or per linear foot)
| Sources | ME TRM, Min-Atlantic TRM, EVT offerings, and NY TRM
| Incremental Labor Cost | Yes
| Cost Basis | Incremental for New Construction , Full Costs for Retrofit
Full Equipment and Labor Cost for Retrofit
Incremental Cost Methodology
The project provides incremental and/or full measure costs, as appropriate to each measure's scenario(s)
Retrofit (RET) scenario is done when replacing a working system with a new technology or installing a technology that was not there before
Incremental Measure Costs are used in ROB and NC scenarios when an energy-efficient appliance or measure promoted through a program is installed in lieu of the standard (less efficient) appliance/measure. The incremental cost is the difference between the baseline energy efficiency measure (material and labor) and the standard efficiency model. The equation for calculating incremental measure costs is simply:
Incremental measure cost = energy efficient measure cost (material + labor) - standard efficient baseline cost (material + labor)
In some cases there is no difference in the installation cost between the standard and efficient measure and/or an efficient measure and a more efficient measure. In those cases only materials costs are provided in the incremental cost. Labor is defined as the product of the total dollar per hour and the total hours to install the baseline or efficient measures.
For Life Cycle purposes baseline cost assumes one ballast replacement as O&M, resulting approximately 4% incremental cost reduction. Replacement CFLS not considered in baseline costs because they are minimal.
Measure: A measure is defined as the efficient alternative to the baseline option of installation. In this case, it is defined as an LED refrigeration case light.
Baseline: The baseline condition is defined as the standard equipment that would have been installed without the utility EE activity . The baseline equipment in this instance is T12HO or a T8 linear fluorescent light.
The users of this data should note that this workbook also includes full costs for LED refrigeration case lighting. Therefore, other incremental path scenarios can be created by combining this data with other full cost data for baseline refrigeration case lighting.
Workbook Elements
Summary of Results Tab
The summary of results tab presents the incremental cost for the combination. Material, labor, and installed incremental costs are presented in 7 categories allowing NEEP constituents to choose the market that best represents their services territory.
The regions presented represent the results of analyzing RSMeans City Cost Index (CCI). Navigant's analysis of the CCI determined that NEEP's overall service territories could be categorized into 6 unique regions (7 including a Base Cost Factor category).
Data Analysis Tab
Raw Data
In 2013, 1 contractor interview and 1 distributor interview were completed for the analysis of the measure. A total of 154 cost points were collected for LED case lighting equipment. The cost for baseline equipment is aggregated to reflect comments and data from contractors and distributors as well as web based research for common fluorescent original equipment manufacturers and energy service companies. The aggregated baseline costs account for variations in linear fluorescent bulb types (T12HO and standard T8), bulb lengths, and bulb wattages.
Formatted Data
Primary cost data was collected from contractors and distributors across four states (MD, MA, NY, and VT). The data was formatted to present material and labor costs based on the particular configuration and application of the LED refrigeration case lighting. As the size, wattage, case application, case configuration, etc. all differ depending on the installation scenario, Navigant chose common units to present the formatted data in (cost per LED or cost per unit, cost per foot of LED tube, and cost per door) depending on the application (vertical and horizontal alignment). The formatted data (cost per LED or cost per unit, cost per foot of LED, and cost per door) represent an average of different lengths ranging from 4 to 6 feet.
[Coolers, freezers, and upright refrigeration cases will have vertically aligned lights, with one more light than door. Horizontal shelf cases and certain types of reach-in cases will have horizontally aligned lights. Horizontal cases will typically not have doors.]
The same method was used to adjust all labor costs and miscellaneous installation costs.
Some baseline internet costs were included in the analysis to augment and QC the contractor data. Internet costs do not include a contractor markup. Additionally, distributor costs do not include contractor markup. Therefore, and where available, estimated markups were gathered from contractors and distributors. This average markup was applied to the internet and distributor costs to produce estimated contractor costs.
The R.S. Means recalculated CCI factors annually. For this study, Navigant used the 2013 CCI factors. The data was statistically formatted at a 90/10 confidence interval. Navigant utilized a Z score of 1.645 representing a two-sided, 90/10 confidence interval for a normal distribution. This statistical approach was used to determine an interval estimate with a specified probability that the actual value (mean value) will lie within the range of the interval. By utilizing a 1.645 Z score, Navigant is targeting that the true value (mean value) will be within 10% of the estimated value with a 90% level of confidence.
Material Analysis
The efficient material cost includes the cost of the LED, the cost of the LED driver, and the ancillary costs. The baseline material cost includes the cost of the fluorescent tube, the cost of the ballast, and the ancillary costs. The analysis identified and removed any potential outlier data points through a review of the data.
Labor Analysis
Contractor interviews identified an incremental difference in the time to install efficient versus base scenario equipment. In general, efficient equipment took approximately 5 more minutes to install when compared with baseline equipment. An average installation time was used to determine the time required to install baseline and efficient measure equipment.
Results
Through contractor and distributor interviews, Navigant defined the most common applications installed in convenient and grocery stores. As such, results are presented for each of those size categories at a Base Cost Factor level.

## Summary Results
LED Refrigeration Lighting
Does this measure have incremental labor cost (Yes/No)? | Yes
Case Lighting Scenario | Market 1 Northern New England Incremental Cost ($/Unit)
| Cost per Unit ($/LED) | Cost per Foot ($/ft.) | Cost per Door ($/door)
Vertical - Center | 144.9142 | 28.5518 | 193.2189
Vertical - End | 108.5337 | 21.439 | 144.7116
Horizontal | 106.5298 | 21.9452 | N/A
Overall | 123.7141 | 24.6491 | 170.844
Case Lighting Scenario | Market 2 Central/Southern New England Incremental Cost ($/Unit)
| Cost per Unit ($/LED) | Cost per Foot ($/ft.) | Cost per Door ($/door)
Vertical - Center | 149.0631 | 29.4481 | 198.7508
Vertical - End | 112.3931 | 22.2426 | 149.8575
Horizontal | 110.3732 | 22.7382 | N/A
Overall | 127.6944 | 25.4784 | 176.1978
Case Lighting Scenario | Market 3 New England City Incremental Cost ($/Unit)
| Cost per Unit ($/LED) | Cost per Foot ($/ft.) | Cost per Door ($/door)
Vertical - Center | 153.5282 | 30.3178 | 204.7043
Vertical - End | 115.9486 | 22.9565 | 154.5981
Horizontal | 113.8786 | 23.4606 | N/A
Overall | 131.6294 | 26.2726 | 181.5919
Case Lighting Scenario | Market 4 NY Metro Incremental Cost ($/Unit)
| Cost per Unit ($/LED) | Cost per Foot ($/ft.) | Cost per Door ($/door)
Vertical - Center | 158.7712 | 31.3922 | 211.6949
Vertical - End | 120.4552 | 23.8785 | 160.607
Horizontal | 118.3446 | 24.3815 | N/A
Overall | 136.4433 | 27.2596 | 188.1296
Case Lighting Scenario | Market 5 NY Upstate Incremental Cost ($/Unit)
| Cost per Unit ($/LED) | Cost per Foot ($/ft.) | Cost per Door ($/door)
Vertical - Center | 148.1589 | 29.2209 | 197.5452
Vertical - End | 111.3808 | 22.0242 | 148.5077
Horizontal | 109.3549 | 22.5279 | N/A
Overall | 126.7271 | 25.2695 | 174.9257
Case Lighting Scenario | Market 6 Mid-Atlantic Cost ($/Unit)
| Cost per Unit ($/LED) | Cost per Foot ($/ft.) | Cost per Door ($/door)
Vertical - Center | 147.9378 | 29.1567 | 197.2504
Vertical - End | 110.9267 | 21.9187 | 147.9022
Horizontal | 108.8879 | 22.4312 | N/A
Overall | 126.3702 | 25.1845 | 174.4876
2013 (Combined) Results - Material
Base Cost Factor | Efficient Measure Full Material Cost
| Cost per Unit ($/LED) | Cost per Foot ($/ft.) | Cost per Door ($/door)
Vertical - Center | 157.8213 | 30.9205 | 210.4283
Vertical - End | 120.5399 | 23.6975 | 160.7198
Horizontal | 118.4862 | 24.3055 | N/A
Overall | 136.0962 | 26.9869 | 187.4993
2013 (Combined) Results - Labor
Base Cost Factor | Efficient Measure Labor Cost
| Cost per Unit ($/LED) | Cost per Foot ($/ft.) | Cost per Door ($/door)
Vertical - Center | 22.275 | 4.5111 | 29.7
Vertical - End | 22.275 | 4.5111 | 29.7
Horizontal | 22.275 | 4.5111 | N/A
Overall | 22.275 | 4.5111 | 29.7
2013 (Combined) Results - Incremental
Base Cost Factor | Efficient Measure Incremental Cost
| Cost per Unit ($/LED) | Cost per Foot ($/ft.) | Cost per Door ($/door)
Vertical - Center | 149.9463 | 29.5691 | 199.9283
Vertical - End | 112.6649 | 22.2749 | 150.2198
Horizontal | 110.6112 | 22.7866 | N/A
Overall | 128.2212 | 25.5646 | 176.9993
Market | Market Code | Regions | Material Adjustment Factor | Labor Adjustment Factor | Total
Northern New England | 1 | ME, VT, NH | 0.97583 | 0.81533 | 0.90417
Central/Southern New England | 2 | MA (exc Boston), RI, most CT | 0.9836 | 1.1632 | 1.0628
New England City | 3 | Boston, Providence | 1.008 | 1.2795 | 1.1275
NY Metro | 4 | NYC, Metro, Suburbs, Southeast CT, | 1.0278 | 1.5593 | 1.262
NY Upstate | 5 | Buffalo, Rochester etc. | 0.9865 | 1.0135 | 0.99825
Mid-Atlantic | 6 | MD, DE, DC | 0.99275 | 0.88775 | 0.94625
National Average | - | - | 1 | 1 | 1
Summary of incremental cost data analysis for LED Refrigeration Case Lighting:
Regional adjustment factors are applied to the Base Cost Factors (BCFs) to calculate market specific results. Regional adjustment factors were developed using RSMeans City Cost Indexes based on weighted average of division category.

## LED Case Lighting Analysis
DATA ANALYSIS | [15 empty] | Formatted Data | [9 empty] | Material, Labor, and Retail Cost Analysis |  |  |  | Regional Adjustment Factors | [6 empty] | Results
Note: All costs and Labor were adjusted to reflect Non-Regional Specific values based on RSMeans City Cost Indexes (CCI).
Raw Data
Measure Level Data | [15 empty] | Measure Level Costs Adjusted to Non-Regional Specific Values | [9 empty] | Non-Regional Specific Results
Refrigeration Case Type | Configuration | Unit | Product | Color Temperature | Watts | Length (feet) | Lumens | CRI | Retail Cost ($/bulb) | Retail Cost / Foot of LED ($/ft) | Distributor Pricing ($) | End-user Pricing ($) | Mark-Up | Source | Notes | Configuration | Unit | Marked Up Retail Cost ($) | Marked Up Retail Cost / Foot of LED ($/ft) | Marked Up Retail Cost / Door ($/door) | Material Cost ($/unit) | Material Cost / Foot of LED ($/ft) | Material Cost / Door ($/door) | Material Cost / Watt of LED ($/Watt) | Labor Rate ($/foot) | LED Refrigeration Case Lighting - Efficient Case |  |  |  | Market | Market Code | Regions | Material Adjustment Factor | Labor Adjustment Factor
Cooler/freezer | Vertical | Center | ILT48-BAO-W50CE | 5000 | 15 | 4 | 1200 | 85 | 106.6 | 26.65 | 71.5 |  | 149.1% | A | Mark-up provided by contractor for specific data point | Vertical | Center | 106.6 | 26.65 | 142.1333 | 126.5862 | 31.6466 | 168.7817 | 8.4391 | 5.5688 | Application | Material Cost / Unit ($/LED) | Material Cost / Foot of LED ($/ft) | Material Cost / Door ($/door) | Northern New England | 1 | ME, VT, NH | 0.97583 | 0.81533
Cooler/freezer | Vertical | End | ILT48-BAO-W50LE | 5000 | 7.5 | 4 | 600 | 85 | 67.88 | 16.97 | 48.5 |  | 140% | A | Mark-up provided by contractor for specific data point | Vertical | End | 67.88 | 16.97 | 90.5067 | 87.8662 | 21.9666 | 117.155 | 11.7155 | 5.5688 | Vertical - Center | 157.8213 | 30.9205 | 210.4283 | Central/Southern New England | 2 | MA (exc Boston), RI, most CT | 0.9836 | 1.1632
Cooler/freezer | Vertical | End | ILT48-BAO-W50RE | 5000 | 7.5 | 4 | 600 | 85 | 67.88 | 16.97 | 48.5 |  | 140% | A | Mark-up provided by contractor for specific data point | Vertical | End | 67.88 | 16.97 | 90.5067 | 87.8662 | 21.9666 | 117.155 | 11.7155 | 5.5688 | Vertical - End | 120.5399 | 23.6975 | 160.7198 | New England City | 3 | Boston, Providence | 1.008 | 1.2795
Cooler/freezer | Vertical | Center | ILT48-BAO-W40CE | 4000 | 15 | 4 | 1160 | 85 | 106.6 | 26.65 | 71.5 |  | 149.1% | A | Mark-up provided by contractor for specific data point | Vertical | Center | 106.6 | 26.65 | 142.1333 | 126.5862 | 31.6466 | 168.7817 | 8.4391 | 5.5688 | Horizontal | 118.4862 | 24.3055 |  | NY Metro | 4 | NYC, Metro, Suburbs, Southeast CT, | 1.0278 | 1.5593
Cooler/freezer | Vertical | End | ILT48-BAO-W40LE | 4000 | 7.5 | 4 | 580 | 85 | 67.88 | 16.97 | 48.5 |  | 140% | A | Mark-up provided by contractor for specific data point | Vertical | End | 67.88 | 16.97 | 90.5067 | 87.8662 | 21.9666 | 117.155 | 11.7155 | 5.5688 | Overall | 136.0962 | 26.9869 | 187.4993 | NY Upstate | 5 | Buffalo, Rochester etc. | 0.9865 | 1.0135
Cooler/freezer | Vertical | End | ILT48-BAO-W40RE | 4000 | 7.5 | 4 | 580 | 85 | 67.88 | 16.97 | 48.5 |  | 140% | A | Mark-up provided by contractor for specific data point | Vertical | End | 67.88 | 16.97 | 90.5067 | 87.8662 | 21.9666 | 117.155 | 11.7155 | 5.5688 |  |  |  |  | Mid-Atlantic | 6 | MD, DE, DC | 0.99275 | 0.88775
Cooler/freezer | Vertical | Center | ILT48-BAO-W35CE | 3500 | 15 | 4 | 1160 | 85 | 106.6 | 26.65 | 71.5 |  | 149.1% | A | Mark-up provided by contractor for specific data point | Vertical | Center | 106.6 | 26.65 | 142.1333 | 126.5862 | 31.6466 | 168.7817 | 8.4391 | 5.5688 | Statistical Analysis of Non-Regional Specific Results |  |  |  | Base Cost Factor | - | - | 1 | 1
Cooler/freezer | Vertical | End | ILT48-BAO-W35LE | 3500 | 7.5 | 4 | 580 | 85 | 67.88 | 16.97 | 48.5 |  | 140% | A | Mark-up provided by contractor for specific data point | Vertical | End | 67.88 | 16.97 | 90.5067 | 87.8662 | 21.9666 | 117.155 | 11.7155 | 5.5688 | Data Statistics and Ranges
Cooler/freezer | Vertical | End | ILT48-BAO-W35RE | 3500 | 7.5 | 4 | 580 | 85 | 67.88 | 16.97 | 48.5 |  | 140% | A | Mark-up provided by contractor for specific data point | Vertical | End | 67.88 | 16.97 | 90.5067 | 87.8662 | 21.9666 | 117.155 | 11.7155 | 5.5688 | Metric | Material Cost / Unit ($/LED) | Material Cost / Foot of LED ($/ft) | Material Cost / Door ($/door) | [7 empty] | Northern New England
Cooler/freezer | Vertical | Center | ILT60-BAO-W50CE | 5000 | 20 | 5 | 1600 | 85 | 106.6 | 21.32 | 83.15 |  | 128.2% | A | Mark-up provided by contractor for specific data point | Vertical | Center | 106.6 | 21.32 | 142.1333 | 126.5862 | 25.3172 | 168.7817 | 6.3293 | 4.455 | Average | 136.0962 | 26.9869 | 187.4993 | Northern New England | [7 empty] | Efficient Measure ($/unit) |  | Baseline Measure ($/unit) |  | Estimated Incremental Cost Results ($/unit) |  | Efficient Measure ($/foot) |  | Baseline Measure ($/foot) |  | Estimated Incremental Cost Results ($/foot) |  | Efficient Measure ($/door) |  | Baseline Measure ($/door) |  | Estimated Incremental Cost Results ($/door)
Cooler/freezer | Vertical | End | ILT60-BAO-W50LE | 5000 | 10 | 5 | 800 | 85 | 67.88 | 13.576 | 52.95 |  | 128.2% | A | Mark-up provided by contractor for specific data point | Vertical | End | 67.88 | 13.576 | 90.5067 | 87.8662 | 17.5732 | 117.155 | 8.7866 | 4.455 | Standard deviation | 43.5279 | 8.9038 | 62.9013 | Application | Material Cost / Unit ($/LED) | Material Cost / Foot of LED ($/ft) | Material Cost / Door ($/door) | Labor Cost / Unit ($/LED) | Labor Cost / Foot of LED ($/ft) | Labor Cost / Door ($/door) | Application | Efficient Material Cost | Efficient Installed Cost | Baseline Material Cost | Baseline Labor Cost | Installed Cost | Application | Efficient Material Cost | Efficient Installed Cost | Baseline Material Cost | Baseline Labor Cost | Installed Cost | Application | Efficient Material Cost | Efficient Installed Cost | Baseline Material Cost | Baseline Labor Cost | Installed Cost
Cooler/freezer | Vertical | End | ILT60-BAO-W50RE | 5000 | 10 | 5 | 800 | 85 | 67.88 | 13.576 | 52.95 |  | 128.2% | A | Mark-up provided by contractor for specific data point | Vertical | End | 67.88 | 13.576 | 90.5067 | 87.8662 | 17.5732 | 117.155 | 8.7866 | 4.455 | Standard error | 4.6401 | 0.96013 | 7.5181 | Vertical - Center | 154.0072 | 30.1733 | 205.343 | 18.1616 | 3.6781 | 24.2154 | Vertical - Center | 154.0072 | 172.1688 | 16.2476 | 11.007 | 144.9142 | Vertical - Center | 30.1733 | 33.8513 | 3.1593 | 2.1402 | 28.5518 | Vertical - Center | 205.343 | 229.5584 | 21.6635 | 14.676 | 193.2189
Cooler/freezer | Vertical | Center | ILT60-BAO-W40CE | 4000 | 20 | 5 | 1547 | 85 | 106.6 | 21.32 | 83.15 |  | 128.2% | A | Mark-up provided by contractor for specific data point | Vertical | Center | 106.6 | 21.32 | 142.1333 | 126.5862 | 25.3172 | 168.7817 | 6.3293 | 4.455 | Confidence level | 90% | 90% | 90% | Vertical - End | 117.6268 | 23.1248 | 156.8357 | 18.1616 | 3.6781 | 24.2154 | Vertical - End | 117.6268 | 135.7884 | 16.2476 | 11.007 | 108.5337 | Vertical - End | 23.1248 | 26.8029 | 3.1977 | 2.1663 | 21.439 | Vertical - End | 156.8357 | 181.0511 | 21.6635 | 14.676 | 144.7116
Cooler/freezer | Vertical | End | ILT60-BAO-W40LE | 4000 | 10 | 5 | 773 | 85 | 67.88 | 13.576 | 52.95 |  | 128.2% | A | Mark-up provided by contractor for specific data point | Vertical | End | 67.88 | 13.576 | 90.5067 | 87.8662 | 17.5732 | 117.155 | 8.7866 | 4.455 | Corresponding critical value (Z-score) | 1.645 | 1.645 | 1.645 | Horizontal | 115.6228 | 23.7181 |  | 18.1616 | 3.6781 |  | Horizontal | 115.6228 | 133.7844 | 16.2476 | 11.007 | 106.5298 | Horizontal | 23.7181 | 27.3962 | 3.2495 | 2.2014 | 21.9452 | Horizontal
Cooler/freezer | Vertical | End | ILT60-BAO-W40RE | 4000 | 10 | 5 | 773 | 85 | 67.88 | 13.576 | 52.95 |  | 128.2% | A | Mark-up provided by contractor for specific data point | Vertical | End | 67.88 | 13.576 | 90.5067 | 87.8662 | 17.5732 | 117.155 | 8.7866 | 4.455 | Confidence range ($)(+/-) | 7.6329 | 1.5794 | 12.3673 | Overall | 132.8072 | 26.3347 | 182.9681 | 18.1616 | 3.6781 | 24.2154 | Overall | 132.8072 | 150.9688 | 16.2476 | 11.007 | 123.7141 | Overall | 26.3347 | 30.0127 | 3.1975 | 2.1661 | 24.6491 | Overall | 182.9681 | 207.1835 | 21.6635 | 14.676 | 170.844
Cooler/freezer | Vertical | Center | ILT60-BAO-W35CE | 3500 | 20 | 5 | 1547 | 85 | 106.6 | 21.32 | 83.15 |  | 128.2% | A | Mark-up provided by contractor for specific data point | Vertical | Center | 106.6 | 21.32 | 142.1333 | 126.5862 | 25.3172 | 168.7817 | 6.3293 | 4.455 | Confidence range (%)(+/-) | 5.608% | 5.853% | 6.596% | [7 empty] | Central/Southern New England
Cooler/freezer | Vertical | End | ILT60-BAO-W35LE | 3500 | 10 | 5 | 773 | 85 | 67.88 | 13.576 | 52.95 |  | 128.2% | A | Mark-up provided by contractor for specific data point | Vertical | End | 67.88 | 13.576 | 90.5067 | 87.8662 | 17.5732 | 117.155 | 8.7866 | 4.455 | Note: The Z score of 1.645 represents a two-sided, 90/10 confidence interval for a normal distribution. This statistical approach was used to determine an interval estimate with a specified probability that the actual value will lie within the range of the interval. By utilizing a 1.645 Z score, Navigant is targeting that the true value will be within 10% of the estimated value with a 90% level of confidence. |  |  |  | Central/Southern New England | [7 empty] | Efficient Measure ($/unit) |  | Baseline Measure ($/unit) |  | Estimated Incremental Cost Results ($/unit) |  | Efficient Measure ($/foot) |  | Baseline Measure ($/foot) |  | Estimated Incremental Cost Results ($/foot) |  | Efficient Measure ($/door) |  | Baseline Measure ($/door) |  | Estimated Incremental Cost Results ($/door)
Cooler/freezer | Vertical | End | ILT60-BAO-W35RE | 3500 | 10 | 5 | 773 | 85 | 67.88 | 13.576 | 52.95 |  | 128.2% | A | Mark-up provided by contractor for specific data point | Vertical | End | 67.88 | 13.576 | 90.5067 | 87.8662 | 17.5732 | 117.155 | 8.7866 | 4.455 |  |  |  |  | Application | Material Cost / Unit ($/LED) | Material Cost / Foot of LED ($/ft) | Material Cost / Door ($/door) | Labor Cost / Unit ($/LED) | Labor Cost / Foot of LED ($/ft) | Labor Cost / Door ($/door) | Application | Efficient Material Cost | Efficient Installed Cost | Baseline Material Cost | Baseline Labor Cost | Installed Cost | Application | Efficient Material Cost | Efficient Installed Cost | Baseline Material Cost | Baseline Labor Cost | Installed Cost | Application | Efficient Material Cost | Efficient Installed Cost | Baseline Material Cost | Baseline Labor Cost | Installed Cost
Cooler/freezer | Vertical | Center | ILT70-BAO-W50CE | 5000 | 25 | 6 | 2000 | 85 | 128.14 | 21.3567 | 99.95 |  | 128.2% | A | Mark-up provided by contractor for specific data point | Vertical | Center | 128.14 | 21.3567 | 170.8533 | 148.1262 | 24.6877 | 197.5017 | 5.925 | 3.7125 |  |  |  |  | Vertical - Center | 155.233 | 30.4134 | 206.9773 | 25.9103 | 5.2473 | 34.547 | Vertical - Center | 155.233 | 181.1433 | 16.3769 | 15.7032 | 149.0631 | Vertical - Center | 30.4134 | 35.6608 | 3.1593 | 3.0534 | 29.4481 | Vertical - Center | 206.9773 | 241.5244 | 21.8359 | 20.9376 | 198.7508
Cooler/freezer | Vertical | End | ILT70-BAO-W50LE | 5000 | 12.5 | 6 | 1000 | 85 | 79.23 | 13.205 | 61.8 |  | 128.2% | A | Mark-up provided by contractor for specific data point | Vertical | End | 79.23 | 13.205 | 105.64 | 99.2163 | 16.536 | 132.2883 | 7.9373 | 3.7125 | Non-Regional Specific LED Refrigeration Case Lighting Miscellaneous Metrics |  |  |  | Vertical - End | 118.563 | 23.3089 | 158.084 | 25.9103 | 5.2473 | 34.547 | Vertical - End | 118.563 | 144.4733 | 16.3769 | 15.7032 | 112.3931 | Vertical - End | 23.3089 | 28.5562 | 3.2231 | 3.0905 | 22.2426 | Vertical - End | 158.084 | 192.631 | 21.8359 | 20.9376 | 149.8575
Cooler/freezer | Vertical | End | ILT70-BAO-W50RE | 5000 | 12.5 | 6 | 1000 | 85 | 79.23 | 13.205 | 61.8 |  | 128.2% | A | Mark-up provided by contractor for specific data point | Vertical | End | 79.23 | 13.205 | 105.64 | 99.2163 | 16.536 | 132.2883 | 7.9373 | 3.7125 | Metric | Result |  |  | Horizontal | 116.5431 | 23.9069 |  | 25.9103 | 5.2473 |  | Horizontal | 116.5431 | 142.4534 | 16.3769 | 15.7032 | 110.3732 | Horizontal | 23.9069 | 29.1542 | 3.2754 | 3.1406 | 22.7382 | Horizontal
Cooler/freezer | Vertical | Center | ILT70-BAO-W40CE | 4000 | 25 | 6 | 1940 | 85 | 128.14 | 21.3567 | 99.95 |  | 128.2% | A | Mark-up provided by contractor for specific data point | Vertical | Center | 128.14 | 21.3567 | 170.8533 | 148.1262 | 24.6877 | 197.5017 | 5.925 | 3.7125 | Markup | 1.3 |  |  | Overall | 133.8642 | 26.5443 | 184.4243 | 25.9103 | 5.2473 | 34.547 | Overall | 133.8642 | 159.7745 | 16.3769 | 15.7032 | 127.6944 | Overall | 26.5443 | 31.7916 | 3.2229 | 3.0903 | 25.4784 | Overall | 184.4243 | 218.9714 | 21.8359 | 20.9376 | 176.1978
Cooler/freezer | Vertical | End | ILT70-BAO-W40LE | 4000 | 12.5 | 6 | 970 | 85 | 79.23 | 13.205 | 61.8 |  | 128.2% | A | Mark-up provided by contractor for specific data point | Vertical | End | 79.23 | 13.205 | 105.64 | 99.2163 | 16.536 | 132.2883 | 7.9373 | 3.7125 | Labor Rate (hr/LED) | 0.33 | [9 empty] | New England City
Cooler/freezer | Vertical | End | ILT70-BAO-W40RE | 4000 | 12.5 | 6 | 970 | 85 | 79.23 | 13.205 | 61.8 |  | 128.2% | A | Mark-up provided by contractor for specific data point | Vertical | End | 79.23 | 13.205 | 105.64 | 99.2163 | 16.536 | 132.2883 | 7.9373 | 3.7125 | Labor Rate ($/hr) | 67.5 |  |  | New England City | [7 empty] | Efficient Measure ($/unit) |  | Baseline Measure ($/unit) |  | Estimated Incremental Cost Results ($/unit) |  | Efficient Measure ($/foot) |  | Baseline Measure ($/foot) |  | Estimated Incremental Cost Results ($/foot) |  | Efficient Measure ($/door) |  | Baseline Measure ($/door) |  | Estimated Incremental Cost Results ($/door)
Cooler/freezer | Vertical | Center | ILT70-BAO-W35CE | 3500 | 25 | 6 | 1940 | 85 | 128.14 | 21.3567 | 99.95 |  | 128.2% | A | Mark-up provided by contractor for specific data point | Vertical | Center | 128.14 | 21.3567 | 170.8533 | 148.1262 | 24.6877 | 197.5017 | 5.925 | 3.7125 | LED Driver Cost | 43.4588 |  |  | Application | Material Cost / Unit ($/LED) | Material Cost / Foot of LED ($/ft) | Material Cost / Door ($/door) | Labor Cost / Unit ($/LED) | Labor Cost / Foot of LED ($/ft) | Labor Cost / Door ($/door) | Application | Efficient Material Cost | Efficient Installed Cost | Baseline Material Cost | Baseline Labor Cost | Installed Cost | Application | Efficient Material Cost | Efficient Installed Cost | Baseline Material Cost | Baseline Labor Cost | Installed Cost | Application | Efficient Material Cost | Efficient Installed Cost | Baseline Material Cost | Baseline Labor Cost | Installed Cost
Cooler/freezer | Vertical | End | ILT70-BAO-W35LE | 3500 | 12.5 | 6 | 970 | 85 | 79.23 | 13.205 | 61.8 |  | 128.2% | A | Mark-up provided by contractor for specific data point | Vertical | End | 79.23 | 13.205 | 105.64 | 99.2163 | 16.536 | 132.2883 | 7.9373 | 3.7125 | Units per door | 1.3333 |  |  | Vertical - Center | 159.0838 | 31.1679 | 212.1118 | 28.5009 | 5.772 | 38.0012 | Vertical - Center | 159.0838 | 187.5847 | 16.7832 | 17.2732 | 153.5282 | Vertical - Center | 31.1679 | 36.9399 | 3.2634 | 3.3587 | 30.3178 | Vertical - Center | 212.1118 | 250.1129 | 22.3776 | 23.031 | 204.7043
Cooler/freezer | Vertical | End | ILT70-BAO-W35RE | 3500 | 12.5 | 6 | 970 | 85 | 79.23 | 13.205 | 61.8 |  | 128.2% | A | Mark-up provided by contractor for specific data point | Vertical | End | 79.23 | 13.205 | 105.64 | 99.2163 | 16.536 | 132.2883 | 7.9373 | 3.7125 | Ancillary Cost per LED | 5.5 |  |  | Vertical - End | 121.5042 | 23.8871 | 162.0056 | 28.5009 | 5.772 | 38.0012 | Vertical - End | 121.5042 | 150.005 | 16.7832 | 17.2732 | 115.9486 | Vertical - End | 23.8871 | 29.6591 | 3.3031 | 3.3995 | 22.9565 | Vertical - End | 162.0056 | 200.0067 | 22.3776 | 23.031 | 154.5981
Horizontal case | Horizontal | Left | ILT48-BAO-W35LH | 3500 | 22.2 | 4 | 1714 | 85 | 97 | 24.25 | 72.75 |  | 133.3% | A | Mark-up provided by contractor for specific data point | Horizontal | Left | 97 | 24.25 | 129.3333 | 116.9862 | 29.2466 |  | 5.2697 | 5.5688 |  |  |  |  | Horizontal | 119.4341 | 24.4999 |  | 28.5009 | 5.772 |  | Horizontal | 119.4341 | 147.935 | 16.7832 | 17.2732 | 113.8786 | Horizontal | 24.4999 | 30.2719 | 3.3566 | 3.4546 | 23.4606 | Horizontal
Horizontal case | Horizontal | Right | ILT48-BAO-W35RH | 3500 | 22.2 | 4 | 1714 | 85 | 97 | 24.25 | 72.75 |  | 133.3% | A | Mark-up provided by contractor for specific data point | Horizontal | Right | 97 | 24.25 | 129.3333 | 116.9862 | 29.2466 |  | 5.2697 | 5.5688 |  |  |  |  | Overall | 137.185 | 27.2028 | 188.9993 | 28.5009 | 5.772 | 38.0012 | Overall | 137.185 | 165.6858 | 16.7832 | 17.2732 | 131.6294 | Overall | 27.2028 | 32.9747 | 3.3029 | 3.3993 | 26.2726 | Overall | 188.9993 | 227.0005 | 22.3776 | 23.031 | 181.5919
Horizontal case | Horizontal | Left | ILT48-BAO-W40LH | 4000 | 22.2 | 4 | 1714 | 85 | 97 | 24.25 | 72.75 |  | 133.3% | A | Mark-up provided by contractor for specific data point | Horizontal | Left | 97 | 24.25 | 129.3333 | 116.9862 | 29.2466 |  | 5.2697 | 5.5688 | Non-Regional Specific Results for Labor Costs | [10 empty] | NY Metro
Horizontal case | Horizontal | Right | ILT48-BAO-W40RH | 4000 | 22.2 | 4 | 1714 | 85 | 97 | 24.25 | 72.75 |  | 133.3% | A | Mark-up provided by contractor for specific data point | Horizontal | Right | 97 | 24.25 | 129.3333 | 116.9862 | 29.2466 |  | 5.2697 | 5.5688 | LED Refrigeration Case Lighting - Efficient Case |  |  |  | NY Metro | [7 empty] | Efficient Measure ($/unit) |  | Baseline Measure ($/unit) |  | Estimated Incremental Cost Results ($/unit) |  | Efficient Measure ($/foot) |  | Baseline Measure ($/foot) |  | Estimated Incremental Cost Results ($/foot) |  | Efficient Measure ($/door) |  | Baseline Measure ($/door) |  | Estimated Incremental Cost Results ($/door)
Horizontal case | Horizontal | Left | ILT48-BAO-W50LH | 5000 | 22.2 | 4 | 2000 | 85 | 97 | 24.25 | 72.75 |  | 133.3% | A | Mark-up provided by contractor for specific data point | Horizontal | Left | 97 | 24.25 | 129.3333 | 116.9862 | 29.2466 |  | 5.2697 | 5.5688 | Application | Labor Cost / Unit ($/LED) | Labor Cost / Foot of LED ($/ft) | Labor Cost / Door ($/door) | Application | Material Cost / Unit ($/LED) | Material Cost / Foot of LED ($/ft) | Material Cost / Door ($/door) | Labor Cost / Unit ($/LED) | Labor Cost / Foot of LED ($/ft) | Labor Cost / Door ($/door) | Application | Efficient Material Cost | Efficient Installed Cost | Baseline Material Cost | Baseline Labor Cost | Installed Cost | Application | Efficient Material Cost | Efficient Installed Cost | Baseline Material Cost | Baseline Labor Cost | Installed Cost | Application | Efficient Material Cost | Efficient Installed Cost | Baseline Material Cost | Baseline Labor Cost | Installed Cost
Horizontal case | Horizontal | Right | ILT48-BAO-W50RH | 5000 | 22.2 | 4 | 2000 | 85 | 97 | 24.25 | 72.75 |  | 133.3% | A | Mark-up provided by contractor for specific data point | Horizontal | Right | 97 | 24.25 | 129.3333 | 116.9862 | 29.2466 |  | 5.2697 | 5.5688 | Overall | 22.275 | 4.5111 | 29.7 | Vertical - Center | 162.2008 | 31.7786 | 216.2677 | 34.7323 | 7.034 | 46.3097 | Vertical - Center | 162.2008 | 196.9331 | 17.112 | 21.0499 | 158.7712 | Vertical - Center | 31.7786 | 38.8125 | 3.3273 | 4.093 | 31.3922 | Vertical - Center | 216.2677 | 262.5774 | 22.8161 | 28.0665 | 211.6949
Horizontal case | Horizontal | Left | ILT70-BAO-W35LH | 3500 | 31.3 | 6 | 2541 | 85 | 116.4 | 19.4 | 87.3 |  | 133.3% | A | Mark-up provided by contractor for specific data point | Horizontal | Left | 116.4 | 19.4 | 155.2 | 136.3863 | 22.731 |  | 4.3574 | 3.7125 |  |  |  |  | Vertical - End | 123.8848 | 24.3551 | 165.1798 | 34.7323 | 7.034 | 46.3097 | Vertical - End | 123.8848 | 158.6171 | 17.112 | 21.0499 | 120.4552 | Vertical - End | 24.3551 | 31.3891 | 3.3678 | 4.1428 | 23.8785 | Vertical - End | 165.1798 | 211.4895 | 22.8161 | 28.0665 | 160.607
Horizontal case | Horizontal | Right | ILT70-BAO-W35RH | 3500 | 31.3 | 6 | 2541 | 85 | 116.4 | 19.4 | 87.3 |  | 133.3% | A | Mark-up provided by contractor for specific data point | Horizontal | Right | 116.4 | 19.4 | 155.2 | 136.3863 | 22.731 |  | 4.3574 | 3.7125 |  |  |  |  | Horizontal | 121.7742 | 24.9799 |  | 34.7323 | 7.034 |  | Horizontal | 121.7742 | 156.5065 | 17.112 | 21.0499 | 118.3446 | Horizontal | 24.9799 | 32.0139 | 3.4224 | 4.21 | 24.3815 | Horizontal
Horizontal case | Horizontal | Left | ILT70-BAO-W40LH | 4000 | 31.3 | 6 | 2541 | 85 | 116.4 | 19.4 | 87.3 |  | 133.3% | A | Mark-up provided by contractor for specific data point | Horizontal | Left | 116.4 | 19.4 | 155.2 | 136.3863 | 22.731 |  | 4.3574 | 3.7125 |  |  |  |  | Overall | 139.8729 | 27.7357 | 192.7024 | 34.7323 | 7.034 | 46.3097 | Overall | 139.8729 | 174.6052 | 17.112 | 21.0499 | 136.4433 | Overall | 27.7357 | 34.7697 | 3.3676 | 4.1425 | 27.2596 | Overall | 192.7024 | 239.0121 | 22.8161 | 28.0665 | 188.1296
Horizontal case | Horizontal | Right | ILT70-BAO-W40RH | 4000 | 31.3 | 6 | 2541 | 85 | 116.4 | 19.4 | 87.3 |  | 133.3% | A | Mark-up provided by contractor for specific data point | Horizontal | Right | 116.4 | 19.4 | 155.2 | 136.3863 | 22.731 |  | 4.3574 | 3.7125 | [11 empty] | NY Upstate
Horizontal case | Horizontal | Left | ILT70-BAO-W50LH | 5000 | 31.3 | 6 | 3000 | 85 | 116.4 | 19.4 | 87.3 |  | 133.3% | A | Mark-up provided by contractor for specific data point | Horizontal | Left | 116.4 | 19.4 | 155.2 | 136.3863 | 22.731 |  | 4.3574 | 3.7125 |  |  |  |  | NY Upstate | [7 empty] | Efficient Measure ($/unit) |  | Baseline Measure ($/unit) |  | Estimated Incremental Cost Results ($/unit) |  | Efficient Measure ($/foot) |  | Baseline Measure ($/foot) |  | Estimated Incremental Cost Results ($/foot) |  | Efficient Measure ($/door) |  | Baseline Measure ($/door) |  | Estimated Incremental Cost Results ($/door)
Horizontal case | Horizontal | Right | ILT70-BAO-W50RH | 5000 | 31.3 | 6 | 3000 | 85 | 116.4 | 19.4 | 87.3 |  | 133.3% | A | Mark-up provided by contractor for specific data point | Horizontal | Right | 116.4 | 19.4 | 155.2 | 136.3863 | 22.731 |  | 4.3574 | 3.7125 |  |  |  |  | Application | Material Cost / Unit ($/LED) | Material Cost / Foot of LED ($/ft) | Material Cost / Door ($/door) | Labor Cost / Unit ($/LED) | Labor Cost / Foot of LED ($/ft) | Labor Cost / Door ($/door) | Application | Efficient Material Cost | Efficient Installed Cost | Baseline Material Cost | Baseline Labor Cost | Installed Cost | Application | Efficient Material Cost | Efficient Installed Cost | Baseline Material Cost | Baseline Labor Cost | Installed Cost | Application | Efficient Material Cost | Efficient Installed Cost | Baseline Material Cost | Baseline Labor Cost | Installed Cost
Horizontal shelf | Horizontal |  | ILT48-SF-W35 | 3500 | 7.5 | 4 | 580 | 85 | 74.2 | 18.55 | 59.35 |  | 125% | A | Mark-up provided by contractor for specific data point | Horizontal |  | 74.2 | 18.55 | 98.9333 | 94.1863 | 23.5466 |  | 12.5582 | 5.5688 |  |  |  |  | Vertical - Center | 155.6907 | 30.5031 | 207.5876 | 22.5757 | 4.572 | 30.1009 | Vertical - Center | 155.6907 | 178.2664 | 16.4252 | 13.6822 | 148.1589 | Vertical - Center | 30.5031 | 35.0751 | 3.1938 | 2.6604 | 29.2209 | Vertical - Center | 207.5876 | 237.6885 | 21.9003 | 18.243 | 197.5452
Horizontal shelf | Horizontal |  | ILT48-SF-W40 | 4000 | 7.5 | 4 | 580 | 85 | 74.2 | 18.55 | 59.35 |  | 125% | A | Mark-up provided by contractor for specific data point | Horizontal |  | 74.2 | 18.55 | 98.9333 | 94.1863 | 23.5466 |  | 12.5582 | 5.5688 |  |  |  |  | Vertical - End | 118.9126 | 23.3776 | 158.5501 | 22.5757 | 4.572 | 30.1009 | Vertical - End | 118.9126 | 141.4883 | 16.4252 | 13.6822 | 111.3808 | Vertical - End | 23.3776 | 27.9496 | 3.2326 | 2.6928 | 22.0242 | Vertical - End | 158.5501 | 188.651 | 21.9003 | 18.243 | 148.5077
Horizontal shelf | Horizontal |  | ILT48-SF-W50 | 5000 | 7.5 | 4 | 600 | 85 | 74.2 | 18.55 | 59.35 |  | 125% | A | Mark-up provided by contractor for specific data point | Horizontal |  | 74.2 | 18.55 | 98.9333 | 94.1863 | 23.5466 |  | 12.5582 | 5.5688 |  |  |  |  | Horizontal | 116.8867 | 23.9773 |  | 22.5757 | 4.572 |  | Horizontal | 116.8867 | 139.4624 | 16.4252 | 13.6822 | 109.3549 | Horizontal | 23.9773 | 28.5494 | 3.285 | 2.7364 | 22.5279 | Horizontal
Horizontal shelf | Horizontal |  | ILT70-SF-W35 | 3500 | 12.5 | 6 | 970 | 85 | 90 | 15 | 72 |  | 125% | A | Mark-up provided by contractor for specific data point | Horizontal |  | 90 | 15 | 120 | 109.9862 | 18.331 |  | 8.7989 | 3.7125 |  |  |  |  | Overall | 134.2589 | 26.6225 | 184.9681 | 22.5757 | 4.572 | 30.1009 | Overall | 134.2589 | 156.8346 | 16.4252 | 13.6822 | 126.7271 | Overall | 26.6225 | 31.1946 | 3.2324 | 2.6926 | 25.2695 | Overall | 184.9681 | 215.069 | 21.9003 | 18.243 | 174.9257
Horizontal shelf | Horizontal |  | ILT70-SF-W40 | 4000 | 12.5 | 6 | 970 | 85 | 90 | 15 | 72 |  | 125% | A | Mark-up provided by contractor for specific data point | Horizontal |  | 90 | 15 | 120 | 109.9862 | 18.331 |  | 8.7989 | 3.7125 | [11 empty] | Mid Atlantic
Horizontal shelf | Horizontal |  | ILT70-SF-W50 | 5000 | 12.5 | 6 | 1000 | 85 | 90 | 15 | 72 |  | 125% | A | Mark-up provided by contractor for specific data point | Horizontal |  | 90 | 15 | 120 | 109.9862 | 18.331 |  | 8.7989 | 3.7125 |  |  |  |  | Mid Atlantic | [7 empty] | Efficient Measure ($/unit) |  | Baseline Measure ($/unit) |  | Estimated Incremental Cost Results ($/unit) |  | Efficient Measure ($/foot) |  | Baseline Measure ($/foot) |  | Estimated Incremental Cost Results ($/foot) |  | Efficient Measure ($/door) |  | Baseline Measure ($/door) |  | Estimated Incremental Cost Results ($/door)
Cooler/freezer | Vertical | Center |  |  |  | 4 |  |  | 105 | 26.25 |  |  |  | B |  | Vertical | Center | 136.5 | 34.125 | 182 | 156.4863 | 39.1216 | 208.6483 |  | 5.5688 |  |  |  |  | Application | Material Cost / Unit ($/LED) | Material Cost / Foot of LED ($/ft) | Material Cost / Door ($/door) | Labor Cost / Unit ($/LED) | Labor Cost / Foot of LED ($/ft) | Labor Cost / Door ($/door) | Application | Efficient Material Cost | Efficient Installed Cost | Baseline Material Cost | Baseline Labor Cost | Installed Cost | Application | Efficient Material Cost | Efficient Installed Cost | Baseline Material Cost | Baseline Labor Cost | Installed Cost | Application | Efficient Material Cost | Efficient Installed Cost | Baseline Material Cost | Baseline Labor Cost | Installed Cost
Cooler/freezer | Vertical | End |  |  |  | 4 |  |  | 105 | 26.25 |  |  |  | B |  | Vertical | End | 136.5 | 34.125 | 182 | 156.4863 | 39.1216 | 208.6483 |  | 5.5688 |  |  |  |  | Vertical - Center | 156.677 | 30.6964 | 208.9027 | 19.7746 | 4.0047 | 26.3662 | Vertical - Center | 156.677 | 176.4517 | 16.5293 | 11.9846 | 147.9378 | Vertical - Center | 30.6964 | 34.7011 | 3.214 | 2.3303 | 29.1567 | Vertical - Center | 208.9027 | 235.2689 | 22.039 | 15.9795 | 197.2504
Cooler/freezer | Vertical | Center |  |  |  | 5 |  |  | 106 | 21.2 |  |  |  | B |  | Vertical | Center | 137.8 | 27.56 | 183.7333 | 157.7863 | 31.5573 | 210.3817 |  | 4.455 |  |  |  |  | Vertical - End | 119.6659 | 23.5257 | 159.5546 | 19.7746 | 4.0047 | 26.3662 | Vertical - End | 119.6659 | 139.4406 | 16.5293 | 11.9846 | 110.9267 | Vertical - End | 23.5257 | 27.5305 | 3.2531 | 2.3587 | 21.9187 | Vertical - End | 159.5546 | 185.9208 | 22.039 | 15.9795 | 147.9022
Cooler/freezer | Vertical | End |  |  |  | 5 |  |  | 106 | 21.2 |  |  |  | B |  | Vertical | End | 137.8 | 27.56 | 183.7333 | 157.7863 | 31.5573 | 210.3817 |  | 4.455 |  |  |  |  | Horizontal | 117.6272 | 24.1293 |  | 19.7746 | 4.0047 |  | Horizontal | 117.6272 | 137.4019 | 16.5293 | 11.9846 | 108.8879 | Horizontal | 24.1293 | 28.134 | 3.3059 | 2.3969 | 22.4312 | Horizontal
Cooler/freezer | Vertical | Center |  |  |  | 6 |  |  | 132 | 22 |  |  |  | B |  | Vertical | Center | 171.6 | 28.6 | 228.8 | 191.5863 | 31.931 | 255.4483 |  | 3.7125 |  |  |  |  | Overall | 135.1095 | 26.7912 | 186.1399 | 19.7746 | 4.0047 | 26.3662 | Overall | 135.1095 | 154.8841 | 16.5293 | 11.9846 | 126.3702 | Overall | 26.7912 | 30.796 | 3.2529 | 2.3585 | 25.1845 | Overall | 186.1399 | 212.5061 | 22.039 | 15.9795 | 174.4876
Cooler/freezer | Vertical | End |  |  |  | 6 |  |  | 132 | 22 |  |  |  | B |  | Vertical | End | 171.6 | 28.6 | 228.8 | 191.5863 | 31.931 | 255.4483 |  | 3.7125 | [11 empty] | Base Scenario
Cooler/freezer | Vertical |  |  |  |  | 6 |  |  | 201.2775 | 33.5463 |  |  |  | C |  | Vertical |  | 261.6608 | 43.6101 | 348.881 | 281.647 | 46.9412 | 375.5293 |  | 3.7125 |  |  |  |  | Base Scenario | [7 empty] | Efficient Measure ($/unit) |  | Baseline Measure ($/unit) |  | Estimated Incremental Cost Results ($/unit) |  | Efficient Measure ($/foot) |  | Baseline Measure ($/foot) |  | Estimated Incremental Cost Results ($/foot) |  | Efficient Measure ($/door) |  | Baseline Measure ($/door) |  | Estimated Incremental Cost Results ($/door)
Cooler/freezer | Vertical | End |  |  |  | 4 |  |  | 81.2727 | 20.3182 |  |  |  | D |  | Vertical | End | 105.6545 | 26.4136 | 140.8727 | 125.6408 | 31.4102 | 167.5211 |  | 5.5688 |  |  |  |  | Application | Material Cost / Unit ($/LED) | Material Cost / Foot of LED ($/ft) | Material Cost / Door ($/door) | Labor Cost / Unit ($/LED) | Labor Cost / Foot of LED ($/ft) | Labor Cost / Door ($/door) | Application | Efficient Material Cost | Efficient Installed Cost | Baseline Material Cost | Baseline Labor Cost | Installed Cost | Application | Efficient Material Cost | Efficient Installed Cost | Baseline Material Cost | Baseline Labor Cost | Installed Cost | Application | Efficient Material Cost | Efficient Installed Cost | Baseline Material Cost | Baseline Labor Cost | Installed Cost
Cooler/freezer | Vertical | Center |  |  |  | 4 |  |  | 81.2727 | 20.3182 |  |  |  | D |  | Vertical | Center | 105.6545 | 26.4136 | 140.8727 | 125.6408 | 31.4102 | 167.5211 |  | 5.5688 |  |  |  |  | Vertical - Center | 157.8213 | 30.9205 | 210.4283 | 22.275 | 4.5111 | 29.7 | Vertical - Center | 157.8213 | 180.0963 | 16.65 | 13.5 | 149.9463 | Vertical - Center | 30.9205 | 35.4316 | 3.2375 | 2.625 | 29.5691 | Vertical - Center | 210.4283 | 240.1283 | 22.2 | 18 | 199.9283
Cooler/freezer | Vertical | End |  |  |  | 5 |  |  | 76.35 | 15.27 |  |  |  | D |  | Vertical | End | 99.255 | 19.851 | 132.34 | 119.2412 | 23.8483 | 158.9883 |  | 4.455 |  |  |  |  | Vertical - End | 120.5399 | 23.6975 | 160.7198 | 22.275 | 4.5111 | 29.7 | Vertical - End | 120.5399 | 142.8149 | 16.65 | 13.5 | 112.6649 | Vertical - End | 23.6975 | 28.2087 | 3.2769 | 2.6569 | 22.2749 | Vertical - End | 160.7198 | 190.4198 | 22.2 | 18 | 150.2198
Cooler/freezer | Vertical | Center |  |  |  | 5 |  |  | 84 | 16.8 |  |  |  | D |  | Vertical | Center | 109.2 | 21.84 | 145.6 | 129.1863 | 25.8373 | 172.2483 |  | 4.455 |  |  |  |  | Horizontal | 118.4862 | 24.3055 |  | 22.275 | 4.5111 |  | Horizontal | 118.4862 | 140.7612 | 16.65 | 13.5 | 110.6112 | Horizontal | 24.3055 | 28.8166 | 3.33 | 2.7 | 22.7866 | Horizontal
Cooler/freezer | Vertical | End |  |  |  | 6 |  |  | 84.25 | 14.0417 |  |  |  | D |  | Vertical | End | 109.525 | 18.2542 | 146.0333 | 129.5113 | 21.5852 | 172.6817 |  | 3.7125 |  |  |  |  | Overall | 136.0962 | 26.9869 | 187.4993 | 22.275 | 4.5111 | 29.7 | Overall | 136.0962 | 158.3712 | 16.65 | 13.5 | 128.2212 | Overall | 26.9869 | 31.498 | 3.2767 | 2.6568 | 25.5646 | Overall | 187.4993 | 217.1993 | 22.2 | 18 | 176.9993
Cooler/freezer | Vertical | Center |  |  |  | 6 |  |  | 103.37 | 17.2283 |  |  |  | D |  | Vertical | Center | 134.381 | 22.3968 | 179.1747 | 154.3673 | 25.7279 | 205.823 |  | 3.7125
Cooler/freezer | Vertical | End |  |  |  | 5 |  |  | 90.65 | 18.13 |  |  |  | D |  | Vertical | End | 117.845 | 23.569 | 157.1267 | 137.8313 | 27.5663 | 183.775 |  | 4.455
Cooler/freezer | Vertical | Center |  |  |  | 5 |  |  | 95.35 | 19.07 |  |  |  | D |  | Vertical | Center | 123.955 | 24.791 | 165.2733 | 143.9412 | 28.7882 | 191.9217 |  | 4.455
Cooler/freezer | Vertical | End |  |  |  | 6 |  |  | 98.55 | 16.425 |  |  |  | D |  | Vertical | End | 128.115 | 21.3525 | 170.82 | 148.1013 | 24.6835 | 197.4683 |  | 3.7125
Cooler/freezer | Vertical | Center |  |  |  | 6 |  |  | 114.72 | 19.12 |  |  |  | D |  | Vertical | Center | 149.136 | 24.856 | 198.848 | 169.1223 | 28.187 | 225.4963 |  | 3.7125
Cooler/freezer | Vertical | Center | [6 empty] | 126.5 |  |  |  |  | E |  | Vertical | Center | 164.45 |  | 219.2667 | 184.4363 |  | 245.915
Cooler/freezer | Vertical | End | [6 empty] | 124.2 |  |  |  |  | E |  | Vertical | End | 161.46 |  | 215.28 | 181.4463 |  | 241.9283
Cooler/freezer | Vertical | End | Anthony Quanta Crossfire 6160-120-LP/RP |  | 9 | 6 | [5 empty] | 153.7 |  | F |  | Vertical | End |  |  |  | 153.7 | 25.6167 | 204.9333 | 17.0778 | 3.7125
Cooler/freezer | Vertical | Center | Anthony Quanta Crossfire 6160-120-CP |  | 18 | 6 | [5 empty] | 307.4 |  | F |  | Vertical | Center |  |  |  | 307.4 | 51.2333 | 409.8667 | 17.0778 | 3.7125
Cooler/freezer | Vertical | End | Crossfire 6160 |  |  | 5 | [5 empty] | 130.91 |  | F |  | Vertical | End |  |  |  | 130.91 | 26.182 | 174.5467 |  | 4.455
Cooler/freezer | Vertical | Center | Crossfire 6160 |  |  | 5 | [5 empty] | 261.82 |  | F |  | Vertical | Center |  |  |  | 261.82 | 52.364 | 349.0933 |  | 4.455
Cooler/freezer | Vertical | End | Crossfire 6160 |  |  | 4 | [5 empty] | 116.6 |  | F |  | Vertical | End |  |  |  | 116.6 | 29.15 | 155.4667 |  | 5.5688
Cooler/freezer | Vertical | Center | Crossfire 6160 |  |  | 4 | [5 empty] | 233.2 |  | F |  | Vertical | Center |  |  |  | 233.2 | 58.3 | 310.9333 |  | 5.5688
Cooler/freezer | Vertical | Center | Value Plus LDM405HE 67" |  | 20 | 6 | [5 empty] | 173 |  | F |  | Vertical | Center |  |  |  | 173 | 28.8333 | 230.6667 | 8.65 | 3.7125
Cooler/freezer | Vertical | End | Value Plus LDM405HE 67" |  | 14 | 6 | [5 empty] | 156 |  | F |  | Vertical | End |  |  |  | 156 | 26 | 208 | 11.1429 | 3.7125
Cooler/freezer | Vertical | Center | Value Plus LDM405HE 59" |  | 17 | 5 | [5 empty] | 154 |  | F |  | Vertical | Center |  |  |  | 154 | 30.8 | 205.3333 | 9.0588 | 4.455
Cooler/freezer | Vertical | End | Value Plus LDM405HE 59" |  | 12 | 5 | [5 empty] | 148 |  | F |  | Vertical | End |  |  |  | 148 | 29.6 | 197.3333 | 12.3333 | 4.455
Cooler/freezer | Vertical |  | Anthony Optimax Pro 60181840003 |  |  | 4 | [5 empty] | 258 |  | F |  | Vertical |  |  |  |  | 258 | 64.5 | 344 |  | 5.5688
Cooler/freezer | Vertical | Center | Anthony Quanta Starfire SPX 70.5" |  | 19.1 | 6 | [5 empty] | 156 |  | F |  | Vertical | Center |  |  |  | 156 | 26 | 208 | 8.1675 | 3.7125
Cooler/freezer | Vertical | End | Nualight Porto 600 Series 59" |  | 18 | 5 | [5 empty] | 234 |  | F |  | Vertical | End |  |  |  | 234 | 46.8 | 312 | 13 | 4.455
Cooler/freezer | Vertical |  | Philips 92900064313 |  | 12 | 5 |  |  | 97.5 | 19.5 |  |  |  | F |  | Vertical |  | 126.75 | 25.35 | 169 | 146.7363 | 29.3473 | 195.6483 | 12.228 | 4.455
Cooler/freezer | Vertical | End | Value Plus LDM405HE 50" |  | 12 | 5 |  |  | 83.35 | 16.67 |  |  |  | F |  | Vertical | End | 108.355 | 21.671 | 144.4733 | 128.3413 | 25.6683 | 171.1217 | 10.6951 | 4.455
Cooler/freezer | Vertical | Center | Value Plus LDM405HE 59" |  | 17 | 5 |  |  | 89.5 | 17.9 |  |  |  | F |  | Vertical | Center | 116.35 | 23.27 | 155.1333 | 136.3363 | 27.2673 | 181.7817 | 8.0198 | 4.455
Cooler/freezer | Vertical | End | Value Plus LDM405HE 67" |  | 14 | 6 |  |  | 91.55 | 15.2583 |  |  |  | F |  | Vertical | End | 119.015 | 19.8358 | 158.6867 | 139.0012 | 23.1669 | 185.335 | 9.9287 | 3.7125
Cooler/freezer | Vertical | Center | Value Plus LDM405HE 67" |  | 20 | 6 |  |  | 109.22 | 18.2033 |  |  |  | F |  | Vertical | Center | 141.986 | 23.6643 | 189.3147 | 161.9723 | 26.9954 | 215.963 | 8.0986 | 3.7125
Cooler/freezer | Vertical | Center | GE RV40 GELT404840CTR |  | 11.7 | 4 |  |  | 73.08 | 18.27 |  |  |  | F |  | Vertical | Center | 95.004 | 23.751 | 126.672 | 114.9903 | 28.7476 | 153.3203 | 9.8282 | 5.5688
Cooler/freezer | Vertical | End | GE RV40 GELT404840EDL |  | 6.1 | 4 |  |  | 73.08 | 18.27 |  |  |  | F |  | Vertical | End | 95.004 | 23.751 | 126.672 | 114.9903 | 28.7476 | 153.3203 | 18.8509 | 5.5688
Cooler/freezer | Vertical | Center | GE RV40 GELT406040CTR |  | 18 | 5 |  |  | 79.49 | 15.898 |  |  |  | F |  | Vertical | Center | 103.337 | 20.6674 | 137.7827 | 123.3233 | 24.6647 | 164.431 | 6.8513 | 4.455
Cooler/freezer | Vertical | End | GE RV40 GELT406040EDL |  | 9 | 5 |  |  | 79.49 | 15.898 |  |  |  | F |  | Vertical | End | 103.337 | 20.6674 | 137.7827 | 123.3233 | 24.6647 | 164.431 | 13.7026 | 4.455
Cooler/freezer | Vertical | Center | GE RV40 GELT407040CTR |  | 19.3 | 6 |  |  | 91.03 | 15.1717 |  |  |  | F |  | Vertical | Center | 118.339 | 19.7232 | 157.7853 | 138.3253 | 23.0542 | 184.4337 | 7.1671 | 3.7125
Cooler/freezer | Vertical | End | GE RV40 GELT407040EDR |  | 10 | 6 |  |  | 91.03 | 15.1717 |  |  |  | F |  | Vertical | End | 118.339 | 19.7232 | 157.7853 | 138.3253 | 23.0542 | 184.4337 | 13.8325 | 3.7125
Aggregate of interviews and web based research
LED Driver Data | [15 empty] | Metric | Result | Notes
[16 empty] | Markup | 1.3 | Markup for equipment cost data gathered from equipment suppliers and first person testimony via interviews
Measure Level Data | [15 empty] | Efficient Labor Rate (hr/LED) | 0.33 | Results of testimony via fist person interviews
Power Supply | Distributor Pricing | End-user Pricing | Markup | Source | [11 empty] | Baseline Labor Rate (hr/fluorescent) | 0.2 | Results of testimony via fist person interviews
60 Watt UL Class 2 Power Supply 100-277 input, 24VDC output – powers up to 3 – 60” | 41 | 50 | 122% | A | [11 empty] | Labor Rate ($/hr) | 67.5 | Results of testimony via fist person interviews and web based research for hourly rates of electricians and employees of energy service companies
40Watt UL Class 2 Power Supply 100-277 input, 24VDC output – Powers up to 2 – 60” | 38.5 | 45 | 116.9% | A | [11 empty] | LED Driver Cost | 43.4588 | Average material cost of eight drivers, data points supplied by contractors. One driver can service up to 3 LEDs.
100Watt UL Class 2 Power Supply 120-277 input, 24VDC output – powers up to 4 | 45 | 56.25 | 125% | A | [11 empty] | Units per door | 1.3333 | In most vertical cases, there is one more light than door. This metric assumes the average scenario of three doors and four lights.
60 Watt UL Class 2 Power Supply 100-277 input, 24VDC output, powers up to 2 – 70” | 41 | 50 | 122% | A | [11 empty] | Ancillary Cost per LED | 5.5 | The ancillary costs account for shipping, packaging, freight, taxes, disposal, and other miscellaneous installation costs.
40Watt UL Class 2 Power Supply 100-277 input, 24VDC output, powers up to 2 – 48” | 38.5 | 45 | 116.9% | A | [11 empty] | Baseline Measure Material Cost | 13.5 | The baseline equipment material cost is a result of the interviews and a spot check via web based research. Navigant chose to average the data points from all sources. The material cost includes the cost for the lamp and ballast.
100-W 24V slim LED driver |  | 26.35 |  | F | [11 empty] | Ancillary Cost per fluorescent | 3.15 | The ancillary costs account for shipping, packaging, freight, taxes, disposal, and other miscellaneous installation costs.
1002 slim LED driver |  | 26.35 |  | F
GE Driver |  | 48.72 |  | F
Baseline Raw Data
Source | Material Cost ($/unit)
Interview A | 14.35
Interview B | $12 - $15
Manufacturer A | 12.65
Commercial LED Refrigeration Case Lighting cost data collected in primary research and presented here. Equipment and labor costs are adjusted to reflect Non-Regional Specific values based on RSMeans City Cost Indexes (CCI). A combination analysis based on three applications (cost per unit, cost per foot, and cost per door ) was used to develop the material costs for the most common configurations found in NEEP's market area. The baseline is assumed as T12HO and T8 linear fluorescent lights with electronic ballasts. The cost for baseline equipment is aggregated to reflect comments and data from contractors and distributors as well as web based research. The efficient equipment installation includes the material cost of the LED bulb, ancillary installation costs such as freight and tool expenses, LED driver costs, and labor costs. The incremental cost assumes the difference between the cost to install an LED bulb and the cost to install a linear fluorescent tube.