## README
Unitary Air Conditioning
Measure Characterization:
| Measure Description | Commercial Unitary AC (packaged)
| Baseline | Standard Efficient Unitary AC
| Measure Scenario(s) | ROB, NC
| Baseline Efficiency Levels | IECC 2009 and/or jurisdiction-specific. Baseline efficiency varies by size.
| Measure Level Description | High efficiency Unitary Air-Conditioning Equipment
| Measure Efficiency Levels | CEE Tier 1 & Tier 2 (see CEE Criteria Tab)
| Sizes | 5.4 - 11.25 tons
11.25 - 20 tons
20 - 63 tons
>= 63 tons
| Distinguishing Features | 1) Heating type (none, gas, electric resistance)
2) Other features: (e.g., variable speed fans and compressors associated with higher EERs)
| Installation Scenarios | Single Package
| Sources | NY TRM, Mid-Atlantic TRM, EVT TRM, Efficiency Maine TRM, MA TRM
| Comments | Replace Unitary AC only
| Incremental Labor Cost | No
| Cost Basis | Incremental
Incremental Cost Methodology
Incremental measure costs (not the full cost) are used when an energy-efficient appliance or measure promoted through the program is installed in lieu of the standard (less efficient) appliance/measure. The equation for calculating incremental measure costs is simply:
Incremental measure cost = efficient measure material cost - base case material cost
Measure: A measure is defined as the efficient alternative to the baseline option of installation. In this case, it is defined as a commercial unitary air conditioner with EER in line with the CEE Criteria.
Baseline: The baseline condition is defined as the standard equipment that would have been installed without the utility EE activity. The baseline equipment in this instance is a commercial unitary air conditioner with EER in line with the current minimum Federal standard.
Summary of Results Tab
The summary of results tab presents the incremental cost for the commercial unitary air conditioners. Incremental costs are presented in 7 categories allowing NEEP constituents to choose the market that best represents their services territory.
The regions presented represent the results of analyzing RSMeans City Cost Index (CCI). Navigant's analysis of the CCI determined that NEEP's overall service territories could be categorized into 6 unique regions (7 including a Non-Regional Specific category).
Data Analysis Tab
Raw Data
A total of 120 cost points were collected through contractor interviews and invoices provided by NEEP constituents. Note that most of the data fell into the 5.4 - 20 ton range. The cost points for units greater than 20 tons were limited, due to the lack of invoice data for this range.
Formatted Data
Primary cost data was collected from contractors across four states (MD, MA, RI, and PA). Due to the inherent differences in cost from one region to another, Navigant adjusted all material and labor cost points to represent non-regional specific (NRS) data using RSMeans CCI. For example, if the cost provided from a contractor in Pennsylvania for a unitary AC was $5000, than the NRS cost would be:
NRS = Original State Cost ($) / Average Adjustment Factor for Original State
NRS = $5000 / 0.99
NRS = $5050
The same method was used to adjust all labor cost.
Material Analysis
The analysis identified and removed any potential outlier data points through a review of the data.
A linear regression was used to develop the material cost for the measure. A regression was done for the following size categories:
a) 5.4 - 20 tons
b) > 20 tons
The regression analysis resulted in one incremental cost per size category. Although the actual material costs vary within a size category, the typical incremental costs were not found to vary significantly.
Some invoice data for units smaller than 5.4 tons was received and included in the raw data but excluded from the results, because it was outside the scope of this measure.
Labor Analysis
Contractor interviews identified no incremental difference in the time to install efficient versus base scenario equipment. In general, efficient equipment took just as much time to install as compared with base equipment. The labor rate was calculated by an average of all contractor labor rates ($/HR). An average installation times was used to determine the time required to install measure and baseline equipment.
Results
Navigant defined the unit size categories to line up with the size categories used by the federal standards and CEE ratings. As such, results are presented for each of those size categories at a non-regional specific level.

## Summary Results
Unitary Air Conditioning
Does this measure have incremental labor cost (Yes/No)? | No
Size Category (Tons) | Market 1 Northern New England Incremental Cost ($/Ton)
| CEE Tier 1 | CEE Tier 2
5.4 to 11.25 | 61.8881 | 123.7761
11.25 to 20 | 61.8881 | 123.7761
20 to 63 | 18.4586 | 36.9172
Size Category (Tons) | Market 2 Central/Southern New England Incremental Cost ($/Ton)
| CEE Tier 1 | CEE Tier 2
5.4 to 11.25 | 62.3806 | 124.7613
11.25 to 20 | 62.3806 | 124.7613
20 to 63 | 18.6055 | 37.211
Size Category (Tons) | Market 3 New England City Incremental Cost ($/Ton)
| CEE Tier 1 | CEE Tier 2
5.4 to 11.25 | 63.9281 | 127.8562
11.25 to 20 | 63.9281 | 127.8562
20 to 63 | 19.067 | 38.1341
Size Category (Tons) | Market 4 NY Metro Incremental Cost ($/Ton)
| CEE Tier 1 | CEE Tier 2
5.4 to 11.25 | 65.1807 | 130.3613
11.25 to 20 | 65.1807 | 130.3613
20 to 63 | 19.4406 | 38.8813
Size Category (Tons) | Market 5 NY Upstate Incremental Cost ($/Ton)
| CEE Tier 1 | CEE Tier 2
5.4 to 11.25 | 62.5645 | 125.1291
11.25 to 20 | 62.5645 | 125.1291
20 to 63 | 18.6604 | 37.3207
Size Category (Tons) | Market 5 NY Upstate Incremental Cost ($/Ton)
| CEE Tier 1 | CEE Tier 2
5.4 to 11.25 | 62.9609 | 125.9219
11.25 to 20 | 62.9609 | 125.9219
20 to 63 | 18.7786 | 37.5572
Base Cost Factors
Size Category (Tons) | Non Regional Specific Incremental Cost ($/Ton)
| CEE Tier 1 | CEE Tier 2
5.4 to 11.25 | 63.4207 | 126.8415
11.25 to 20 | 63.4207 | 126.8415
20 to 63 | 18.9157 | 37.8314
Market | Market Code | Regions | Material Adjustment Factor | Labor Adjustment Factor | Total
Northern New England | 1 | ME, VT, NH | 0.97583 | 0.81533 | 0.90417
Central/Southern New England | 2 | MA (exc Boston), RI, most CT | 0.9836 | 1.1632 | 1.0628
New England City | 3 | Boston, Providence | 1.008 | 1.2795 | 1.1275
NY Metro | 4 | NYC, Metro, Suburbs, Southeast CT, | 1.0278 | 1.5593 | 1.262
NY Upstate | 5 | Buffalo, Rochester etc. | 0.9865 | 1.0135 | 0.99825
Mid-Atlantic | 6 | MD, DE, DC | 0.99275 | 0.88775 | 0.94625
National Average | - | - | 1 | 1 | 1
Summary of incremental cost data analysis for commercial Unitary AC:
Regional adjustment factors are applied to national average incremental costs. Regional adjustment factors were developed using RSMeans Masterformat City Cost Indexes based on weighted average of division category .

## Data Analysis
Raw Data | [23 empty] | Formatted Data | [19 empty] | Material Analysis | [7 empty] | Labor Analysis |  |  | Regional Adjustment Factors | [5 empty] | Results
Commercial Unitary Air Conditioners | [23 empty] | Note: All costs and Labor were adjusted to reflect National values based on RSMeans City Cost Indexes (CCI). | [19 empty] | Commercial Unitary Air Conditioners
Reference: RSMeans Masterformat City Cost Indexes based on weighted average of division category
Primary Data | [23 empty] | Commercial Unitary Air Conditioners | [19 empty] | Regression for Size Category 1 (<5.4 tons) | [7 empty] | Commercial Unitary Air Conditioners |  |  | Installation costs include both labor and equipment rental costs | [5 empty] | Commercial Unitary Air Conditioners
Utility | Source | Date | Region | ID | Invoice # | Make | RTU Model Number | RTU Serial Number | Condenser | Evaporator | Size Category | Efficiency Tier | SEER | EER | Tons | IEER | Total Equip Cost | Other Materials | Labor Rate ($/Hr) | Tot Labor Hours | Installed Cost | Sector | Notes | Region | ID | Invoice/Interview # | Make | Size Category | CEE Tier | SEER/EER | Tons | EER for Size Category 1 | IEER | Equip Cost ($/AC) | Non Regional Specific Adjusted Equipment Cost ($/AC) | Other Materials | Labor Rate ($/Hr) | Non Regional SpecificAdjusted Labor Rate ($/Hr) | Incr. Labor Hrs | Tot Labor Hours | Installed Cost | $/Ton | Ignore? |  | SEER | [6 empty] | Efficient Measure |  |  | Region | Market Code | Reference City | Material | Installation | Total | CEE Tier 1 |  |  | Efficient Measure |  |  | Baseline Measure |  |  | Estimated Incremental Cost Results ($/ton)
NSTAR | Invoice | 2011-12-11 | MA | 1 | DK | TRANE | YHC072E3RHA001S | N/A |  |  | 2 | 2 | 15 | 12.6 | 6 |  | 6850 |  |  |  | 11428.125 | Commercial | Installation cost is half of total for two units. | MA | 26 | 977218 | YORK | 1 | 0 | 13 | 2 | 11 |  | 1379 | 1384.8162 | [5 empty] | N/A | 692.4081 | N | Tons | 13 | 14 | 15 | 16 | 17 |  |  | Labor Rate ($/Hr) | 84 |  | Maine | 1 | Portland | 99.2 | 92.1 | 96.1 | Size Category | Tons | SEER/EER Rating | Efficient Material Cost | Efficient Labor Cost | Efficient Installed Cost | Base Material Cost | Base Labor Cost | Base Installed Cost | Material Cost | Labor Cost | Installed Cost
NSTAR | Invoice | 2011-12-11 | MA | 2 | DK | TRANE | YHC060E3RHA001S | N/A |  |  | 1 | 2 | 15 | 12.85 | 5 |  | 5750 |  |  |  | 10328.125 | Commercial | Installation cost is half of total for two units. | MA | 25 | 977218 | YORK | 1 | 0 | 13 | 3 | 11 |  | 4906 | 4926.6921 |  |  | 0 |  |  | N/A | 1642.2307 | N | 2 | 1398.5513 | 1387.5015 | 1376.4517 | 1365.4019 | 1354.3521 |  |  | Labor Hours (Hr) - Size 1 | 19 | Varies by size, but same as baseline | Maine | 1 | Rockland | 94.2 | 87.5 | 91.2 | 2 | 6 | 11.5 | 715.404 | 336 | 1051.404 | 651.9832 | 336 | 987.9832 | 63.4207 | 0 | 63.4207
NSTAR | Invoice | 2011-11-07 | MA | 3 | DK | CARRIER | 48HCED12A2A5-0A0A0 | N/A |  |  | 2 | 1 |  | 11.5 | 10 |  | 5321 |  |  |  | N/A | Commercial |  | MA | 50 | 1451726 | YORK | 1 | 0 | 13 | 3 |  |  | 4492 | 4510.946 |  |  | 0 |  |  | N/A | 1503.6487 | N | 3 | 1272.4388 | 1261.389 | 1250.3393 | 1239.2895 | 1228.2397 |  |  | Labor Hours (Hr) - Size 2 | 24 |  | Massachusetts | 3 | Boston | 101.5 | 139.2 | 118.1 | 2 | 7 | 11.5 | 706.5118 | 288 | 994.5118 | 643.0911 | 288 | 931.0911 | 63.4207 | 0 | 63.4207
NSTAR | Invoice | 2012-09-12 | MA | 4 | DK | CARRIER | 48HCEA06A2A5-0B0A0 | 1512C79566 |  |  | 1 | 2 | 15.2 | 12.45 | 5 |  | 2952.99 | 331.6 |  |  | N/A | Commercial |  | MA | 24 | 977218 | YORK | 1 | 0 | 13 | 4 | 11 |  | 4081 | 4098.2125 |  |  | 0 |  |  | N/A | 1024.5531 | N | 4 | 1146.3264 | 1135.2766 | 1124.2268 | 1113.177 | 1102.1272 |  |  | Labor Hours (Hr) - Size 3 | 29 |  | Massachusetts | 2 | Fall River | 99.9 | 127.9 | 112.3 | 2 | 8 | 11.5 | 697.6197 | 252 | 949.6197 | 634.199 | 252 | 886.199 | 63.4207 | 0 | 63.4207
NSTAR | Invoice | 2012-09-12 | MA | 5 | DK | CARRIER | 48HCED08A2A5-0B0A0 | 3012G20027 |  |  | 2 | 2 |  | 12 | 7.5 |  | 4140.04 | 964.4 |  |  | N/A | Commercial |  | MA | 51 | 1451726 | YORK | 1 | 0 | 13 | 5 |  |  | 5189 | 5210.8857 |  |  | 0 |  |  | N/A | 1042.1771 | N | 5 | 1020.2139 | 1009.1641 | 998.1143 | 987.0645 | 976.0147 |  |  | Labor Hours (Hr) - Size 4 | 39 |  | Massachusetts | 2 | Greenfield | 96.9 | 109.9 | 102.6 | 2 | 9 | 11.5 | 688.7276 | 224 | 912.7276 | 625.3069 | 224 | 849.3069 | 63.4207 | 0 | 63.4207
NSTAR | Invoice | 2012-05-15 | MA | 6 | DK | YORK | ZJ120N15P2KZZ50003 | N/A |  |  | 2 | 2 |  | 12.2 | 10 |  | 4460 |  |  |  | N/A | Commercial |  | RI | 20 | 2396546 | TRANE | 1 | 2 | 16 | 2.5 |  |  | 3670 | 3685.479 |  |  | 0 |  |  | N/A | 1474.1916 | N | [11 empty] | Massachusetts | 2 | Pittsfield | 99.1 | 107.1 | 102.7 | 2 | 10 | 11.5 | 679.8355 | 201.6 | 881.4355 | 616.4148 | 201.6 | 818.0148 | 63.4207 | 0 | 63.4207
NSTAR | Invoice | 2012-05-15 | MA | 7 | DK | YORK | SJ03N07P2DZZ50004 | N/A |  |  | 1 | 2 | 15 | 12.2 | 3 |  | 3024 |  |  |  | N/A | Commercial |  | MA | 7 | DK | YORK | 1 | 2 | 15 | 3 | 12.2 |  | 3024 | 3036.7544 |  |  | 0 |  |  | N/A | 1012.2515 | N | [8 empty] | Baseline Measure |  |  | New Hampshire | 1 | Manchester | 100.6 | 94 | 97.2 | 3 | 12.5 | 11.5 | 657.6052 | 194.88 | 852.4852 | 594.1845 | 194.88 | 789.0645 | 63.4207 | 0 | 63.4207
NSTAR | Invoice | 2012-05-15 | MA | 8 | DK | YORK | ZJ061N07P2KZZ50001 | N/A |  |  | 1 | 2 | 15 | 12.2 | 5 |  | 3969 |  |  |  | N/A | Commercial |  | MA | 35 | 2063947 | YORK | 1 | 2 | 15 | 3 | 12.2 |  | 3024 | 3036.7544 |  |  | 0 |  |  | N/A | 1012.2515 | N | Material Regression for Size Category 1 | [7 empty] | Labor Rate ($/Hr) | 84 |  | New Hampshire | 1 | Claremont | 94.9 | 70.7 | 84.2 | 3 | 15 | 11.5 | 635.3749 | 162.4 | 797.7749 | 571.9542 | 162.4 | 734.3542 | 63.4207 | 0 | 63.4207
NSTAR | Invoice | 2012-09-18 | MA | 9 | DK | TRANE | YHC092F3RHA008G | 122511678L |  |  | 2 | 2 |  | 12.6 | 7.5 |  | 6500 | 840 |  |  | N/A | Commercial |  | MA | 45 | 1322777 | YORK | 1 | 2 | 15 | 3 | 12.2 |  | 5733 | 5757.1802 |  |  | 0 |  |  | N/A | 1919.0601 | N | -126.1125 | -11.0498 | 1794.4237 | [5 empty] | Labor Hours (Hr) - Size 1 | 19 | Varies by size | Rhode Island | 2 | Newport | 98.7 | 116.7 | 106.6 | 4 | 20 | 10.3 | 713.4348 | 163.8 | 877.2348 | 694.5191 | 163.8 | 858.3191 | 18.9157 | 0 | 18.9157
NSTAR | Invoice | 2012-12-28 | MA | 10 | DK | CARRIER | 48HCFD17A3A5-0F0A0 | 5010U37879 |  |  | 3 | 2 |  | 12 | 15 |  | 8417 |  |  |  | N/A | Commercial |  | RI | 61 | 1685582 | YORK | 1 | 2 | 15 | 3 | 12.2 |  | 3778 | 3793.9345 |  |  | 0 |  |  | N/A | 1264.6448 | N | 81.1408 | 75.3016 | 1048.6475 | [5 empty] | Labor Hours (Hr) - Size 2 | 24 |  | Rhode Island | 3 | Providence | 100.1 | 116.7 | 107.4 | 4 | 30 | 10.3 | 573.1642 | 109.2 | 682.3642 | 554.2485 | 109.2 | 663.4485 | 18.9157 | 0 | 18.9157
NSTAR | Invoice | 2013-02-14 | MA | 11 | DK | TRANE | 07-YHC092F3RHA001S | 124610563L |  |  | 2 | 2 |  | 12.6 | 7.5 |  | 5882.33 | 244.58 |  |  | N/A | Commercial |  | MA | 29 | 954601 | TRANE | 1 | 2 | 15 | 3 | 12.7 |  | 4220.09 | 4237.8891 |  |  | 0 |  |  | N/A | 1412.6297 | N | 0.10461 | 403.4859 | #N/A | [5 empty] | Labor Hours (Hr) - Size 3 | 29 |  | New York | 5 | Albany | 97 | 99.8 | 98.2 | 4 | 40 | 10.3 | 432.8936 | 81.9 | 514.7936 | 413.9779 | 81.9 | 495.8779 | 18.9157 | 0 | 18.9157
NSTAR | Invoice | 2012-10-15 | MA | 12 | DK | TRANE | YHC092F3RHA00D2 | N/A |  |  | 2 | 2 |  | 12.6 | 7.5 |  | 6176.47 | 95.53 |  |  | N/A | Commercial |  | MA | 56 | 1563520 | CARRIER | 1 | 2 | 15.6 | 4 | 13 |  | 3676 | 3691.5043 | 65 |  | 0 |  |  | N/A | 922.8761 | N | 1.5188 | 26 | #N/A | [5 empty] | Labor Hours (Hr) - Size 4 | 39 |  | New York | 4 | Brooklyn | 103 | 164.8 | 130.2
NSTAR | Invoice | 2012-12-31 | MA | 13 | DK | CARRIER | EQP48HCED12A2A5-0A0A | N/A |  |  | 2 | 1 |  | 11.5 | 10 |  | 6794.4 | 534.46 | 92 | 69.5 | 15242.67 | Commercial |  | MA | 31 | 2015915 | TRANE | 1 | 2 | 15 | 4 |  |  | 4737.02 | 4756.9994 |  |  | 0 |  |  | N/A | 1189.2498 | N | 494510.7587 | 4232823.4973 | #N/A | [8 empty] | New York | 5 | Buffalo | 100 | 104.1 | 101.8 | CEE Tier 2 |  |  | Efficient Measure |  |  | Baseline Measure |  |  | Estimated Incremental Cost Results ($/ton)
NSTAR | Invoice | 2013-01-21 | MA | 14 | DK | CARRIER | 48HCED12A2M5-0F1F0 | 0213G40225 |  |  | 2 | 1 |  | 11.5 | 10 |  | 5610 | 65 |  |  | N/A | Commercial |  | MA | 41 | 839524 | CARRIER | 1 | 2 | 15.2 | 5 | 12 | 13 | 2971 | 2983.5308 | 525 |  | 0 |  |  | N/A | 596.7062 | N | [8 empty] | Labor Raw Data | Hours | Rate ($/hr) | New York | 4 | New York | 104.2 | 167 | 131.9 | Size Category | Tons | SEER/EER Rating | Efficient Material Cost | Efficient Labor Cost | Efficient Installed Cost | Base Material Cost | Base Labor Cost | Base Installed Cost | Material Cost | Labor Cost | Installed Cost
NSTAR | Invoice | 2013-01-21 | MA | 15 | DK | CARRIER | 48HCED14ACM5-0F1F0 | 4611G40365,4611G0366 |  |  | 3 | 2 |  | 12.2 | 12.5 |  | 7640 | 65 |  |  | N/A | Commercial |  | MA | 8 | DK | YORK | 1 | 2 | 15 | 5 | 12.2 |  | 3969 | 3985.7401 |  |  | 0 |  |  | N/A | 797.148 | N | Regression for Size Categories 2-4 (5.4-63 tons) | [7 empty] | Interview 1 - Size 1 | 20 | 70 | New York | 5 | Rochester | 100.1 | 96 | 98.3 | 2 | 6 | 12 | 778.8247 | 336 | 1114.8247 | 651.9832 | 336 | 987.9832 | 126.8415 | 0 | 126.8415
NSTAR | Invoice | 2012-12-11 | MA | 16 | DK | CARRIER | 48HCED09A2M5-0F1F0 | 0212G20292 |  |  | 2 | 2 |  | 12 | 8.5 |  | 5210 |  |  |  | N/A | Commercial |  | MA | 36 | 2063947 | YORK | 1 | 2 | 15 | 5 | 12.2 |  | 3817 | 3833.099 |  |  | 0 |  |  | N/A | 766.6198 | N |  | EER | [6 empty] | Interview 1 - Size 2 | 30 |  | New York | 5 | Niagara Falls | 97.5 | 105.5 | 101 | 2 | 7 | 12 | 769.9326 | 288 | 1057.9326 | 643.0911 | 288 | 931.0911 | 126.8415 | 0 | 126.8415
NSTAR | Invoice | 2012-12-11 | MA | 17 | DK | CARRIER | 48HCED12A2M5-0F1F0 | 3711G40458,3911G30433 |  |  | 2 | 1 |  | 11.5 | 10 |  | 5510 |  |  |  | N/A | Commercial |  | MA | 46 | 1322777 | YORK | 1 | 2 | 15 | 5 | 12.2 |  | 6420 | 6447.0777 |  |  | 0 |  |  | N/A | 1289.4155 | N | Tons | 10 | 10.3 | 10.6 | 11 | 11.5 | 12 | 13 | Interview 1 - Size 3 | 40 |  | New York | 4 | Long Island City | 102.5 | 164.8 | 130 | 2 | 8 | 12 | 761.0405 | 252 | 1013.0405 | 634.199 | 252 | 886.199 | 126.8415 | 0 | 126.8415
NSTAR | Invoice | 2013-04-15 | MA | 18 | DK | CARRIER | 48HCED08A2A5-0A0A0 | 4812G50040 |  |  | 2 | 2 |  | 12 | 7.5 |  | 7474.8 |  |  |  | 9374.8 | Commercial |  | RI | 62 | 1685582 | YORK | 1 | 2 | 15 | 5 | 12.2 |  | 4004 | 4020.8877 |  |  | 0 |  |  | N/A | 804.1775 | N | 6 |  |  |  | 651.9832 | 715.404 | 778.8247 | 905.6661 | Interview 1 - Size 4 | 60 |  | Vermont | 1 | Burlington | 100.5 | 77.8 | 90.5 | 2 | 9 | 12 | 752.1483 | 224 | 976.1483 | 625.3069 | 224 | 849.3069 | 126.8415 | 0 | 126.8415
NSTAR | Invoice | 2011-08-22 | MA | 19 | DK | YORK | ZJ120N20N2AAA5 | N/A |  |  | 2 | 2 |  | 12.2 | 10 |  | 5501.57 |  |  |  | N/A | Commercial |  | MD | 87 | HV-13-3151 | YORK | 1 | 2 | 15 | 5 | 12.2 |  | 6104.7 | 6149.2823 | 1205.55 | 95 | 95.4007 |  |  |  | 1229.8565 | N | 7 |  |  |  | 643.0911 | 706.5118 | 769.9326 | 896.774 | Interview 2 | 18 | 98 | Vermont | 1 | Guildhall | 96.1 | 67.1 | 83.3 | 2 | 10 | 12 | 743.2562 | 201.6 | 944.8562 | 616.4148 | 201.6 | 818.0148 | 126.8415 | 0 | 126.8415
National Grid | Invoice | 2012-11-15 | RI | 20 | 2396546 | TRANE | 4TTB4030E1000B | N/A |  |  | 1 | 2 | 16 |  | 2.5 |  | 3670 |  |  |  | N/A | Commercial |  | MA | 4 | DK | CARRIER | 1 | 2 | 15.2 | 5 | 12.45 |  | 2952.99 | 2965.4449 | 331.6 |  | 0 |  |  | N/A | 593.089 | N | 8 |  |  |  | 634.199 | 697.6197 | 761.0405 | 887.8819 |  |  |  | Connecticut | 4 | Stamford | 101.4 | 127.1 | 112.7 | 3 | 12.5 | 12 | 721.0259 | 194.88 | 915.9059 | 594.1845 | 194.88 | 789.0645 | 126.8415 | 0 | 126.8415
National Grid | Invoice | 2012-08-10 | MA | 21 | 2334477 | TRANE | YCD151F3HAA |  |  |  | 3 | 2 |  | 12 | 12.5 |  | 8698.69 |  |  |  | N/A | Commercial |  | MA | 65 | 1687246 | CARRIER | 1 | 2 | 15.2 | 5 | 12.45 |  | 3836 | 3852.1792 | 65 |  | 0 |  |  | N/A | 770.4358 | N | 9 |  |  |  | 625.3069 | 688.7276 | 752.1483 | 878.9898 |  |  |  | Connecticut | 2 | New London | 97.2 | 120 | 107.2 | 3 | 15 | 12 | 698.7957 | 162.4 | 861.1957 | 571.9542 | 162.4 | 734.3542 | 126.8415 | 0 | 126.8415
National Grid | Invoice | 2011-03-29 | MA | 22 | 977218 | YORK | ZH150N15P2DTA5 |  |  |  | 3 | 1 |  | 11.7 | 12.5 | 14.1 | 8014 |  |  |  | N/A | Commercial |  | MA | 75 | 1805245 | CARRIER | 1 | 2 | 15.2 | 5 | 12.5 |  | 2719.39 | 2730.8596 | 391.94 |  | 0 |  |  | N/A | 546.1719 | N | 10 |  |  |  | 616.4148 | 679.8355 | 743.2562 | 870.0977 |  |  |  | Delaware | 6 | Wilmington | 98.6 | 108.9 | 103.1 | 4 | 20 | 10.6 | 732.3505 | 163.8 | 896.1505 | 694.5191 | 163.8 | 858.3191 | 37.8314 | 0 | 37.8314
National Grid | Invoice | 2011-03-29 | MA | 23 | 977218 | YORK | ZH102N15P2DTA1 |  |  |  | 2 | 1 |  | 11.7 | 8.5 | 13 | 6471 |  |  |  | N/A | Commercial |  | PA | 82 | HV-13-2391 | CARRIER | 1 | 2 | 15 | 5 | 12.5 |  | 6138 | 6182.8255 |  |  | 0 |  |  |  | 1236.5651 | N | 12.5 |  |  |  | 594.1845 | 657.6052 | 721.0259 | 847.8674 |  |  |  | Maryland | 6 | Easton | 97.3 | 69.7 | 85.1 | 4 | 30 | 10.6 | 592.08 | 109.2 | 701.28 | 554.2485 | 109.2 | 663.4485 | 37.8314 | 0 | 37.8314
National Grid | Invoice | 2011-03-29 | MA | 24 | 977218 | YORK | ZF048N10P2DTA1 |  |  |  | 1 | 0 | 13 | 11 | 4 |  | 4081 |  |  |  | N/A | Commercial |  | MD | 83 | HV-13-2545 | YORK | 1 | 2 | 15 | 5 | 12.5 |  | 3514.12 | 3539.7834 |  |  | 0 |  |  |  | 707.9567 | N | 15 |  |  |  | 571.9542 | 635.3749 | 698.7957 | 825.6371 |  |  |  | Maryland | 6 | Baltimore | 100.1 | 84.1 | 93 | 4 | 40 | 10.6 | 451.8094 | 81.9 | 533.7094 | 413.9779 | 81.9 | 495.8779 | 37.8314 | 0 | 37.8314
National Grid | Invoice | 2011-03-29 | MA | 25 | 977218 | YORK | ZF036N08P2DTA1 |  |  |  | 1 | 0 | 13 | 11 | 3 |  | 4906 |  |  |  | N/A | Commercial |  | MA | 68 | 1791671 | LENNOX | 1 | 2 | 17 | 5 | 12.7 |  | 4510 | 4529.0219 |  |  | 0 |  |  | N/A | 905.8044 | N | 20 | 694.5191 | 713.4348 | 732.3505 | [7 empty] | D.C. | 6 | Washington | 101.1 | 92.4 | 97.3
National Grid | Invoice | 2011-03-29 | MA | 26 | 977218 | YORK | D2EZ024A06 |  |  |  | 1 | 0 | 13 | 11 | 2 |  | 1379 |  |  |  | N/A | Commercial |  | MD | 88 | HV-13-3517 | LENNOX | 1 | 2 | 17 | 5 | 12.7 |  | 5320.04 | 5358.892 |  |  | 0 |  |  |  | 1071.7784 | N | 30 | 554.2485 | 573.1642 | 592.08 | [7 empty] | National Average |  |  | 100 | 100 | 100
National Grid | Invoice | 2012-01-09 | MA | 27 | 954601 | TRANE | YHC072E4RHA--H000C1B00000 |  |  |  | 2 | 2 |  | 12.6 | 6 | 14.5 | 9452.5 |  |  |  | N/A | Commercial |  | MD | 90 | HV-13-3864 | LENNOX | 1 | 2 | 17 | 5 | 12.7 |  | 4297.24 | 4328.6225 |  |  | 0 |  |  |  | 865.7245 | N | 40 | 413.9779 | 432.8936 | 451.8094
National Grid | Invoice | 2012-01-09 | MA | 28 | 954601 | TRANE | YHC120E4RHA--H000C1B00000 |  |  |  | 2 | 2 |  | 12.5 | 10 | 14 | 14916.25 |  |  |  | N/A | Commercial |  | MA | 2 | DK | TRANE | 1 | 2 | 15 | 5 | 12.85 |  | 5750 | 5774.2519 |  |  | 0 |  |  | 10328.125 | 1154.8504 | N | [11 empty] | City Cost Index number is a percentage ratio of a specific city’s cost to the national average cost of the same item at a stated time period.
National Grid | Invoice | 2012-01-09 | MA | 29 | 954601 | TRANE | YHC036E3RHA--H000C1B00000 |  |  |  | 1 | 2 | 15 | 12.7 | 3 |  | 4220.09 |  |  |  | N/A | Commercial |  | PA | 77 | HU-11-1580 | TRANE | 1 | 2 | 15 | 5 |  |  | 11675 | 11760.2619 |  |  | 0 |  |  |  | 2352.0524 | N
National Grid | Invoice | 2012-01-18 | MA | 30 | 2015915 | TRANE | YHC120E3RHA**H0B0A1B0000**** |  |  |  | 2 | 2 |  | 12.5 | 10 |  | 8264.37 |  |  |  | N/A | Commercial |  | MA | 99 | 2 | TRANE | 2 | 0 | 11.2 | 6 |  | 13 | 4072 | 4089.1745 |  | 98 | 98.7157 |  | 18 | 5836 | 681.5291 | N | Material Regression for Size Categories 2&3
National Grid | Invoice | 2012-01-18 | MA | 31 | 2015915 | TRANE | YHC048E3RHA**H2B0A1B0000**** |  |  |  | 1 | 2 | 15 |  | 4 |  | 4737.02 |  |  |  | N/A | Commercial |  | MA | 117 | 2 | Not specified | 2 | 0 | 11.2 | 6.5 |  |  | 3711.5 | 3727.154 |  | 98 | 97.3067 |  | 18 | 5475.5 | 573.4083 | N | -8.8921 | 126.8415 | -689.92
National Grid | Invoice | 2012-01-27 | MA | 32 | 2015946 | CARRIER | 48HCED08A2A5-0A0A0 |  |  |  | 2 | 2 |  | 12 | 7.5 | 13 | 5455 |  |  |  | N/A | Commercial |  | MA | 100 | 2 | TRANE | 2 | 0 | 11.2 | 7.5 |  | 13 | 5604 | 5627.6361 |  | 98 | 98.4133 |  | 18 | 7368 | 750.3515 | N | 9.8414 | 51.0658 | 638.286
National Grid | Invoice | 2012-04-04 | MA | 33 | 2059859 | CARRIER | 48HCED12A2A5-0A0A0 |  |  |  | 2 | 1 |  | 11.5 | 10 | 12 | 8457 |  |  |  | N/A | Commercial |  | MA | 118 | 2 | Not specified | 2 | 0 | 11.2 | 7.5 |  |  | 4170 | 4187.5879 |  | 98 | 98.7157 |  | 18 | 5934 | 558.345 | N | 0.097394 | 208.4526 | #N/A | [8 empty] | Market | Market Code | Example | Material Adjustment Factor | Labor Adjustment Factor | Total Adjustment Factor
National Grid | Invoice | 2012-05-16 | MA | 34 | 2063947 | YORK | ZJ120N15P2DZZ50006 |  |  |  | 2 | 2 |  | 12.2 | 10 |  | 4337 |  |  |  | N/A | Commercial |  | MA | 96 | 1 | Not specified | 2 | 0 | 11 | 8.3333 |  | 11.2 | 3200 | 3213.4967 | 1600 | 70 | 70.5112 |  | 40 | 7600 | 385.6196 | N | 4.3701 | 81 | #N/A | [8 empty] | Northern New England | 1 | ME, VT, NH | 0.97583 | 0.81533 | 0.90417
National Grid | Invoice | 2012-05-16 | MA | 35 | 2063947 | YORK | ZJ037N07P2DZZ50004 |  |  |  | 1 | 2 | 15 | 12.2 | 3 |  | 3024 |  |  |  | N/A | Commercial |  | MA | 101 | 2 | TRANE | 2 | 0 | 11.2 | 8.5 |  | 13 | 6402 | 6429.0018 |  | 98 | 98.7157 |  | 18 | 8166 | 756.3532 | N | 379782.4892 | 3519652.6183 | #N/A | [8 empty] | Central/Southern New England | 2 | MA exc Boston, RI, most CT | 0.9836 | 1.1632 | 1.0628
National Grid | Invoice | 2012-05-16 | MA | 36 | 2063947 | YORK | ZJ061N07P2DZZ50003 |  |  |  | 1 | 2 | 15 | 12.2 | 5 |  | 3817 |  |  |  | N/A | Commercial |  | MA | 119 | 2 | Not specified | 2 | 0 | 11.2 | 8.5 |  |  | 4505 | 4524.0008 |  | 98 | 98.7157 |  | 18 | 6269 | 532.2354 | N | [11 empty] | New England City | 3 | Boston, Providence | 1.008 | 1.2795 | 1.1275
National Grid | Invoice | 2012-08-09 | MA | 37 | 2064728 | YORK | ZJ120S20P4TZZ50002 |  |  |  | 2 | 2 |  | 12.2 | 10 |  | 12332.15 | 2214.04 |  |  | N/A | Commercial |  | MA | 120 | 2 | Not specified | 2 | 0 | 11.2 | 10 |  |  | 4810 | 4830.2872 |  | 98 | 98.7157 |  | 18 | 6574 | 483.0287 | N | Material Regression for Size Category 4 | [10 empty] | NY Metro | 4 | NYC, metro suburbs Southeast CT, | 1.0278 | 1.5593 | 1.262
National Grid | Invoice | 2012-09-24 | MA | 38 | 2121921 | BRYANT | 581J-12D |  |  |  | 2 | 1 |  | 11.5 | 10 | 12 | 8500 |  |  |  | 13550 | Commercial |  | MA | 47 | 1412791 | TRANE | 2 | 0 | 11.3 | 10 |  |  | 11653.11 | 11702.2595 |  |  | 0 |  |  | N/A | 1170.2259 | N | -14.0271 | 63.0524 | 344.5364 | [8 empty] | NY Upstate | 5 | Buffalo, Rochester etc. | 0.9865 | 1.0135 | 0.99825
National Grid | Invoice | 2012-09-17 | MA | 39 | 2205443 | CARRIER | 48HCED08A2A5-0A0A0 |  |  |  | 2 | 2 |  | 12 | 7.5 |  | 5134.05 |  |  |  | 15425 | Commercial |  | MA | 54 | 1492453 | TRANE | 2 | 0 | 11.3 | 10 |  |  | 12660.73 | 12714.1293 |  |  | 0 |  |  | N/A | 1271.4129 | N | 1.125 | 15.8973 | 187.6327 | [8 empty] | Mid-Atlantic - | 6 | MD, DE DC | 0.99275 | 0.88775 | 0.94625
National Grid | Invoice | 2012-09-14 | MA | 40 | 2311085 | TRANE | YHC072F3RMA008G |  |  |  | 2 | 2 |  | 12.6 | 6 | 14.5 | 4318 |  |  |  | N/A | Commercial |  | MA | 102 | 2 | TRANE | 2 | 0 | 11.3 | 10 |  | 13 | 7250 | 7280.5784 |  | 98 | 98.4133 |  | 18 | 9014 | 728.0578 | N | 0.98703 | 23.2145 | #N/A | [8 empty] | National Average | - | - | 1 | 1 | 1
National Grid | Invoice | 2011-04-27 | MA | 41 | 839524 | CARRIER | 48HCEA06A2A5-0A0A0 |  |  |  | 1 | 2 | 15.2 | 12 | 5 | 13 | 2971 | 525 |  |  | N/A | Commercial |  | MA | 23 | 977218 | YORK | 2 | 1 | 11.7 | 8.5 |  | 13 | 6471 | 6498.2928 |  |  | 0 |  |  | N/A | 764.505 | N | 152.1934 | 4 | #N/A
National Grid | Invoice | 2011-04-27 | MA | 42 | 839524 | CARRIER | 48HCED09A2A5-0A0A0 |  |  |  | 2 | 2 |  | 12 | 8.5 |  | 4765 | 625 |  |  | N/A | Commercial |  | MA | 3 | DK | CARRIER | 2 | 1 | 11.5 | 10 |  |  | 5321 | 5343.4425 |  |  | 0 |  |  | N/A | 534.3442 | N | 164037.298 | 2155.6431 | #N/A
National Grid | Invoice | 2011-04-27 | MA | 43 | 839524 | CARRIER | 48HCFD14A2A4-0A0A0 |  |  |  | 3 | 2 |  | 12.2 | 12.5 |  | 6731.5 | 625 |  |  | N/A | Commercial |  | MA | 13 | DK | CARRIER | 2 | 1 | 11.5 | 10 |  |  | 6794.4 | 6823.0568 | 534.46 | 92 | 92.6719 |  | 69.5 | 15242.67 | 682.3057 | N
National Grid | Invoice | 2011-06-12 | RI | 44 | 1322777 | YORK | ZJ120N20P2DZZ50004 |  |  |  | 2 | 2 |  | 12.2 | 10 |  | 6944 |  |  |  | N/A | Commercial |  | MA | 14 | DK | CARRIER | 2 | 1 | 11.5 | 10 |  |  | 5610 | 5633.6614 | 65 |  | 0 |  |  | N/A | 563.3661 | N | [11 empty] | Raw Data Regions | Material Adjustment Factor | Labor Adjustment Factor
National Grid | Invoice | 2011-06-12 | MA | 45 | 1322777 | YORK | ZJ037N09P2DZZ50003 |  |  |  | 1 | 2 | 15 | 12.2 | 3 |  | 5733 |  |  |  | N/A | Commercial |  | MA | 17 | DK | CARRIER | 2 | 1 | 11.5 | 10 |  |  | 5510 | 5533.2396 |  |  | 0 |  |  | N/A | 553.324 | N | [11 empty] | MA | 0.9958 | 1.2213
National Grid | Invoice | 2011-06-12 | MA | 46 | 1322777 | YORK | ZJ061N09P2DZZ50004 |  |  |  | 1 | 2 | 15 | 12.2 | 5 |  | 6420 |  |  |  | N/A | Commercial |  | MA | 33 | 2059859 | CARRIER | 2 | 1 | 11.5 | 10 |  | 12 | 8457 | 8492.6692 |  |  | 0 |  |  | N/A | 849.2669 | N | [11 empty] | RI | 0.9958 | 1.2213
National Grid | Invoice | 2011-10-20 | MA | 47 | 1412791 | TRANE | YHC120E3RZA**H0C1A2A0B0A0**** |  |  |  | 2 | 0 |  | 11.3 | 10 |  | 11653.11 |  |  |  | N/A | Commercial |  | MA | 38 | 2121921 | BRYANT | 2 | 1 | 11.5 | 10 |  | 12 | 8500 | 8535.8506 |  |  | 0 |  |  | 13550 | 853.5851 | N | [11 empty] | PA | 0.99275 | 0.88775
National Grid | Invoice | 2011-12-23 | MA | 48 | 1430156 | CARRIER | 48HCED12A2A6-0A0A0 | 4811G30220 |  |  | 2 | 1 |  | 11.5 | 10 |  | 6570 |  |  |  | N/A | Commercial |  | MA | 48 | 1430156 | CARRIER | 2 | 1 | 11.5 | 10 |  |  | 6570 | 6597.7104 |  |  | 0 |  |  | N/A | 659.771 | N | [11 empty] | MD | 0.99275 | 0.88775
National Grid | Invoice | 2011-01-18 | MA | 49 | 1451726 | YORK | ZH120N15P2DZZ50002 |  |  |  | 2 | 1 |  | 11.7 | 10 |  | 6454 |  |  |  | N/A | Commercial |  | MA | 58 | 1586449 | CARRIER | 2 | 1 | 11.5 | 10 |  |  | 6289.97 | 6316.4993 |  |  | 0 |  |  | 12374 | 631.6499 | N
National Grid | Invoice | 2011-01-18 | MA | 50 | 1451726 | YORK | ZF036N08P2DZZ10002 |  |  |  | 1 | 0 | 13 |  | 3 |  | 4492 |  |  |  | N/A | Commercial |  | MA | 74 | 1805245 | CARRIER | 2 | 1 | 11.5 | 10 |  |  | 5247.4 | 5269.532 | 456.33 |  | 0 |  |  | N/A | 526.9532 | N
National Grid | Invoice | 2011-01-18 | MA | 51 | 1451726 | YORK | ZF060N08P2DZZ10002 |  |  |  | 1 | 0 | 13 |  | 5 |  | 5189 |  |  |  | N/A | Commercial |  | PA | 79 | HV-13-2237 | CARRIER | 2 | 1 | 11.5 | 10 |  |  | 5610 | 5650.9695 | 260 |  | 0 |  |  |  | 565.097 | N
National Grid | Invoice | 2011-12-15 | MA | 52 | 1456049 | CARRIER | 48HCED08A2A50A0A0 | 4711G10177 |  |  | 2 | 2 |  | 12 | 7.5 | 13 | 7128 |  |  |  | 9128 | Commercial |  | MA | 49 | 1451726 | YORK | 2 | 1 | 11.7 | 10 |  |  | 6454 | 6481.2211 |  |  | 0 |  |  | N/A | 648.1221 | N
National Grid | Invoice | 2010-06-22 | MA | 53 | 1456059 | CARRIER | 48HCED08A2A5-0A0A0 | 1110G30561 |  |  | 2 | 2 |  | 12 | 7.5 |  | 4990.7 |  |  |  | N/A | Commercial |  | MA | 57 | 1563520 | CARRIER | 2 | 2 | 12 | 6 |  | 13 | 4009 | 4025.9088 | 65 |  | 0 |  |  | N/A | 670.9848 | N
National Grid | Invoice | 2011-10-07 | MA | 54 | 1492453 | TRANE | YHC120E3RZA**H0C1A2A000C0**** |  |  |  | 2 | 0 |  | 11.3 | 10 |  | 12660.73 |  |  |  | N/A | Commercial |  | PA | 81 | HV-13-2237 | CARRIER | 2 | 2 | 12 | 6 |  | 13 | 3677 | 3703.8529 | 260 |  | 0 |  |  |  | 617.3088 | N
National Grid | Invoice | 2011-10-12 | MA | 55 | 1563520 | CARRIER | 48HCED17A2P5-0F1F0 |  |  |  | 3 | 2 |  | 12 | 15 |  | 9108 | 65 |  |  | N/A | Commercial |  | MD | 84 | HV-13-2855 | LENNOX | 2 | 2 | 12 | 6 |  | 12.5 | 5402 | 5441.4505 |  |  | 0 |  |  |  | 906.9084 | N
National Grid | Invoice | 2011-10-12 | MA | 56 | 1563520 | CARRIER | 48HCEA05A2P5-0F1F0 |  |  |  | 1 | 2 | 15.6 | 13 | 4 |  | 3676 | 65 |  |  | N/A | Commercial |  | MA | 1 | DK | TRANE | 2 | 2 | 12.6 | 6 |  |  | 6850 | 6878.8913 |  |  | 0 |  |  | 11428.125 | 1146.4819 | N
National Grid | Invoice | 2011-10-12 | MA | 57 | 1563520 | CARRIER | 48HCEA07A2P50F1F0 |  |  |  | 2 | 2 |  | 12 | 6 | 13 | 4009 | 65 |  |  | N/A | Commercial |  | MA | 27 | 954601 | TRANE | 2 | 2 | 12.6 | 6 |  | 14.5 | 9452.5 | 9492.3679 |  |  | 0 |  |  | N/A | 1582.0613 | N
National Grid | Invoice | 2012-01-12 | MA | 58 | 1586449 | CARRIER | 48HCED12A2A5-0A0A0 |  |  |  | 2 | 1 |  | 11.5 | 10 |  | 6289.97 |  |  |  | 12374 | Commercial |  | MA | 40 | 2311085 | TRANE | 2 | 2 | 12.6 | 6 |  | 14.5 | 4318 | 4336.2121 |  |  | 0 |  |  | N/A | 722.702 | N
National Grid | Invoice | 2011-10-14 | MA | 59 | 1597776 | CARRIER | 48HCDD14A2A6-0A0A0 | 3711G30528 |  |  | 3 | 2 |  | 12.2 | 12.5 |  | 10128.6 | 5504.5 |  |  | 11478.6 | Commercial |  | MA | 106 | 2 | TRANE | 2 | 2 | 12.6 | 6 |  | 14.5 | 4583 | 4602.3298 |  | 98 | 98.4133 |  | 18 | 6347 | 767.055 | N
National Grid | Invoice | 2011-11-16 | RI | 60 | 1685582 | YORK | ZJ120N15P2KZZ50003 |  |  |  | 2 | 2 |  | 12.2 | 10 |  | 5560 |  |  |  | N/A | Commercial |  | MA | 113 | 2 | Not specified | 2 | 2 | 12 | 6.5 |  |  | 4199 | 4216.7102 |  | 98 | 98.4133 |  | 18 | 5963 | 648.7246 | N
National Grid | Invoice | 2011-11-16 | RI | 61 | 1685582 | YORK | ZJ037N05P2KZZ50002 |  |  |  | 1 | 2 | 15 | 12.2 | 3 |  | 3778 |  |  |  | N/A | Commercial |  | MA | 5 | DK | CARRIER | 2 | 2 | 12 | 7.5 |  |  | 4140.04 | 4157.5015 | 964.4 |  | 0 |  |  | N/A | 554.3335 | N
National Grid | Invoice | 2011-11-16 | RI | 62 | 1685582 | YORK | ZJ061N07P2KZZ50001 |  |  |  | 1 | 2 | 15 | 12.2 | 5 |  | 4004 |  |  |  | N/A | Commercial |  | MA | 18 | DK | CARRIER | 2 | 2 | 12 | 7.5 |  |  | 7474.8 | 7506.3266 |  |  | 0 |  |  | 9374.8 | 1000.8435 | N
National Grid | Invoice | 2012-01-24 | MA | 63 | 1686895 | LENNOX | LGH102H4BH |  |  |  | 2 | 2 |  | 12.2 | 8.5 | 12.9 | 5316 |  |  |  | N/A | Commercial |  | MA | 32 | 2015946 | CARRIER | 2 | 2 | 12 | 7.5 |  | 13 | 5455 | 5478.0076 |  |  | 0 |  |  | N/A | 730.401 | N
National Grid | Invoice | 2012-01-20 | MA | 64 | 1687246 | CARRIER | 48HCED08A2P6-0F1F0 |  |  |  | 2 | 2 |  | 12 | 7.5 |  | 5023 | 65 |  |  | N/A | Commercial |  | MA | 39 | 2205443 | CARRIER | 2 | 2 | 12 | 7.5 |  |  | 5134.05 | 5155.704 |  |  | 0 |  |  | 15425 | 687.4272 | N
National Grid | Invoice | 2012-01-20 | MA | 65 | 1687246 | CARRIER | Not specified |  |  |  | 1 | 2 | 15.2 | 12.45 | 5 |  | 3836 | 65 |  |  | N/A | Commercial |  | MA | 52 | 1456049 | CARRIER | 2 | 2 | 12 | 7.5 |  | 13 | 7128 | 7158.0639 |  |  | 0 |  |  | 9128 | 954.4085 | N
National Grid | Invoice | 2011-06-08 | MA | 66 | 1706373 | CARRIER | 48HCED08A |  |  |  | 2 | 2 |  | 12 | 7.5 |  | 7372.77 | 185 |  |  | 9982.77 | Commercial |  | MA | 53 | 1456059 | CARRIER | 2 | 2 | 12 | 7.5 |  |  | 4990.7 | 5011.7493 |  |  | 0 |  |  | N/A | 668.2332 | N
National Grid | Invoice | 2011-06-08 | MA | 67 | 1706373 | CARRIER | 48HCED08A |  |  |  | 2 | 2 |  | 12 | 7.5 |  | 7372.77 | 185 |  |  | 9882.77 | Commercial |  | MA | 64 | 1687246 | CARRIER | 2 | 2 | 12 | 7.5 |  |  | 5023 | 5044.1856 | 65 |  | 0 |  |  | N/A | 672.5581 | N
National Grid | Invoice | 2012-03-08 | MA | 68 | 1791671 | LENNOX | LGH060S4 |  |  |  | 1 | 2 | 17 | 12.7 | 5 |  | 4510 |  |  |  | N/A | Commercial |  | MA | 66 | 1706373 | CARRIER | 2 | 2 | 12 | 7.5 |  |  | 7372.77 | 7403.8662 | 185 |  | 0 |  |  | 9982.77 | 987.1822 | N
National Grid | Invoice | 2012-03-08 | MA | 69 | 1791671 | LENNOX | LGH092H4 |  |  |  | 2 | 2 |  | 12.5 | 7.5 | 13 | 7287 |  |  |  | N/A | Commercial |  | MA | 67 | 1706373 | CARRIER | 2 | 2 | 12 | 7.5 |  |  | 7372.77 | 7403.8662 | 185 |  | 0 |  |  | 9882.77 | 987.1822 | N
National Grid | Invoice | 2012-03-08 | MA | 70 | 1791671 | LENNOX | LGH150S4 |  |  |  | 3 | 0 |  | 11 | 12.5 | 13.1 | 9360 |  |  |  | N/A | Commercial |  | MA | 114 | 2 | Not specified | 2 | 2 | 12 | 7.5 |  |  | 4800 | 4820.245 |  | 98 | 98.4133 |  | 18 | 6564 | 642.6993 | N
National Grid | Invoice | 2012-03-08 | MA | 71 | 1791671 | LENNOX | LGH240H4 |  |  |  | 4 | 2 |  | 12 | 20 | 13.2 | 16134 |  |  |  | N/A | Commercial |  | MA | 69 | 1791671 | LENNOX | 2 | 2 | 12.5 | 7.5 |  | 13 | 7287 | 7317.7345 |  |  | 0 |  |  | N/A | 975.6979 | N
National Grid | Invoice | 2012-03-08 | MA | 72 | 1791671 | LENNOX | LGH300S4 |  |  |  | 4 | 1 |  | 10.5 | 25 | 13.8 | 16736 |  |  |  | N/A | Commercial |  | MA | 9 | DK | TRANE | 2 | 2 | 12.6 | 7.5 |  |  | 6500 | 6527.4151 | 840 |  | 0 |  |  | N/A | 870.322 | N
National Grid | Invoice | 2012-03-08 | MA | 73 | 1791671 | LENNOX | LGH300S4 |  |  |  | 4 | 1 |  | 10.5 | 25 | 13.8 | 17117 |  |  |  | N/A | Commercial |  | MA | 11 | DK | TRANE | 2 | 2 | 12.6 | 7.5 |  |  | 5882.33 | 5907.14 | 244.58 |  | 0 |  |  | N/A | 787.6187 | N
National Grid | Invoice | 2011-10-20 | MA | 74 | 1805245 | CARRIER | 48HCED12A2A5-0A0A0 |  |  |  | 2 | 1 |  | 11.5 | 10 |  | 5247.4 | 456.33 |  |  | N/A | Commercial |  | MA | 12 | DK | TRANE | 2 | 2 | 12.6 | 7.5 |  |  | 6176.47 | 6202.5206 | 95.53 |  | 0 |  |  | N/A | 827.0027 | N
National Grid | Invoice | 2011-10-20 | MA | 75 | 1805245 | CARRIER | 48HCEA06A2A5-0A0A0 |  |  |  | 1 | 2 | 15.2 | 12.5 | 5 |  | 2719.39 | 391.94 |  |  | N/A | Commercial |  | MA | 107 | 2 | TRANE | 2 | 2 | 12.6 | 7.5 |  | 14.5 | 6554 | 6581.6429 |  | 98 |  |  | 18 | 8318 | 877.5524 | N
National Grid | Invoice | 2011-10-20 | MA | 76 | 1805245 | CARRIER | 48HCED14A2A5-0A0A0 |  |  |  | 3 | 2 |  | 12.2 | 12.5 |  | 6239.73 | 465.34 |  |  | N/A | Commercial |  | MA | 93 | 1 | Not specified | 2 | 2 | 12 | 8.3333 |  | 13.8 | 4000 | 4016.8709 | 1600 | 70 | 70.5112 |  | 20 | 7000 | 482.0245 | N
BGE | Invoice | 2011-10-07 | PA | 77 | HU-11-1580 | TRANE | YHC060E3RMA |  |  |  | 1 | 2 | 15 |  | 5 |  | 11675 |  |  |  |  | Commercial |  | MA | 16 | DK | CARRIER | 2 | 2 | 12 | 8.5 |  |  | 5210 | 5231.9743 |  |  | 0 |  |  | N/A | 615.5264 | N
BGE | Invoice | 2012-11-06 | MD | 78 | HV-12-2076 | TRANE | YHC120E |  |  |  | 2 | 2 |  | 12 | 10 |  | 8586 |  |  |  |  | Commercial |  | MA | 42 | 839524 | CARRIER | 2 | 2 | 12 | 8.5 |  |  | 4765 | 4785.0974 | 625 |  | 0 |  |  | N/A | 562.9526 | N
BGE | Invoice | 2013-02-27 | PA | 79 | HV-13-2237 | CARRIER | 48HCED12A2M5-0F1F0 |  |  |  | 2 | 1 |  | 11.5 | 10 |  | 5610 | 260 |  |  |  | Commercial |  | PA | 80 | HV-13-2237 | CARRIER | 2 | 2 | 12 | 8.5 |  | 13 | 5125 | 5162.4276 | 260 |  | 0 |  |  |  | 607.3444 | N
BGE | Invoice | 2013-02-28 | PA | 80 | HV-13-2237 | CARRIER | 48HCED09A2M5-0F1F0 |  |  |  | 2 | 2 |  | 12 | 8.5 | 13 | 5125 | 260 |  |  |  | Commercial |  | MA | 115 | 2 | Not specified | 2 | 2 | 12 | 8.5 |  |  | 5185 | 5206.8688 |  | 98 | 97.3067 |  | 18 | 6949 | 612.5728 | N
BGE | Invoice | 2013-03-01 | PA | 81 | HV-13-2237 | CARRIER | 48HCEA07A2M5-0F1F0 |  |  |  | 2 | 2 |  | 12 | 6 | 13 | 3677 | 260 |  |  |  | Commercial |  | MA | 63 | 1686895 | LENNOX | 2 | 2 | 12.2 | 8.5 |  | 12.9 | 5316 | 5338.4214 |  |  | 0 |  |  | N/A | 628.0496 | N
BGE | Invoice | 2013-05-20 | PA | 82 | HV-13-2391 | CARRIER | 48HCRA06B2M5-SF4C0 |  |  |  | 1 | 2 | 15 | 12.5 | 5 |  | 6138 |  |  |  |  | Commercial |  | MD | 85 | HV-13-2855 | LENNOX | 2 | 2 | 12.2 | 8.5 |  | 12.9 | 6441 | 6488.0383 |  |  | 0 |  |  |  | 763.2986 | N
BGE | Invoice | 2013-02-14 | MD | 83 | HV-13-2545 | YORK | ZJ061N07A2AAA5 |  |  |  | 1 | 2 | 15 | 12.5 | 5 |  | 3514.12 |  |  |  |  | Commercial | Crane $518 | MA | 108 | 2 | TRANE | 2 | 2 | 12.5 | 8.5 |  | 14.7 | 7249 | 7279.5742 |  | 98 | 98.7157 |  | 18 | 9013 | 856.4205 | N
BGE | Invoice | 2013-05-22 | MD | 84 | HV-13-2855 | LENNOX | LGH072H4 |  |  |  | 2 | 2 |  | 12 | 6 | 12.5 | 5402 |  |  |  |  | Commercial |  | MD | 78 | HV-12-2076 | TRANE | 2 | 2 | 12 | 10 |  |  | 8586 | 8648.7031 |  |  | 0 |  |  |  | 864.8703 | N
BGE | Invoice | 2013-05-22 | MD | 85 | HV-13-2855 | LENNOX | LGH102H4BH |  |  |  | 2 | 2 |  | 12.2 | 8.5 | 12.9 | 6441 |  |  |  |  | Commercial |  | MD | 86 | HV-13-3151 | YORK | 2 | 2 | 12 | 10 |  | 12.2 | 8820.9 | 8885.3186 | 1094.85 | 95 | 95.4007 |  |  |  | 888.5319 | N
BGE | Invoice | 2013-06-20 | MD | 86 | HV-13-3151 | YORK | ZJ120N20P2AAA5 |  |  |  | 2 | 2 |  | 12 | 10 | 12.2 | 8820.9 | 1094.85 | 95 |  |  | Commercial |  | MD | 89 | HV-13-3864 | LENNOX | 2 | 2 | 12 | 10 |  | 13 | 6051 | 6095.1901 |  |  | 0 |  |  |  | 609.519 | N
BGE | Invoice | 2013-06-20 | MD | 87 | HV-13-3151 | YORK | Z1061N09B2AAA5 |  |  |  | 1 | 2 | 15 | 12.2 | 5 |  | 6104.7 | 1205.55 | 95 |  |  | Commercial |  | MD | 92 | HV-13-4089 | LENNOX | 2 | 2 | 12 | 10 |  | 13 | 6653 | 6701.5865 |  |  | 0 |  |  |  | 670.1587 | N
BGE | Invoice | 2013-07-30 | MD | 88 | HV-13-3517 | LENNOX | LGH060H4EH |  |  |  | 1 | 2 | 17 | 12.7 | 5 |  | 5320.04 |  |  |  |  | Commercial |  | MA | 116 | 2 | Not specified | 2 | 2 | 12 | 10 |  |  | 5930 | 5955.011 |  | 98 | 98.4133 |  | 18 | 7694 | 595.5011 | N
BGE | Invoice | 2013-09-24 | MD | 89 | HV-13-3864 | LENNOX | LGH120H4BK |  |  |  | 2 | 2 |  | 12 | 10 | 13 | 6051 |  |  |  |  | Commercial |  | MA | 6 | DK | YORK | 2 | 2 | 12.2 | 10 |  |  | 4460 | 4478.811 |  |  | 0 |  |  | N/A | 447.8811 | N
BGE | Invoice | 2013-09-24 | MD | 90 | HV-13-3864 | LENNOX | LGH060H4EH |  |  |  | 1 | 2 | 17 | 12.7 | 5 |  | 4297.24 |  |  |  |  | Commercial |  | MA | 19 | DK | YORK | 2 | 2 | 12.2 | 10 |  |  | 5501.57 | 5524.7741 |  |  | 0 |  |  | N/A | 552.4774 | N
BGE | Invoice | 2013-10-14 | MD | 91 | HV-13-4008 | LENNOX | LCH120H4BN |  |  |  | 2 | 2 |  | 12.2 | 10 | 13.2 | 6595 |  |  |  |  | Commercial |  | MA | 34 | 2063947 | YORK | 2 | 2 | 12.2 | 10 |  |  | 4337 | 4355.2922 |  |  | 0 |  |  | N/A | 435.5292 | N
BGE | Invoice | 2013-10-14 | MD | 92 | HV-13-4089 | LENNOX | LGH120H4BK |  |  |  | 2 | 2 |  | 12 | 10 | 13 | 6653 |  |  |  |  | Commercial |  | MA | 37 | 2064728 | YORK | 2 | 2 | 12.2 | 10 |  |  | 12332.15 | 12384.1635 | 2214.04 |  | 0 |  |  | N/A | 1238.4163 | N
N/A | Phone Interview | 2014-01-16 | MA | 93 | 1 | Not specified | Not specified |  |  |  | 2 | 2 |  | 12 | 8.3333 | 13.8 | 4000 | 1600 | 70 | 20 | 7000 | Commercial |  | RI | 44 | 1322777 | YORK | 2 | 2 | 12.2 | 10 |  |  | 6944 | 6973.2878 |  |  | 0 |  |  | N/A | 697.3288 | N
N/A | Phone Interview | 2014-01-16 | MA | 94 | 1 | Not specified | Not specified |  |  |  | 3 | 2 |  | 12 | 15.625 | 13 | 14000 | 1600 | 70 | 20 | 17000 | Commercial |  | RI | 60 | 1685582 | YORK | 2 | 2 | 12.2 | 10 |  |  | 5560 | 5583.4505 |  |  | 0 |  |  | N/A | 558.345 | N
N/A | Phone Interview | 2014-01-16 | MA | 95 | 1 | Not specified | Not specified |  |  |  | 4 | 2 |  | 10.6 | 41.6667 | 12.1 | 18000 | 1600 | 70 | 20 | 21000 | Commercial |  | MD | 91 | HV-13-4008 | LENNOX | 2 | 2 | 12.2 | 10 |  | 13.2 | 6595 | 6643.1629 |  |  | 0 |  |  |  | 664.3163 | N
N/A | Phone Interview | 2014-01-16 | MA | 96 | 1 | Not specified | Not specified |  |  |  | 2 | 0 |  | 11 | 8.3333 | 11.2 | 3200 | 1600 | 70 | 40 | 7600 | Commercial |  | MA | 28 | 954601 | TRANE | 2 | 2 | 12.5 | 10 |  | 14 | 14916.25 | 14979.1625 |  |  | 0 |  |  | N/A | 1497.9162 | N
N/A | Phone Interview | 2014-01-16 | MA | 97 | 1 | Not specified | Not specified |  |  |  | 3 | 0 |  | 10.8 | 15.625 | 11 | 10000 | 1600 | 70 | 40 | 14400 | Commercial |  | MA | 30 | 2015915 | TRANE | 2 | 2 | 12.5 | 10 |  |  | 8264.37 | 8299.2268 |  |  | 0 |  |  | N/A | 829.9227 | N
N/A | Phone Interview | 2014-01-16 | MA | 98 | 1 | Not specified | Not specified |  |  |  | 4 | 0 |  | 9.8 | 41.6667 | 9.9 | 15000 | 1600 | 70 | 40 | 19400 | Commercial |  | MA | 109 | 2 | TRANE | 2 | 2 | 12.5 | 10 |  | 14.7 | 8223 | 8257.6823 |  | 98 | 97.3067 |  | 18 | 9987 | 825.7682 | N
N/A | Phone Interview | 2014-02-21 | MA | 99 | 2 | TRANE | YSC072E3RHA001S |  |  |  | 2 | 0 |  | 11.2 | 6 | 13 | 4072 |  | 98 | 18 | 5836 | Commercial | From Trane sales rep | MA | 70 | 1791671 | LENNOX | 3 | 0 | 11 | 12.5 |  | 13.1 | 9360 | 9399.4778 |  |  | 0 |  |  | N/A | 751.9582 | N
N/A | Phone Interview | 2014-02-21 | MA | 100 | 2 | TRANE | YSC090E3RHA001S |  |  |  | 2 | 0 |  | 11.2 | 7.5 | 13 | 5604 |  | 98 | 18 | 7368 | Commercial | From Trane sales rep | MA | 103 | 2 | TRANE | 3 | 0 | 11 | 12.5 |  | 12.2 | 8688 | 8724.6435 |  | 98 | 98.4133 |  | 18 | 10452 | 697.9715 | N
N/A | Phone Interview | 2014-02-21 | MA | 101 | 2 | TRANE | YSC102E3RHA001S |  |  |  | 2 | 0 |  | 11.2 | 8.5 | 13 | 6402 |  | 98 | 18 | 8166 | Commercial | From Trane sales rep | MA | 104 | 2 | TRANE | 3 | 0 | 11 | 15 |  | 12.2 | 10013 | 10055.232 |  | 98 | 97.3067 |  | 18 | 11777 | 670.3488 | N
N/A | Phone Interview | 2014-02-21 | MA | 102 | 2 | TRANE | YSC120E3RHA001S |  |  |  | 2 | 0 |  | 11.3 | 10 | 13 | 7250 |  | 98 | 18 | 9014 | Commercial | From Trane sales rep | MA | 97 | 1 | Not specified | 3 | 0 | 10.8 | 15.625 |  | 11 | 10000 | 10042.1771 | 1600 | 70 | 70.2952 |  | 40 | 14400 | 642.6993 | N
N/A | Phone Interview | 2014-02-21 | MA | 103 | 2 | TRANE | YCD150F3HAA |  |  |  | 3 | 0 |  | 11 | 12.5 | 12.2 | 8688 |  | 98 | 18 | 10452 | Commercial | From Trane sales rep | MA | 22 | 977218 | YORK | 3 | 1 | 11.7 | 12.5 |  | 14.1 | 8014 | 8047.8008 |  |  | 0 |  |  | N/A | 643.8241 | N
N/A | Phone Interview | 2014-02-21 | MA | 104 | 2 | TRANE | YCD180F3HAA |  |  |  | 3 | 0 |  | 11 | 15 | 12.2 | 10013 |  | 98 | 18 | 11777 | Commercial | From Trane sales rep | MA | 21 | 2334477 | TRANE | 3 | 2 | 12 | 12.5 |  |  | 8698.69 | 8735.3786 |  |  | 0 |  |  | N/A | 698.8303 | N
N/A | Phone Interview | 2014-02-21 | MA | 105 | 2 | TRANE | YCD240F3HAA |  |  |  | 4 | 0 |  | 10.2 | 20 | 12.3 | 13662 |  | 98 | 18 | 15426 | Commercial | From Trane sales rep | MA | 110 | 2 | TRANE | 3 | 2 | 12 | 12.5 |  | 12.6 | 10053 | 10095.4007 |  | 98 | 97.3067 |  | 18 | 11817 | 807.6321 | N
N/A | Phone Interview | 2014-02-21 | MA | 106 | 2 | TRANE | YHC072E3RHA001S |  |  |  | 2 | 2 |  | 12.6 | 6 | 14.5 | 4583 |  | 98 | 18 | 6347 | Commercial | From Trane sales rep | MA | 15 | DK | CARRIER | 3 | 2 | 12.2 | 12.5 |  |  | 7640 | 7672.2233 | 65 |  | 0 |  |  | N/A | 613.7779 | N
N/A | Phone Interview | 2014-02-21 | MA | 107 | 2 | TRANE | YHC092F3RHA001S |  |  |  | 2 | 2 |  | 12.6 | 7.5 | 14.5 | 6554 |  | 98 | 18 | 8318 | Commercial | From Trane sales rep | MA | 43 | 839524 | CARRIER | 3 | 2 | 12.2 | 12.5 |  |  | 6731.5 | 6759.8915 | 625 |  | 0 |  |  | N/A | 540.7913 | N
N/A | Phone Interview | 2014-02-21 | MA | 108 | 2 | TRANE | YHC102E3RHA001S |  |  |  | 2 | 2 |  | 12.5 | 8.5 | 14.7 | 7249 |  | 98 | 18 | 9013 | Commercial | From Trane sales rep | MA | 59 | 1597776 | CARRIER | 3 | 2 | 12.2 | 12.5 |  |  | 10128.6 | 10171.3195 | 5504.5 |  | 0 |  |  | 11478.6 | 813.7056 | N
N/A | Phone Interview | 2014-02-21 | MA | 109 | 2 | TRANE | YHC120E3RHA001S |  |  |  | 2 | 2 |  | 12.5 | 10 | 14.7 | 8223 |  | 98 | 18 | 9987 | Commercial | From Trane sales rep | MA | 76 | 1805245 | CARRIER | 3 | 2 | 12.2 | 12.5 |  |  | 6239.73 | 6266.0474 | 465.34 |  | 0 |  |  | N/A | 501.2838 | N
N/A | Phone Interview | 2014-02-21 | MA | 110 | 2 | TRANE | YCD151E3HAA |  |  |  | 3 | 2 |  | 12 | 12.5 | 12.6 | 10053 |  | 98 | 18 | 11817 | Commercial | From Trane sales rep | MA | 10 | DK | CARRIER | 3 | 2 | 12 | 15 |  |  | 8417 | 8452.5005 |  |  | 0 |  |  | N/A | 563.5 | N
N/A | Phone Interview | 2014-02-21 | MA | 111 | 2 | TRANE | YCD181E3HAB |  |  |  | 3 | 2 |  | 12 | 15 | 13.6 | 11133 |  | 98 | 18 | 12897 | Commercial | From Trane sales rep | MA | 55 | 1563520 | CARRIER | 3 | 2 | 12 | 15 |  |  | 9108 | 9146.4149 | 65 |  | 0 |  |  | N/A | 609.761 | N
N/A | Phone Interview | 2014-02-21 | MA | 112 | 2 | TRANE | YCD241E3HAA |  |  |  | 4 | 2 |  | 11 | 20 | 11.7 | 14983 |  | 98 | 18 | 16747 | Commercial | From Trane sales rep | MA | 111 | 2 | TRANE | 3 | 2 | 12 | 15 |  | 13.6 | 11133 | 11179.9558 |  | 98 | 98.4133 |  | 18 | 12897 | 745.3304 | N
N/A | Phone Interview | 2014-02-21 | MA | 113 | 2 | Not specified | Not specified |  |  |  | 2 | 2 |  | 12 | 6.5 |  | 4199 |  | 98 | 18 | 5963 | Commercial |  | MA | 94 | 1 | Not specified | 3 | 2 | 12 | 15.625 |  | 13 | 14000 | 14059.048 | 1600 | 70 | 70.5112 |  | 20 | 17000 | 899.7791 | N
N/A | Phone Interview | 2014-02-21 | MA | 114 | 2 | Not specified | Not specified |  |  |  | 2 | 2 |  | 12 | 7.5 |  | 4800 |  | 98 | 18 | 6564 | Commercial |  | MA | 105 | 2 | TRANE | 4 | 0 | 10.2 | 20 |  | 12.3 | 13662 | 13719.6224 |  | 98 | 98.7157 |  | 18 | 15426 | 685.9811 | N
N/A | Phone Interview | 2014-02-21 | MA | 115 | 2 | Not specified | Not specified |  |  |  | 2 | 2 |  | 12 | 8.5 |  | 5185 |  | 98 | 18 | 6949 | Commercial |  | MA | 98 | 1 | Not specified | 4 | 0 | 9.8 | 41.6667 |  | 9.9 | 15000 | 15063.2657 | 1600 | 70 | 70.2952 |  | 40 | 19400 | 361.5184 | N
N/A | Phone Interview | 2014-02-21 | MA | 116 | 2 | Not specified | Not specified |  |  |  | 2 | 2 |  | 12 | 10 |  | 5930 |  | 98 | 18 | 7694 | Commercial |  | MA | 72 | 1791671 | LENNOX | 4 | 1 | 10.5 | 25 |  | 13.8 | 16736 | 16806.5877 |  |  | 0 |  |  | N/A | 672.2635 | N
N/A | Phone Interview | 2014-02-21 | MA | 117 | 2 | Not specified | Not specified |  |  |  | 2 | 0 |  | 11.2 | 6.5 |  | 3711.5 |  | 98 | 18 | 5475.5 | Commercial |  | MA | 73 | 1791671 | LENNOX | 4 | 1 | 10.5 | 25 |  | 13.8 | 17117 | 17189.1946 |  |  | 0 |  |  | N/A | 687.5678 | N
N/A | Phone Interview | 2014-02-21 | MA | 118 | 2 | Not specified | Not specified |  |  |  | 2 | 0 |  | 11.2 | 7.5 |  | 4170 |  | 98 | 18 | 5934 | Commercial |  | MA | 112 | 2 | TRANE | 4 | 2 | 11 | 20 |  | 11.7 | 14983 | 15046.194 |  | 98 | 98.7157 |  | 18 | 16747 | 752.3097 | N
N/A | Phone Interview | 2014-02-21 | MA | 119 | 2 | Not specified | Not specified |  |  |  | 2 | 0 |  | 11.2 | 8.5 |  | 4505 |  | 98 | 18 | 6269 | Commercial |  | MA | 71 | 1791671 | LENNOX | 4 | 2 | 12 | 20 |  | 13.2 | 16134 | 16202.0486 |  |  | 0 |  |  | N/A | 810.1024 | N
N/A | Phone Interview | 2014-02-21 | MA | 120 | 2 | Not specified | Not specified |  |  |  | 2 | 0 |  | 11.2 | 10 |  | 4810 |  | 98 | 18 | 6574 | Commercial |  | MA | 95 | 1 | Not specified | 4 | 2 | 10.6 | 41.6667 |  | 12.1 | 18000 | 18075.9189 | 1600 | 70 | 70.2952 |  | 20 | 21000 | 433.8221 | N
Total Cost Only:
NSTAR | Invoice | 2013-05-15 | MA | 121 | DK | CARRIER | N/A | N/A |  |  | 2 | 2 |  | 12 | 7.5 |  | N/A |  |  |  | 12500 | Commercial
NSTAR | Invoice | 2011-12-20 | MA | 122 | DK | CARRIER | 48HCE008A2A5A0AA | 4811G30181 |  |  | 2 | 2 |  | 12 | 7.5 |  | N/A |  |  |  | 10754 | Commercial
NSTAR | Invoice | 2012-03-29 | MA | 123 | DK | CARRIER | 48HCED12A26-0A0A0 | N/A |  |  | 2 | 1 |  | 11.5 | 10 |  | N/A |  |  |  | 12694 | Commercial
NSTAR | Invoice | 2012-06-28 | MA | 124 | DK | CARRIER | N/A | N/A |  |  | 2 | 2 |  | 12 | 8.5 |  | N/A |  |  |  | 12345 | Commercial | Two 8.5 units listed on invoice. No other info
National Grid | Invoice | 2012-07-24 | MA | 125 | 2063271 | CARRIER | 48HCED12A2A6 |  |  |  | 2 | 1 |  | 11.5 | 10 | 12 | N/A |  |  |  | 11250 | Commercial
National Grid | Invoice | 2012-11-03 | MA | 126 | 2137638 | CARRIER | 48HCED08A2A5-0A0A0 |  |  |  | 2 | 2 |  | 12 | 7.5 |  | N/A |  |  |  | 9550 | Commercial
National Grid | Invoice | 2012-07-26 | MA | 127 | 2192229 | CARRIER | 48HCED12A2A6-A0A0A0 |  |  |  | 2 | 1 |  | 11.5 | 10 | 12 | N/A |  |  |  | 12800 | Commercial
National Grid | Invoice | 2011-04-08 | MA | 128 | 1413545 | CARRIER | 48HCEA06A2A6-0A0A0 | 1111G10091 |  |  | 1 | 2 | 15 | 12.45 | 5 |  | N/A |  |  |  | 9910 | Commercial
National Grid | Invoice | 2011-04-08 | MA | 129 | 1413545 | CARRIER | N/A |  |  |  | 2 | 2 |  | 12 | 7.5 |  | N/A |  |  |  | 11992 | Commercial
National Grid | Invoice | 2011-04-08 | MA | 130 | 1413545 | CARRIER | 48HCED12A2A5-0A0A0 | 3510G60284 |  |  | 2 | 1 |  | 11.5 | 10 |  | N/A |  |  |  | 13917 | Commercial
National Grid | Invoice | 2011-12-30 | MA | 131 | 1416097 | BRYANT | 581HP12D224A2A0AA |  |  |  | 2 | 1 |  | 11.5 | 10 | 12 | N/A |  |  |  | 17337 | Commercial
National Grid | Invoice | 2011-09-19 | MA | 132 | 1430892 | TRANE | YHC092E3**A |  |  |  | 2 | 2 |  | 13 | 7.5 | 15 | N/A |  |  |  | 8512 | Commercial
National Grid | Invoice | 2011-12-15 | MA | 133 | 1437777 | CARRIER | 48HCED08A2A5-0A0A0 |  |  |  | 2 | 2 |  | 12 | 7.5 | 13 | N/A |  |  |  | 9850 | Commercial
BGE |  | 2012-12-20 | MD | 134 | HV-13-2193 | CARRIER | 48HC07 |  |  |  | 2 | 2 |  | 12 | 6 | 13 | N/A |  |  |  | 8880 | Commercial
BGE |  | 2013-02-18 | MA | 135 | HV-13-2524 | YORK | ZJ090N15P2AAA5 |  |  |  | 2 | 2 |  | 12.2 | 7.5 | 13.1 | N/A |  |  |  | 12250 | Commercial
BGE |  | 2013-08-09 | MD | 136 | HV-13-3663 | CARRIER | 48HCEA06A2A6-0A0A0 |  |  |  | 1 | 2 | 15.2 |  | 5 |  | N/A |  |  |  | 9363 | Commercial
BGE |  | 2013-08-01 | MD | 137 | HV-13-3765 | CARRIER | 48HCEA06A0A3-0A0A0 |  |  |  | 1 | 2 | 15.2 | 12.45 | 5 |  | N/A |  |  |  | 12337.5 | Commercial
BGE |  | 2012-11-21 | MD | 138 | SX-12-1927 | CARRIER | 48HCED09A2A5-0A0A0 |  |  |  | 2 | 2 |  | 12 | 8.5 | 13 | N/A |  |  |  | 10300 | Commercial
Note on M6: Heather Lisle: 0 = Baseline 1 = CEE Tier 1 2 = Cee Tier 2
Note on AD6: Heather Lisle: 1 < 65,000 65,000 >= 2 > 135,000 135,000 >= 3 > 240,000 240,000 >= 4 > 760,000
Note on AF6: Heather Lisle: SEER for Size Category 1, EER for Size Categories 2-4
Note on V7: Ryan Tanner: 1500=Adapter Curb 2000=Gas Electric and ductwork 4100=Labor 550=Crane Service 1006.25=Sales Tax
Note on V8: Ryan Tanner: Ryan Tanner: 1500=Adapter Curb 2000=Gas Electric and ductwork 4100=Labor 550=Crane Service 1006.25=Sales Tax
Note on S10: Ryan Tanner: 86.80=ENTHALPY SENSOR 1 86.80=ENTHALPY SENSOR 2 124 = CURB 34 = SPACE TEMP
Note on S11: Ryan Tanner: 350=C02/TEMP 350=C02/TEMP 116.80=TSTAT 113.20=TSTAT 34.40=SPACE TEMP
Note on H13: Ryan Tanner: can't find models starting with SJ anywhere; assuming it’s a ZJ
Note on S15: Ryan Tanner: 840=ADAPTER
Note on S17: Ryan Tanner: 244.58=ENTHALPY SENSOR 382.94=TAX
Note on S18: Ryan Tanner: 95.53 = A/S BAR REL
Note on AL18: Ryan Tanner: 65=ENTHALPY SENSOR
Note on AQ18: Ryan Tanner: 600=SUBCONTRACTOR 1100=LABOR 200=DISPOSAL
Note on S19: Ryan Tanner: 152.5=TSTAT 84=ENTHALPY 198.2=SHEET METAL 96.5=SHEET METAL 3.26=LINER
Note on V19: Ryan Tanner: +1546.2= MISCELLANEOUS (PERMITS, ECONOMIZER, CRANE CHARGE, ETC.) 508.07 = TAX
Note on S20: Ryan Tanner: 195/3=ENTHALPY
Note on AL20: Ryan Tanner: economizer
Note on AQ20: Ryan Tanner: includes labor, warrantee, delivery, rigging, etc. half of cost for 2 units
Note on S21: Ryan Tanner: 15280/2=RTU 195/3=ENTHALPY
Note on AQ23: Ryan Tanner: 1500=Adapter Curb 2000=Gas Electric and ductwork 4100=Labor 550=Crane Service 1006.25=Sales Tax
Note on V24: Ryan Tanner: 600=SUBCONTRACTOR 1100=LABOR 200=DISPOSAL
Note on AQ24: Ryan Tanner: 950/2=crane 850=electrician 1285=labor
Note on R25: Ryan Tanner: 343.85=TAX
Note on AL25: Steven Nguyen: includes $1205.55 curb adapter
Note on R26: Ryan Tanner: unclear whether this is the cost of only the unit, or if it includes installation
Note on AL26: Ryan Tanner: 86.80=ENTHALPY SENSOR 1 86.80=ENTHALPY SENSOR 2 124 = CURB 34 = SPACE TEMP
Note on R27: Ryan Tanner: Two units, thus the division by 2; 1087.34 = TAX
Note on AL27: Ryan Tanner: 65=ENTHALPY SENSOR
Note on AL28: Ryan Tanner: 391.94=economizer
Note on R34: Ryan Tanner: word doc shows 4x10ton units; invoice shows '4 RTUs'
Note on R35: Ryan Tanner: 263.76=TAX
Note on R39: Ryan Tanner: Price includes economizer logic module, winter start kit, various other add-ons; prices are not itemized
Note on AL40: Heather Lisle: $1200 = Ducting $400 = Curb Adaptor (replacements only)
Note on S43: Ryan Tanner: 653.91=C02 225.47=LOW AMBIENT 20.47=SHEAVE 5.78=BELT 1308.41=CURB ADAPTER
Note on V44: Ryan Tanner: includes labor, warrantee, delivery, rigging, etc. half of cost for 2 units
Note on R45: Ryan Tanner: 359.38=tax from distributor invoice
Note on V45: Ryan Tanner: from contractor invoice
Note on S47: Ryan Tanner: economizer
Note on S48: Ryan Tanner: economizer
Note on S49: Ryan Tanner: economizer
Note on AL49: Ryan Tanner: 152.5=TSTAT 84=ENTHALPY 198.2=SHEET METAL 96.5=SHEET METAL 3.26=LINER
Note on AL50: Ryan Tanner: 195/3=ENTHALPY
Note on AQ50: Ryan Tanner: Ryan Tanner: 1500=Adapter Curb 2000=Gas Electric and ductwork 4100=Labor 550=Crane Service 1006.25=Sales Tax
Note on R54: Ryan Tanner: 399.69=TAX
Note on AQ55: Ryan Tanner: from contractor invoice
Note on AL56: Ryan Tanner: 456.33=ECONOMISER
Note on AL57: Steven Nguyen: 260=RETURN AIR ENTHALPY SENSOR
Note on V58: Ryan Tanner: 600=CRANE 1400=LABOR
Note on AL59: Ryan Tanner: 65=ENTHALPY SENSOR
Note on AL60: Steven Nguyen: 260=RETURN AIR ENTHALPY SENSOR
Note on S61: Ryan Tanner: 65=ENTHALPY SENSOR
Note on S62: Ryan Tanner: 65=ENTHALPY SENSOR
Note on S63: Ryan Tanner: 65=ENTHALPY SENSOR
Note on R64: Ryan Tanner: from distributor invoice
Note on V64: Ryan Tanner: from contractor invoice
Note on S65: Ryan Tanner: 5368.5=DUCTWORK/SUPPLIES 136=TSTAT
Note on V65: Ryan Tanner: 850=LABOR 500=RIGGING
Note on AL67: Ryan Tanner: 350=C02/TEMP 350=C02/TEMP 116.80=TSTAT 113.20=TSTAT 34.40=SPACE TEMP
Note on S70: Ryan Tanner: 65=ENTHALPY SENSOR
Note on S71: Ryan Tanner: 65=ENTHALPY SENSOR
Note on S72: Ryan Tanner: 185=material
Note on V72: Ryan Tanner: 950/2=crane 850=electrician 1285=labor
Note on S73: Ryan Tanner: 185=material
Note on V73: Ryan Tanner: 950/2=crane 850=electrician 1185=labor
Note on AL73: Ryan Tanner: 65=ENTHALPY SENSOR
Note on AL74: Ryan Tanner: 185=material
Note on AL75: Ryan Tanner: 185=material
Note on AL78: Ryan Tanner: 840=ADAPTER
Note on AL79: Ryan Tanner: 244.58=ENTHALPY SENSOR 382.94=TAX
Note on S80: Ryan Tanner: 456.33=ECONOMISER
Note on AL80: Ryan Tanner: 95.53 = A/S BAR REL
Note on S81: Ryan Tanner: 391.94=economizer
Note on AQ81: Ryan Tanner: bill from contractor; includes economizers and enthalpy controls
Note on S82: Ryan Tanner: 465.34=economizer
Note on AL82: Heather Lisle: $1200 = Ducting $400 = Curb Adaptor (replacements only)
Note on R83: Steven Nguyen: 2 identical units
Note on R84: Steven Nguyen: 6% TAX: 510.55
Note on AL84: Ryan Tanner: economizer
Note on S85: Steven Nguyen: 260=RETURN AIR ENTHALPY SENSOR
Note on AL85: Steven Nguyen: TWO UNITS. 260=RETURN AIR ENTHALPY SENSOR
Note on S86: Steven Nguyen: TWO UNITS. 260=RETURN AIR ENTHALPY SENSOR
Note on AQ86: Ryan Tanner: This comes from a TRANE receipt; unsure if it reflects the installed cost of just equipment.
Note on S87: Steven Nguyen: 260=RETURN AIR ENTHALPY SENSOR
Note on AQ87: Ryan Tanner: 950/2=crane 850=electrician 1185=labor
Note on R90: Steven Nguyen: Extended warranty $104 not included
Note on R91: Steven Nguyen: Extended warranty $148 not included
Note on AL91: Steven Nguyen: Includes $1094 curb adapter
Note on S92: Steven Nguyen: Includes $1094 curb adapter
Note on S93: Steven Nguyen: includes $1205.55 curb adapter
Note on AL98: Ryan Tanner: 653.91=C02 225.47=LOW AMBIENT 20.47=SHEAVE 5.78=BELT 1308.41=CURB ADAPTER
Note on AQ98: Ryan Tanner: +1546.2= MISCELLANEOUS (PERMITS, ECONOMIZER, CRANE CHARGE, ETC.) 508.07 = TAX
Note on S99: Heather Lisle: $1200 = Ducting $400 = Curb Adaptor (replacements only)
Note on AQ99: Ryan Tanner: from contractor invoice
Note on S100: Heather Lisle: $1200 = Ducting $400 = Curb Adaptor (replacements only)
Note on S101: Heather Lisle: $1200 = Ducting $400 = Curb Adaptor (replacements only)
Note on AQ101: Ryan Tanner: 850=LABOR 500=RIGGING
Note on S102: Heather Lisle: $1200 = Ducting $400 = Curb Adaptor (replacements only)
Note on S103: Heather Lisle: $1200 = Ducting $400 = Curb Adaptor (replacements only)
Note on S104: Heather Lisle: $1200 = Ducting $400 = Curb Adaptor (replacements only)
Note on AL108: Heather Lisle: $1200 = Ducting $400 = Curb Adaptor (replacements only)
Note on AL112: Ryan Tanner: 15280/2=RTU 195/3=ENTHALPY
Note on AL113: Ryan Tanner: economizer
Note on AL114: Ryan Tanner: 5368.5=DUCTWORK/SUPPLIES 136=TSTAT
Note on AQ114: Ryan Tanner: 600=CRANE 1400=LABOR
Note on AL115: Ryan Tanner: 465.34=economizer
Note on AL117: Ryan Tanner: 65=ENTHALPY SENSOR
Note on AL119: Heather Lisle: $1200 = Ducting $400 = Curb Adaptor (replacements only)
Note on AL121: Heather Lisle: $1200 = Ducting $400 = Curb Adaptor (replacements only)
Note on AL126: Heather Lisle: $1200 = Ducting $400 = Curb Adaptor (replacements only)
Note on O128: Ryan Tanner: no model number, but carrier 8.5 Ton is 12.0 EER
Note on O131: Ryan Tanner: no model number, but carrier 8.5 Ton is 12.0 EER
Note on V132: Ryan Tanner: bill from contractor; includes economizers and enthalpy controls
Note on V139: Ryan Tanner: This comes from a TRANE receipt; unsure if it reflects the installed cost of just equipment.

## CEE Criteria
CEE Criteria (effective January 6, 2012)
http://library.cee1.org/sites/default/files/library/7559/CEE_CommHVAC_UnitarySpec2012.pdf

## Baseline Criteria
TABLE C403.2.3(1) MINIMUM EFFICIENCY REQUIREMENTS: ELECTRICALLY OPERATED UNITARY AIR CONDITIONERS AND CONDENSING UNITS
EQUIPMENT TYPE | SIZE CATEGORY | HEATING | SUBCATEGORY OR | MINIMUM EFFICIENCY |  | TEST PROCEDUREa
|  | SECTION TYPE | RATING CONDITION | Before 6/1/2011 | As of 6/1/2011
Air conditioners, | < 65,000 Btu/hb | All | Split System | 13.0 SEER | 13.0 SEER | AHRI
air cooled |  |  | Single Package | 13.0 SEER | 13.0 SEER | 210/240
Through-the-wall | ≤ 30,000 Btu/hb | All | Split system | 12.0 SEER | 12.0 SEER
(air cooled) |  |  | Single Package | 12.0 SEER | 12.0 SEER
Small-duct high-velocity | < 65,000 Btu/hb | All | Split System | 10.0 SEER | 10.0 SEER
(air cooled)
Air conditioners, | ≥ 65,000 Btu/h | Electric Resistance (or None) | Split System and Single Package | 11.2 EER | 11.2 EER | AHRI
air cooled | and |  |  | 11.4 IEER | 11.4 IEER | 340/360
| < 135,000 Btu/h | All other | Split System and Single Package | 11.0 EER | 11.0 EER
|  |  |  | 11.2 IEER | 11.2 IEER
| ≥ 135,000 Btu/h | Electric Resistance (or None) | Split System and Single Package | 11.0 EER | 11.0 EER
| and |  |  | 11.2 IEER | 11.2 IEER
| < 240,000 Btu/h | All other | Split System and Single Package | 10.8 EER | 10.8 EER
|  |  |  | 11.0 IEER | 11.0 IEER
| ≥ 240,000 Btu/h | Electric Resistance (or None) | Split System and Single Package | 10.0 EER | 10.0 EER
| and |  |  | 10.1 IEER | 10.1 IEER
| < 760,000 Btu/h | All other | Split System and Single Package | 9.8 EER | 9.8 EER
|  |  |  | 9.9 IEER | 9.9 IEER
| ≥ 760,000 Btu/h | Electric Resistance (or None) | Split System and Single Package | 9.7 EER | 9.7 EER
|  |  |  | 9.8 IEER | 9.8 IEER
|  | All other | Split System and Single Package | 9.5 EER | 9.5 EER
|  |  |  | 9.6 IEER | 9.6 IEER
Air conditioners, | < 65,000 Btu/hb | All | Split System and Single Package | 12.1 EER | 12.1 EER | AHRI
water cooled |  |  |  | 12.3 IEER | 12.3 IEER | 210/240
| ≥ 65,000 Btu/h | Electric Resistance (or None) | Split System and Single Package | 11.5 EER | 12.1 EER | AHRI
| and |  |  | 11.7 IEER | 12.3 IEER | 340/360
| < 135,000 Btu/h | All other | Split System and Single Package | 11.3 EER | 11.9 EER
|  |  |  | 11.5 IEER | 12.1 IEER
| ≥ 135,000 Btu/h | Electric Resistance (or None) | Split System and Single Package | 11.0 EER | 12.5 EER
| and |  |  | 11.2 IEER | 12.7 IEER
| < 240,000 Btu/h | All other | Split System and Single Package | 10.8 EER | 12.3 EER
|  |  |  | 11.0 IEER | 12.5 IEER
| ≥ 240,000 Btu/h | Electric Resistance (or None) | Split System and Single Package | 11.0 EER | 12.4 EER
| and |  |  | 11.1 IEER | 12.6 IEER
| < 760,000 Btu/h | All other | Split System and Single Package | 10.8 EER | 12.2 EER
|  |  |  | 10.9 IEER | 12.4 IEER
| ≥ 760,000 Btu/h | Electric Resistance (or None) | Split System and Single Package | 11.0 EER | 12.0 EER
|  |  |  | 11.1 IEER | 12.4 IEER
|  | All other | Split System and Single Package | 10.8 EER | 12.0 EER
|  |  |  | 10.9 IEER | 12.2 IEER
(continued)
TABLE C403.2.3(1)—continued MINIMUM EFFICIENCY REQUIREMENTS: ELECTRICALLY OPERATED UNITARY AIR CONDITIONERS AND CONDENSING UNITS
EQUIPMENT TYPE | SIZE CATEGORY | HEATING | SUB-CATEGORY OR RATING CONDITION | MINIMUM EFFICIENCY |  | TEST PROCEDUREa
|  | SECTION TYPE |  | Before 6/1/2011 | As of 6/1/2011
Air conditioners, | < 65,000 Btu/hb | All | Split System and Single Package | 12.1 EER | 12.1 EER | AHRI
evaporatively cooled |  |  |  | 12.3 IEER | 12.3 IEER | 210/240
| ≥ 65,000 Btu/h | Electric Resistance | Split System and Single Package | 11.5 EER | 12.1 EER | AHRI
| and | (or None) |  | 11.7 IEER | 12.3 IEER | 340/360
| < 135,000 Btu/h | All other | Split System and Single Package | 11.3 EER | 11.9 EER
|  |  |  | 11.5 IEER | 12.1 IEER
| ≥ 135,000 Btu/h | Electric Resistance | Split System and Single Package | 11.0 EER | 12.0 EER
| and | (or None) |  | 11.2 IEER | 12.2 IEER
| < 240,000 Btu/h | All other | Split System and Single Package | 10.8 EER | 11.8 EER
|  |  |  | 11.0 IEER | 12.0 IEER
| ≥ 240,000 Btu/h | Electric Resistance | Split System and Single Package | 11.0 EER | 11.9 EER
| and | (or None) |  | 11.1 IEER | 12.1 IEER
| < 760,000 Btu/h | All other | Split System and Single Package | 10.8 EER | 12.2 EER
|  |  |  | 10.9 IEER | 11.9 IEER
| ≥ 760,000 Btu/h | Electric Resistance | Split System and Single Package | 10.0 EER | 11.7 EER
|  | (or None) |  | 11.1 IEER | 11.9 IEER
|  | All other | Split System and Single Package | 10.8 EER | 11.5 EER
|  |  |  | 10.9 IEER | 11.7 IEER
Condensing units, | ≥ 135,000 Btu/h |  |  | 10.1 EER | 10.5 EER | AHRI
air cooled |  |  |  | 11.4 IEER | 14.0 IEER | 365
Condensing units, | ≥ 135,000 Btu/h |  |  | 13.1 EER | 13.5 EER
water cooled |  |  |  | 13.6 IEER | 14.0 IEER
Condensing units, | ≥ 135,000 Btu/h |  |  | 13.1 EER | 13.5 EER
evaporatively cooled |  |  |  | 13.6 IEER | 14.0 IEER

## Size Categories (hidden)
Capacity Range (Btu) |  | Capacity Range (tons)
Min | Max | Min | Max | Size Category
0 | 64999 | 0 | 5.4166 | 1
65000 | 134999 | 5.4167 | 11.2499 | 2
135000 | 239999 | 11.25 | 19.9999 | 3
240000 | 759999 | 20 | 63.3332 | 4
760000 |  | 63.3333 |  | 5